# Supplemental material

Table S1. Median values and standard deviations for select water chemistry parameters measured between May and November 2022 at the two sample locations in Lake Banook.

Units; Median; Standard Deviation. Total Aluminum; μg L-1; 7.04; 3.05. Colour; Pt-Co; 10; 11.15. Conductivity; μs cm-1; 844; 91.97. Dissolved oxygen; mg L-1; 7.65; 1.16. Dissolved organic carbon; mg L-1; 2.21; 0.1. Total Iron; μg L-1; 37.65; 16.17. Total dissolved solids; mg L-1; 597.5; 38.98. Total organic carbon; mg L-1; 2.21; 0.08. Temperature; °C; 19.75; 3.49. Total P; μg L-1; 8.64; 8.31. Turbidity; NTU; 0.76; 0.74. UV254; cm-1; 0.05; 0.01. pH; -; 7.5; 0.38.

Table S2. Oligonucleotide sequences for the respective primers, and probes used for each virus. The working concentrations for each qPCR assay. Oligonucleotide probe sequences were labelled at the 5′-end with fluorescent reporter dyes and quenched with a Blackhole Quencher 1 or 2 at the 3′-end.

| Targets | Genes | Sequences (5’–3’) | Concentration (nM) | Amplicon size (bp) | Cycling Conditions | Ref. |
| --- | --- | --- | --- | --- | --- | --- |
| INFA1 | Matrix protein (M1) | F1:CAAGACCAATCYTGTCACCTCTGAC | 400 600 400 200 200 | 106 | 2 min at 25°C, 15 min at 50°C, 2 mins at 95°C, 45 cycles of 15 s at 95°C, and 30 s at 60°C | [1] |
|  |  | R1:GCATTYTGGACAAAVCGTCTACG |  |  |  |  |
|  |  | F2:CAAGACCAATYCTGTCACCTYTGAC |  |  |  |  |
|  |  | R2:GCATTTTGGATAAAGCGTCTACG |  |  |  |  |
|  |  | P:TGCAGTCCTCGCTCACTGGGCACG |  |  |  |  |
| SARS-CoV-21 | Nucleocapsid (N1) | F:CTGCAGATTTGGATGATTTCTCC | 100 200 200 | 92 |  |  |
|  |  | R:CCTTGTGTGGTCTGCATGAGTTTAG |  |  |  |  |
|  |  | P:ATTGCAACAATCCATGAGCAGTGCTGACTC |  |  |  |  |
| RSV-A1 | Nucleoprotein (N) | F:GCTCTTAGCAAAGTCAAGTTGAATGA | 500 500 200 | 82 |  |  |
|  |  | R:TGCTCCGTTGGATGGTGTATT |  |  |  |  |
|  |  | P:ACACTCAACAAAGATCAACTTCTGTCATCCAGC |  |  |  |  |
| MeV1 | Nucleoprotein (N) | F:ATATATCGTAGAGGCAGGATTAG | 500 500 200 | 119 |  |  |
|  |  | R:AGGACTCAAGTGTGGATAAC |  |  |  |  |
|  |  | P:AAACTATGTATCCTGCTCTTGG |  |  |  |  |
| EnV | Polyprotein (PP) | F:GATTGTCACCATAAGCAGC | 400 400 100 | 148 | 5 min at 50°C, 20s at 95°C, 40 cycles of 3 s at 95°C, and 30 s at 60°C | [2] |
|  |  | R:GCCCTGAATGCGGCTAATC |  |  |  |  |
|  |  | P:CGGAACCGACTACTTTGGGTGTCCGT |  |  |  |  |
| AdV2 | Hexon structure gene of species F (type 40/41) | F:TCCGACCCACGATGTAACCA | 250 250 100 | 112 |  | [3] |
|  |  | R:CACGGCCAGCGTAAAGCG |  |  |  |  |
|  |  | P:ACAGGTCACAGCGACT |  |  |  |  |
| RV2 | non-structural protein 3 (NSP3) gene) species A | F1: ACCATCTACACATGACCCTCTATG F2: ACCATCTTCACGTAACCCTCTATG | 250 250 100 | 83 |  |  |
|  |  | R: ACATAACGCCCCTATAGCCATTT |  |  |  |  |
|  |  | P:AATAGTTAAAAGCTAACACTGTC |  |  |  |  |
| NV2 | ORF2 (the junction of polymerase and capsid gene) of the genotype II | F:CCAATGTTCAGATGGATGAGATTCTC | 250 250 100 | 92 |  |  |
|  |  | R:TCGACGCCATCTTCATTCACA |  |  |  |  |
|  |  | P:ATCGCCCTCCCACGT |  |  |  |  |
| MS2 | Maturation & structural protein (mat and cp genes) | F:GTCCATACCTTAGATGCGTTAGC | 400 400 250 | 160 | 30 min at 55°C, 3 min at 94°C, followed by 45 cycles 15 s at 94°C and 1 min at 60°C | [4] |
|  |  | R:CCGTTAGCGAAGTTGCTTGG |  |  |  |  |
|  |  | P:ACGTCGCCAGTTCCGCCATTGTCG |  |  |  |  |

1 Multiplex RT-qPCR assay previously validated in the work of Hayes et al., (2023) for the simultaneous detection of SARS-CoV-2, INFA, RSV, and MeV [1]. 2 Multiplex qPCR assay for the detection of human rotavirus, enteric adenovirus, and human norovirus, formerly validated by [3].

Table S3. Viral calibration curve information for each viral target.

| INFA |  | SARS-CoV-2 |  | MeV |  | RSV |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| R2 | 0.95 | R2 | 0.96 | R2 | 0.97 | R2 | 0.96 |
| y-int | 38.78 | y-int | 40.71 | y-int | 41.16 | y-int | 38.97 |
| Slope | -3.17 | Slope | -3.76 | Slope | -3.84 | Slope | -3.53 |
| Efficiency (%) | 106.71 | Efficiency (%) | 84.48 | Efficiency (%) | 82.14 | Efficiency (%) | 91.90 |
| EnV |  | Norovirus |  | Adenovirus |  | Rotavirus |  |
| R2 | 0.99 | R2 | 0.99 | R2 | 0.99 | R2 | 0.99 |
| y-int | 37.48 | y-int | 40.34 | y-int | 39.22 | y-int | 40.32 |
| Slope | -3.13 | Slope | -3.38 | Slope | -3.28 | Slope | -3.50 |
| Efficiency (%) | 108.37 | Efficiency (%) | 97.66 | Efficiency (%) | 101.5 | Efficiency (%) | 92.8 |

Table S4. The Minimal Information for Publications on Quantitative Real-Time PCR Experiments (MIQE) checklist of essential and desirable information that should be reported to enable the reviewer to judge the validity of the paper and the reader to repeat the experiment and reproduce the results.

| Category | Item | Paper Location | Author Comments | Checklist |
| --- | --- | --- | --- | --- |
| Sample | Type | Methods | Passive and grab samples |  |
|  | Method of dissection/procurement | Methods and Supplemental | No dissection, synthetic template manufacturers, and sample collection are described |  |
|  | Processing procedure | Methods | Pre-RNA extraction processing |  |
|  | If frozen, how and how quickly? | Methods |  |  |
|  | If fixed, with what and how quickly? | N/A | No fixing performed (i.e., no formalin-fixed procedures) | N/A |
|  | Storage conditions and duration | Methods and Supplemental | Template control storage conditions are described in SI based on manufacturers recommendations. |  |
| Extraction | Method or instrument | Methods | Commercial kit |  |
|  | Reagents/kits/modifications | Methods |  |  |
|  | DNAse or RNAse treatment | N/A | No specific treatment completed; purification steps included in commercial kit used (LuminUltra Technologies Ltd). | N/A |
|  | Evidence for lack of contamination (DNA or RNA) | N/A | RNA extract dilution during RT-qPCR analysis | X |
|  | Nucleic acid quantification | Supplemental | RT-qPCR analysis, and multiplex RT-qPCR analysis |  |
|  | RNA integrity | Supplemental |  |  |
| Reverse transcription | Complete reaction conditions, including all components and their concentrations | Supplemental |  |  |
|  | RNA amount and reaction volume | Methods |  |  |
|  | Priming oligo sequence(s) | Supplemental |  |  |
|  | Cq values with and without reverse transcriptase | N/A | One-step RT-qPCR was used in this study |  |
| qPCR target | Sequence accession number | Supplemental | Included in SI / methods for primer sequences and template sequences used |  |
|  | Amplicon length | Supplemental |  |  |
|  | In silico specificity (BLAST) | Validated in previous publications |  |  |
|  | Location by exon/intron | Supplemental |  |  |
|  | Identify the splice variants amplified | N/A |  | × |
|  | All primer/probe sequences | Supplemental |  |  |
|  | Location and identity of any oligonucleotide modifications | Supplemental |  |  |
|  | Complete reaction conditions, including all components and their concentrations | Methods & Supplemental |  |  |
| qPCR protocol | cDNA/DNA amount and reaction volume | Methods |  |  |
|  | Instrument identification and complete thermocycling parameters | Methods & Supplemental |  |  |
|  | Evidence for PCR specificity (gels, sequencing, or melting curves) | Validated in previous publications |  |  |
| qPCR validation | Template inhibition data (template titrations) | Supplemental | Extract dilutions were evaluated for inhibition, no inhibition was expected. |  |
|  | For SYBR Green I reactions, the Cq of the no template control | Methods | Didn’t include data where no template control failed |  |
|  | Calibration curves with slope and intercept | Supplemental/previously validated in other published work |  |  |
|  | PCR efficiency from the slope | Supplemental |  |  |
|  | r2 of the calibration curve | Supplemental |  |  |
|  | Evidence for the linear dynamic range | Supplemental |  |  |
|  | Evidence for the limit of detection | Validated in previous publications |  |  |
|  | For multiplexed assays, the efficiency and limit of detection of each assay | Supplemental |  |  |
|  | qPCR analysis method/software | Supplemental & Methods |  |  |
| Data analysis | Method of Cq determination | Methods |  |  |
|  | Results of no template controls | Methods |  |  |
|  | Justification of number and choice of reference genes | Supplemental |  |  |
|  | Normalization method |  |  | X |
|  | Number and stage (reverse transcription or qPCR) of technical replicates | Supplemental |  |  |
|  | Intra-assay variation in terms of concentration, not Cq | Validated in previous publications |  |  |
|  | Statistical methods/software | Methods |  |  |

Table S5. Synthetic viral RNA reference material used in verification and validation of RT-qPCR assays.

| Company | Name | Accession # / Designated Strain | Manufacturer Specifications | Storage Conditions |
| --- | --- | --- | --- | --- |
| Twist Bioscience | Influenza A H1N1 (2009) | NC_20643 NC_026431 NC_026432 NC_026433 NC_026434 NC_026435 NC_026436 NC_026437 NC_026438 | ~1×106 copies/µL | -90 oC to -70oC |
|  | Measles virus | NC_001498.1 |  |  |
|  | SARS-CoV-2 Control 48 | Omicron B.1.1.529, BA.1 lineage GISAID ID: EEPI_ISL_6841980 GISAID NAME: Hong Kong/HKU-211129-001/2021 |  |  |
| ATCC® | Human respiratory syncytial virus (RSV) A2 | (ATCC® VR-1540DQ™) / MW582527.1 | ~1 x 106 copies/μL | -80oC |
| Integrated DNA Technologies gBlocks, Gene Fragments | Bacteriophage MS2 | NC_001417 | ~1×1013 copies/μL | -20oC |
|  | Norovirus | X86557 | 10 ng/uL |  |
|  | Adenovirus | D13781 |  |  |
|  | Rotavirus | X81436 |  |  |
|  | Enterovirus | MW473684.1 |  |  |

Supplementary References

[1]	Hayes EK, Gouthro MT, LeBlanc JJ, Gagnon GA. Simultaneous detection of SARS-CoV-2, influenza A, respiratory syncytial virus, and measles in wastewater by multiplex RT-qPCR. Science of The Total Environment 2023:164261. https://doi.org/10.1016/j.scitotenv.2023.164261.

[2]	Coudray-Meunier C, Fraisse A, Martin-Latil S, Delannoy S, Fach P, Perelle S. A Novel High-Throughput Method for Molecular Detection of Human Pathogenic Viruses Using a Nanofluidic Real-Time PCR System. PLOS ONE 2016;11:e0147832. https://doi.org/10.1371/journal.pone.0147832.

[3]	Lee D-Y, Leung K, Lee H, Habash M. Simultaneous Detection of Selected Enteric Viruses in Water Samples by Multiplex Quantitative PCR | SpringerLink. Water Air Soil Pollut 2016;227. https://doi.org/10.1007/s11270-016-2811-5.

[4]	Gendron L, Verreault D, Veillette M, Moineau S, Duchaine C. Evaluation of Filters for the Sampling and Quantification of RNA Phage Aerosols. Aerosol Science and Technology 2010;44:893–901. https://doi.org/10.1080/02786826.2010.501351.