| Table S1: The prostate MRI parameters at two medical centers |  |  |  |
| --- | --- | --- | --- |
| Parameters | Imaging Sequence |  |  |
|  | T2WI | T1WI | DWI |
| Repetition time (msec) | 6000 | 600 | 6000 |
| Echo time | 105 | 24 | 82 |
| Field of view (cm2) | 22 | 22 | 22 |
| Matrix | 384 × 384 | 384 × 384 | 128 × 128 |
| Section thickness (mm) | 3.5 | 3.5 | 3.5 |
| Flip angle (degree) | 110 | 90 | 90 |
| b value (sec/mm2) | … | … | 0, 500, 1000 and 1500 |
| No of slices | 25 | 23 | 23 |
| No of averages | 2 | 2 | 2 |
| Bandwidth/pixel | 180 | 180 | 2060 |
| Parallel factors | 2 | 2 | 2 |
| Acquisition time | 3:46 min | 3:30 min | 3:48 min |
| Note. T2WI = T2-weighted imaging; T1WI = T1-weighted imaging; DWI = diffusion-weighted imaging. |  |  |  |