Text captions.

| Text S1 | The procedure of EPS extraction. |
| --- | --- |

Text S1. The procedure of EPS extraction.

20 g digested sludge, centrifuge 5000 G, 4℃ for 5 min then removed the supernatant, with phosphate buffer solution (PBS) return to the initial quality. The PBS consisted of 2 mM Na3PO4, 4 mM NaH2PO4, 9 mM NaCl and 1mM KCl at pH 7(Frolund 1996). Then, mixed with cation exchange resin (CER) (Dower Marathon C, Na+ form, 20-50 mesh, Fluka 91973) for 70 g/g VS, and mixing with magnetic stirrer as 800 rpm for 4h. After centrifuge 10000 G, 4℃ for 15 min, supernatant removed to get the EMPS. The pullets with PBS again to 20 g, then for ultrasonic 150 W, 3 min, centrifuge 12000 G, 4℃ for 20 min, the supernatant removed obtain the ECPS.

Table captions

| Table S1 | Pearson's correlation between dewaterability index and physico-chemical parameters for RS |
| --- | --- |
| Table S2 | Pearson's correlation between dewaterability index and physico-chemical parameters for DS |
| Table S3 | Pearson's correlation between dewaterability index and physico-chemical parameters for DS-3 |
| Table S4 | Surface tension values and different interaction values of test liquid |

Table S1. Pearson's correlation between dewaterability index and physico-chemical parameters for RS

|  | FM | MBM | Zeta potential | Viscosity | PN-EMPS | PN-ECPS |
| --- | --- | --- | --- | --- | --- | --- |
| FM | 1 | -.952** | .987** | -.744* | -.890** | -.981** |
| MBM | -.952** | 1 | -.963** | .790* | .954** | .963** |
| Zeta potential | .987** | -.963** | 1 | -.704* | -.885** | -.969** |
| Viscosity | -.744* | .790* | -.704* | 1 | .862** | .794* |
| PN-EMPS | -.890** | .954** | -.885** | .862** | 1 | .901** |
| PN-ECPS | -.981** | .963** | -.969** | .794* | .901** | 1 |

The linear fitting adopts the viscosity value with the shear rate remaining at 500 s-1

*. Correlation is significant at the 0.05 level (2-tailed). **. Correlation is significant at the 0.01 level (2-tailed).(+) Positive correlation, (-) Negative correlation.

Table S2. Pearson's correlation between dewaterability index and physico-chemical parameters for DS

|  | FM | MBM | Zeta potential | Viscosity | PN-EMPS | PN-ECPS |
| --- | --- | --- | --- | --- | --- | --- |
| FM | 1 | -.996** | .950** | -.964** | -.850** | -.990** |
| MBM | -.996** | 1 | -.958** | .968** | .811** | .982** |
| Zeta potential | .950** | -.958** | 1 | -.902** | -.775* | -.948** |
| Viscosity | -.964** | .968** | -.902** | 1 | .762* | .938** |
| PN-EMPS | -.850** | .811** | -.775* | .762* | 1 | .902** |
| PN-ECPS | -.990** | .982** | -.948** | .938** | .902** | 1 |

The linear fitting adopts the viscosity value with the shear rate remaining at 500 s-1

*. Correlation is significant at the 0.05 level (2-tailed). **. Correlation is significant at the 0.01 level (2-tailed).(+) Positive correlation, (-) Negative correlation.

Table S3. Pearson's correlation between dewaterability index and physico-chemical parameters for DS-3

|  | FM | MBM | Zeta potential | Viscosity | PN-EMPS | PN-ECPS |
| --- | --- | --- | --- | --- | --- | --- |
| FM | 1 | -.978** | .733* | -.916** | -.841** | -.964** |
| MBM | -.978** | 1 | -.823** | .855** | .916** | .980** |
| Zeta potential | .733* | -.823** | 1 | -.498 | -.969** | -.877** |
| Viscosity | -.916** | .855** | -.498 | 1 | .612 | .812** |
| PN-EMPS | -.841** | .916** | -.969** | .612 | 1 | .947** |
| PN-ECPS | -.964** | .980** | -.877** | .812** | .947** | 1 |

The linear fitting adopts the viscosity value with the shear rate remaining at 500 s-1

*. Correlation is significant at the 0.05 level (2-tailed). **. Correlation is significant at the 0.01 level (2-tailed).(+) Positive correlation, (-) Negative correlation.

Table S4. Surface tension values and different interaction values of test liquid

| liquid |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Formamide | 58.0 | 39.0 | 19.0 | 2.28 | 39.6 |
| Pure water | 72.8 | 21.8 | 51.0 | 25.5 | 25.5 |
| 1-bromonaphthalene | 44.4 | 44.4 | 0 | 0 | 0 |