Supplemental materials

Quantification of trace transformation products of rocket fuel unsymmetrical dimethylhydrazine in sand using vacuum-assisted headspace solid-phase microextraction

Aray Zhakupbekova1, Nassiba Baimatova1*, Elefteria Psillakis2, Bulat Kenessov1

1 Center of Physical Chemical Methods of Research and Analysis, Faculty of Chemistry and Chemical Technology, Al-Farabi Kazakh National University, Almaty, Kazakhstan

2 Laboratory of Aquatic Chemistry, School of Environmental Engineering, Technical University of Crete, Chania, Greece

* Corresponding author, 050012 Almaty, 96a Tole bi Street, office 101, Kazakhstan, tel.: +7 727 2921374; fax: +7 727 2923731; e-mail: baimatova@cfhma.kz

Preparation of UDMH TPs solutions

For  preparation of UDMH TPs stock solutions, 0.0226 g of PAn,  0.0492 g of MPA, 0.0497 g of NDMA, 0.0556 g of MTA and 0.0206 g of PAl were weighed out and each dissolved in distilled water in 5 mL volumetric flasks. Concentrations of analytes in the prepared solutions made up 4.5, 9.8, 9.9, 11.1 and 4.1 mg mL-1 for PAn, MPA, NDMA, MTA and Pal, respectively.

Then 9, 10, 15, 25 and 40 μL of PAn, MPA, NDMA, MTA and Pal solutions, respectively, were mixed and diluted in distilled water in a 5 mL volumetric flask. Solution was further diluted in distilled water to obtain analyte concentrations provided in Table 1.

Table S1

Analytes concentrations in calibration curve

| Analytes | C1, (ng µL-1) | C2, (ng µL-1) | C3, (ng µL-1) | C4, (ng µL-1) | C5, (ng µL-1) |
| --- | --- | --- | --- | --- | --- |
| PAn | 0.2 | 0.5 | 0.9 | 1.8 | 3.6 |
| MPA | 0.2 | 0.5 | 1.0 | 2.0 | 3.9 |
| NDMA | 0.7 | 1.5 | 3.0 | 6.0 | 11.9 |
| MTA | 1.4 | 2.8 | 5.6 | 11.1 | 22.2 |
| PAl | 0.8 | 1.6 | 3.3 | 6.6 | 13.2 |