Supplementary information

Membrane fouling monitoring by 3ω sensing

Mads Koustrup Jørgensen1,*, Frederikke Kildeberg Paulsen1, Anders Bentien2, Astrid Ræbild Kjul1, Maiken Poulsen1, Louise Mailund Mikkelsen1, Nikitha Thavaneswaran1, Simon Abildgaard Hansen1, Pernille Krogsager Jensen1, Jacob Andersen1, David N. Østedgaard-Munck3, Jan Dimon Bendtsen4, Morten Lykkegaard Christensen1

1Center for Membrane Technology, Department of Chemistry and Bioscience, Aalborg University, DK-9220 Aalborg East, Denmark

2Department of Biological and Chemical Engineering, Aarhus University, Åbogade 40, DK-8200 Aarhus N, Denmark

3LiqTech International A/S, Benshøj Industrivej 24, DK-9500 Hobro, Denmark

4Department of Electronic Systems, Aalborg University, Fredrik Bajers Vej 7, DK-9220 Aalborg Øst

*Correspondence: mkj@bio.aau.dk

This file includes:

Supplementary Figures S1-S7.

Figure S1: Microscopy image of platinum wire with wire (a) and scale (b) in focus. Every bar on the scale is 10 μm. The microscope is an Axioskop epifluorescence microscope (Carl Zeiss, Oberkochen, Germany, 1000x magnification).

Figure S2: Schematic of semi-dead-end filtration setup (a) and crossflow filtration setup (b).

Figure S3: Ù3ω collected at 75 mA AC current through a platinum wire on a membrane in DI water using an AC frequency of 1 Hz (a), and Ù3ω found by normalization of U1ω and U3ω collected at 0.1, 1 and 10 Hz AC currents of 75 mA.

Figure S4: Ù3ω collected at 75 mA AC current with a frequency of 1 Hz and a crossflow velocity of 0.043 m s-1 for varying permeate fluxes during filtration of DI water.

Figure S5: Ù3ω and TMP and hydraulic resistance to filtration plotted against time during filtration of dilute milk samples (0.035% fat content) (a), and Ù3ω plotted against hydraulic resistance during filtration of DI water, dilute milk and DI water after membrane cleaning (b).

Figure S6: Measured voltage through platinum wire on membrane in air with 75 mA current at 1 Hz AC frequency along with sinusoidal fit (a) and residual between fit and measured voltage, again with a sinusoidal fit to the residual with an oscillation of 3 Hz and amplitude of U3ω (b).

Figure S7: Ù3ω collected at 75 mA AC current with a frequency of 1 Hz in water at room temperature as a reference for continuous filtration experiments.