Supplementary Materials

Biochemical characterization of fermented Yerba Mate (Ilex paraguariensis)

using Rhizopus oligosporus

So-Hyung Kwak 1, Hayeong Kim2, Ji hyeon Jeon3, Kunal Pal4, Dong-Hyun Kang 1, 5, *, Doman Kim 2, 3, 6, *

1 Department of Agricultural Biotechnology, College of Agriculture and Life Sciences, Seoul National University, Seoul, 08826, Republic of Korea. Email: shkwak16@snu.ac.kr (SH Kwak); kang7820@snu.ac.kr (DH Kang)

2 The Institute of Food Industrialization, Institutes of Green Bio Science &Technology, Seoul National University, Gangwon-do, 25354, Republic of Korea. Email: hara2910@snu.ac.kr (HY Kim); kimdm@snu.ac.kr (D Kim)

3Graduate School of International Agricultural Technology, Seoul National University, Gangwon-do, 25354, Republic of Korea. Email: akreo96@snu.ac.kr (JH Jeon)

4Department of Biotechnology and Medical Engineering, National Institute of Technology, Rourkela, 769008 India. Email: kpal.nitrkl@gmail.com (K Pal)

5Department of Food and Animal Biotechnology, Department of Agricultural Biotechnology, Center for Food and Bioconvergence, and Research Institute for Agricultural and Life Sciences, Seoul National University, Seoul, 08826, Republic of Korea

6Fervere Campus Corporation, Gangwon-do, 25354, Republic of Korea.

Corresponding Author:

# Doman Kim: E-mail: kimdm@snu.ac.kr; Tel: +82-33-339-5720; Fax: +82-33-339-571

Dong-Hyun Kang: E-mail: kang7820@snu.ac.kr Tel: +82-2-880-2697; Fax: +82-2-883-4928

Table S1. LC-QDa mass conditions and summary of qualification results for linearity of standard compounds

| Compound | Concentration range (μg/mL) | M/Z | Polarity | Corn voltage (V) | Capillary voltage (kV) | Linearity (R2) | Regression equation |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Chlorogenic acid | 0.1 – 10.0 | 355.0 | Positive | 5 | 1.3 | 0.98 | Y = 154323X - 49576 |
| Caffeic acid | 0.1 – 5.0 | 181.10 | Positive | 10 | 1.3 | 0.99 | Y = 299000X + 2300 |
| Ferulic acid | 0.1 – 5.0 | 195.13 | Positive | 10 | 1.3 | 0.99 | Y = 2960000X + 465000 |
| Caffeine | 0.1 – 5.0 | 195.17 | Positive | 10 | 1.3 | 0.98 | Y = 2960000X + 356000 |
| Rutin | 0.1 – 5.0 | 609.0 | Negative | 20 | 1.3 | 0.99 | Y = 165000X - 11500 |