Table S1 Detailed information on detecting CAstV from clinical samples.

| No. |  | qRT-PCR (Ct) | Results |  | SYBR Green RT-LAMP (Tp) | Results |  | assimilating probe RT-LAMP(Tp) | Results |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  | none | neg |  | none | neg |  | none | neg |
| 2 |  | none | neg |  | none | neg |  | none | pos |
| 3* |  | 32.22 | pos |  | none | neg |  | 34.42 | pos |
| 4 |  | none | neg |  | none | neg |  | none | neg |
| 5 |  | 28.14 | pos |  | 20.54 | pos |  | 32.34 | pos |
| 6 |  | none | neg |  | none | neg |  | none | neg |
| 7 |  | none | neg |  | none | neg |  | none | neg |
| 8 |  | none | neg |  | none | neg |  | none | neg |
| 9 |  | none | neg |  | none | neg |  | none | neg |
| 10 |  | 24.65 | pos |  | 19.12 | pos |  | 28.33 | pos |
| 11 |  | 20.30 | pos |  | 21.47 | pos |  | 27.72 | pos |
| 12 |  | none | neg |  | none | neg |  | none | neg |
| 13 |  | 30.90 | pos |  | 27.76 | pos |  | 36.24 | pos |
| 14 |  | none | neg |  | none | neg |  | none | neg |
| 15 |  | none | neg |  | none | neg |  | none | neg |
| 16 |  | 21.59 | pos |  | 20.10 | pos |  | 33.22 | pos |
| 17 |  | 24.75 | pos |  | 14.54 | pos |  | 30.74 | pos |
| 18 |  | 30.43 | pos |  | 25.73 | pos |  | 34.32 | pos |
| 19 |  | none | neg |  | none | neg |  | none | neg |
| 20 |  | none | neg |  | none | neg |  | none | neg |
| 21 |  | none | neg |  | none | neg |  | none | neg |
| 22* |  | none | neg |  | 26.43 | pos |  | 34.55 | pos |
| 23 |  | 27.61 | pos |  | 21.98 | pos |  | 32.71 | pos |
| 24 |  | none | neg |  | none | neg |  | none | neg |
| 25* |  | 33.76 | pos |  | none | neg |  | none | neg |
| 26 |  | none | neg |  | none | neg |  | none | neg |
| 27 |  | none | neg |  | none | neg |  | none | neg |
| 28 |  | none | neg |  | none | neg |  | none | neg |
| 29 |  | 23.44 | pos |  | 26.20 | pos |  | 35.31 | pos |
| 30 |  | none | neg |  | none | neg |  | none | neg |
| 31 |  | none | neg |  | none | neg |  | none | neg |
| 32 |  | none | neg |  | none | neg |  | none | neg |
| 33 |  | none | neg |  | none | neg |  | none | neg |
| 34 |  | 27.23 | pos |  | 21.35 | pos |  | 39.75 | pos |
| 35 |  | 16.97 | pos |  | 18.90 | pos |  | 26.23 | pos |
| 36 |  | none | neg |  | none | neg |  | none | neg |
| 37 |  | none | neg |  | none | neg |  | none | neg |
| 38 |  | none | neg |  | none | neg |  | none | neg |
| 39 |  | 31.90 | pos |  | 22.88 | pos |  | 34.56 | neg |
| 40 |  | none | neg |  | none | neg |  | none | neg |
| 41 |  | 19.78 | pos |  | 16.66 | pos |  | 31.62 | pos |
| 42 |  | none | neg |  | none | neg |  | none | neg |
| 43* |  | none | neg |  | none | neg |  | 32.42 | pos |
| 44* |  | 33.48 | pos |  | none | neg |  | 34.52 | pos |
| 45 |  | none | neg |  | none | neg |  | none | neg |