1
Supplementary Material
S1 Table. CT scanning parameters used in each protocol 

	CT protocol
	Tube voltage (kVp)
	Tube current (mA)
	Collimation (mm)
	Pitch
	Kernel
	Section thickness (mm)
	Contrast (M, ml/sec)

	Abdomen CT
	100
	automatic
	0.6
	0
	Admire Br40d/2
	5
	300, 3

	Chest CT
	90
	automatic
	0.6
	0.7
	Admire Br54d/2
	3
	300, 4

	Lumbar spine CT
	100
	automatic
	0.6
	0
	Admire Br59d/2
	3
	None
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