Supplementary Material

S1 Table. CT scanning parameters used in each protocol

| CT protocol | Tube voltage (kVp) | Tube current (mA) | Collimation (mm) | Pitch | Kernel | Section thickness (mm) | Contrast (M, ml/sec) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Abdomen CT | 100 | automatic | 0.6 | 0 | Admire Br40d/2 | 5 | 300, 3 |
| Chest CT | 90 | automatic | 0.6 | 0.7 | Admire Br54d/2 | 3 | 300, 4 |
| Lumbar spine CT | 100 | automatic | 0.6 | 0 | Admire Br59d/2 | 3 | None |