Additional file

Table S1: weight of the prototype

| Robot | Waist(g) | Thigh(g) | Shank(g) | Foot(g) | Total(g) | Actuator(g) |
| --- | --- | --- | --- | --- | --- | --- |
| Asbeck et al.[1] | / | / | / |  | 10200 | / |
| Panizzolo et al. [2] | 5490 | 450 | 620 | 40 | 6600 | / |
| Mooney et al.[3] | 1713 | 0 | 2044 | 206 | 3963 | 2044 |
| Kim et al.[4] | 4542 | 462 | 0 | 0 | 5004 | 2674 |
| Present study | 5140 | 0 | 526 | 260 | 5926 | 2400 |

Compared with some of the best robots at present, the total weight and the weight distribution of our robot is in the best rank. If we use integrated hardware like the robot [4], rather than industrial-grade independent hardware, we can further reduce the weight of our robots. Besides, the selection of motor and reducer power is too conservative in this paper where the actual power is far from the peak power. The lighter motor and reducer can be selected in an improved version.

Table S2: mechanical power

| Subject | Peak interaction force(N) |  |  |  | Stretching length(mm) |  |  |  | Mechanical power(W/kg) |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Left | Right |  | Lift |  | Right |  | Left |  | Right |
| 1 | 112.9 | 80.6 |  | 55.9 |  | 52.9 |  | 0.060 |  | 0.042 |
| 2 | 141.4 | 125.4 |  | 55.1 |  | 54.1 |  | 0.079 |  | 0.066 |
| 3 | 161.9 | 129.2 |  | 53.5 |  | 50.5 |  | 0.090 |  | 0.069 |
| 4 | 63.4 | 84.8 |  | 57.1 |  | 53.7 |  | 0.042 |  | 0.063 |
| 5 | 155.8 | 107.3 |  | 52.7 |  | 54.1 |  | 0.088 |  | 0.047 |

Table S3: metabolic cost

| Subject | Stance(W/kg) | Free walk(W/kg) | Power-off(W/kg) | Power-on(W/kg) |
| --- | --- | --- | --- | --- |
| 1 | 1.604 | 3.393 | 3.680 | 2.980 |
| 2 | 2.060 | 4.907 | 5.015 | 3.981 |
| 3 | 1.6 | 3.42 | 3.498 | 3.407 |
| 4 | 2.3 | 5.460 | 6.120 | 5.756 |
| 5 | 1.812 | 4.512 | 4.993 | 4.610 |

Reference

[1]	A. T. Asbeck, S. M. M. D. Rossi, K. G. Holt, and C. J. Walsh, "A biologically inspired soft exosuit for walking assistance," International Journal of Robotics Research, vol. 34, no. 6, pp. 744-762, 2014.

[2]	F. A. Panizzolo et al., "A biologically-inspired multi-joint soft exosuit that can reduce the energy cost of loaded walking," Journal of neuroengineering and rehabilitation, vol. 13, no. 1, p. 43, 2016.

[3]	L. M. Mooney, E. J. Rouse, and H. M. Herr, "Autonomous exoskeleton reduces metabolic cost of human walking during load carriage," Journal of neuroengineering and rehabilitation, vol. 11, no. 1, p. 80, 2014.

[4]	J. Kim et al., "Reducing the metabolic rate of walking and running with a versatile, portable exosuit," Science, vol. 365, no. 6454, pp. 668-672, 2019.