Supplemental figure 1. 3D contrast recovery computed for Vision (solid line) and mCT (dotted line). Data were reconstructed using 4 iterations, 5 subsets, no post-filtering (matrix size: 440×440) for the Vision and 3 iterations, 21 subsets, no post-filtering (matrix size: 400×400) for the mCT. Datasets from the two scanners have the same number of net trues.

Supplemental figure 2. Image roughness as a function of the number of net trues. Data reconstructed from the Biograph mCT using 3 iterations, 21 subsets, no post-filtering and a 400×400 matrix size (set as the reference). Biograph Vision 450 data were reconstructed using the 440×440 matrix size, 5 subsets, no post-filtering and between 3 to 5 iterations.

Supplemental figure 3. Scan time reduction factor achievable when considering the reconstruction obtained with the Biograph mCT (3 iterations, 21 subsets, no post-filtering and 400×400 matrix size) as the reference using the 440×440 matrix size for the Biograph Vision 450 (different number of iterations of the OP-OSEM+TOF+PSF algorithm attached to the Biograph Vision 450 were considered). Right y-axis and dashed lines: contrast improvement for the 10-mm sphere (blue, red and dark line colors correspond respectively to 3, 4 and 5 iterations).