Table 1: Confusion matrix for GLCM features

|  |  | Predicted |  |
| --- | --- | --- | --- |
|  |  | Negative(-) | Positive(+) |
| Actual | Negative(-) | 39(TN) | 1(FN) |
|  | Positive(+) | 0(FP) | 40(TP) |

Note: TN- True Negative, FN – False Negative; FP- False Positive; TP – True Positive; GLCM - Grey Level Co-occurrence Matrix

Table 2: Confusion matrix for GLRLM features

|  |  | Predicted |  |
| --- | --- | --- | --- |
|  |  | Negative(-) | Positive(+) |
| Actual | Negative(-) | 40(TN) | 2(FN) |
|  | Positive(+) | 2(FP) | 36(TP) |

Note: TN- True Negative, FN – False Negative; FP- False Positive; TP – True Positive; GLRLM - Grey Level Run Length Matrix

Table 3: Confusion matrix for wavelet analysis

|  |  | Predicted |  |
| --- | --- | --- | --- |
|  |  | Negative(-) | Positive(+) |
| Actual | Negative(-) | 30(TN) | 4(FN) |
|  | Positive(+) | 3(FP) | 43(TP) |

Note: TN- True Negative, FN – False Negative; FP- False Positive; TP – True Positive;

Table 4: Matrix for all three techniques

| Value | Wavelet analysis | GLCM | GLRLM |
| --- | --- | --- | --- |
| TP | 43 | 40 | 36 |
| FP | 3 | 0 | 2 |
| FN | 4 | 1 | 2 |
| TN | 30 | 39 | 40 |

Note: TN- True Negative, FN – False Negative; FP- False Positive; TP – True Positive; GLRLM - Grey Level Run Length Matrix; GLCM - Grey Level Co-occurrence Matrix

Table 5: Evaluation Results

| Measure | Wavelet analysis | GLCLM | GLRLM |
| --- | --- | --- | --- |
| AC | 91% | 98% | 95% |
| MCC | 0.82 | 0.97 | 0.89 |
| SN | 90% | 97% | 94% |
| SP | 90% | 100% | 95% |
| PPV | 93% | 100% | 94% |

Note: TN- True Negative, FN – False Negative; FP- False Positive; TP – True Positive; GLRLM - Grey Level Run Length Matrix; GLCM - Grey Level Co-occurrence Matrix