Table S4. Temporal and spatial resolution of the cine and perfusion sequences in 221 completed DS-CMR examinations

| Type of scanner | N (%) | Cine (temporal, msec/frame) | Perfusion (voxel, mm3) |
| --- | --- | --- | --- |
| Philips 1.5 T Ingenia | 110 (49) | Rest 30-40 ¦ Stress 15-20 | 1.2-1.3 x 1.2-1.3 x 8-9 |
| Philips 3 T Achieva | 74 (33) | Rest 30-40 ¦ Stress 14-17 | 1.3 x 1.3 x 9-10 |
| Siemens 1.5 T Aera | 40 (18) | Rest 24-34 ¦ Stress 8-9 | 2.1 x 2.1 x 8 |