Appendix A. Model structure of InveseNet3D

Table A1 gives the model structures and parameters of InverseNet3D.

Table A1. Model form and model parameters of InverseNet3D. “Conv.”, “Res.”, and “Deconv.” denote the convolutional, residual, and deconvolutional layers.

|  | Network | Layer | Number of channels | Kernel size | Stride |
| --- | --- | --- | --- | --- | --- |
| Feature Extractors | Orthogonal image 1 | Conv./Conv. | 32/32 | 3/3 | 1/1 |
|  | Orthogonal image 2 | Conv./Conv. | 32/32 | 3/3 | 1/1 |
| Residual Blocks | Block 1 | Conv./Conv./Res. | 32/32/32 | 4/3/4 | 2/1/2 |
|  | Block 2 | Conv./Conv./Res. | 32/32/32 | 4/3/4 | 2/1/2 |
|  | Block 3 | Conv./Conv./Res. | 32/32/32 | 4/3/4 | 2/1/2 |
|  | Block 4 | Conv./Conv./Res. | 32/32/32 | 4/3/4 | 2/1/2 |
|  | Block 5 | Conv./Conv./Res. | 32/32/32 | 4/3/4 | 2/1/2 |
| Deconvolutional Blocks | Deconvolution | Deconv./Deconv./Deconv./Deconv. | 32/64/128/256 | 3/3/3/3 | 2/2/2/2 |

Appendix B. Hounsfield look-up table.

Table B1 shows the Hounsfield look-up table to convert CT numbers to material relative stopping power ratios.

Table B1. Hounsfield look-up table for relative stopping power.

| CT number (Hounsfield unit) | Relative stopping power |
| --- | --- |
| -1024 | 9.0 x 10-4 |
| -980 | 1.0 x 10-3 |
| -741 | 0.257 |
| -707 | 0.288 |
| -560 | 0.432 |
| -93 | 0.891 |
| -61 | 0.916 |
| -48 | 0.929 |
| -24 | 0.958 |
| 0 | 1.000 |
| 19 | 1.001 |
| 29 | 1.002 |
| 48 | 1.045 |
| 52 | 1.049 |
| 76 | 1.067 |
| 101 | 1.097 |
| 189 | 1.094 |
| 200 | 1.103 |
| 242 | 1.149 |
| 383 | 1.263 |
| 427 | 1.289 |
| 549 | 1.384 |
| 565 | 1.394 |
| 628 | 1.430 |
| 702 | 1.495 |
| 761 | 1.513 |
| 829 | 1.586 |
| 923 | 1.656 |
| 1157 | 1.780 |
| 1260 | 1.898 |
| 2495 | 2.685 |

Appendix C. Performance of InveseNet3D for patient image synthesis using different projection angle pairs

Table C1-C3 gives the metrics for image quality and treatment evaluations, which are averaged over all phases for each patient.

Table C1. Evaluation metrics of volumetric image quality generated from InverseNet3D using orthogonal images with the source angle pair of 157-247. The metrics include ME, MAE, PSNR, and SSIM. All metrics are averaged over all phases for each patient. ME and MAE are evaluated for the whole volume, and PSNR and SSIM are computed for the target contour. The difference and relative difference of water equivalent thicknesses (∆WET/εWET) are calculated within the target contour for an anteroposterior proton beam.

| Patient | ME (HU) | MAE (HU) | PSNR (dB) | SSIM | ∆WET (mm) | εWET |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | -11.7 ± 0.7 | 39.2 ± 0.5 | 20.7 ± 0.8 | 0.962 ± 0.014 | -2.7 ± 0.3 | -3.8 ± 0.3% |
| 2 | 9.8 ± 0.8 | 48.2 ± 0.3 | 19.1 ± 0.5 | 0.977 ± 0.003 | -3.1 ± 0.3 | -2.2 ± 0.2% |
| 3 | 30.5 ± 1.1 | 56.3 ± 1.0 | 16.3 ± 0.3 | 0.968 ± 0.011 | 1.8 ± 0.7 | 2.5 ± 0.9% |
| 4 | -34.9 ± 3.5 | 52.3 ± 5.3 | 15.7 ± 0.8 | 0.964 ± 0.013 | -2.1 ± 0.2 | -4.2 ± 0.4% |
| 5 | -5.1 ± 0.1 | 55.2 ± 0.1 | 17.7 ± 0.1 | 0.986 ± 0.001 | 2.4 ± 0.2 | 3.1 ± 0.3% |
| 6 | -26.2 ± 0.4 | 40.4 ± 0.4 | 21.6 ± 0.2 | 0.965 ± 0.008 | -2.1 ± 0.1 | -5.3 ± 0.2% |
| 7 | -13.2 ± 0.8 | 83.5 ± 2.4 | 15.8 ± 0.4 | 0.795 ± 0.011 | 3.9 ± 0.6 | 10.2 ± 1.6% |
| 8 | -15.5 ± 1.8 | 100.5 ± 3.6 | 16.2 ± 0.4 | 0.966 ± 0.006 | -1.4 ± 0.8 | -1.5 ± 1.0% |
| 9 | -4.4 ± 0.4 | 91.4 ± 5.6 | 14.1 ± 0.4 | 0.877 ± 0.012 | 6.6 ± 1.2 | 5.4 ± 1.0% |
| 10 | 6.4 ± 0.4 | 95.9 ± 1.3 | 15.7 ± 0.7 | 0.942 ± 0.007 | -4.1 ± 1.2 | -4.3 ± 1.4% |
| 11 | -10.1 ± 0.4 | 97.2 ± 1.4 | 15.7 ± 0.0 | 0.966 ± 0.004 | 0.4 ± 0.5 | 0.3 ± 0.5% |
| 12 | -1.8 ± 0.3 | 82.4 ± 2.8 | 16.7 ± 0.5 | 0.956 ± 0.004 | 0.4 ± 0.9 | 0.5 ± 1.1% |
| 13 | -7.3 ± 0.8 | 69.7 ± 7.4 | 17.4 ± 1.3 | 0.985 ± 0.014 | 0.7 ± 0.9 | 2.4 ± 3.3% |
| 14 | -4.7 ± 0.2 | 87.5 ± 0.5 | 17.6 ± 0.4 | 0.855 ± 0.011 | 0.7 ± 0.2 | 2.1 ± 0.7% |
| 15 | 12.2 ± 0.1 | 42.6 ± 0.2 | 29.4 ± 0.2 | 0.986 ± 0.003 | 2.1 ± 0.2 | 2.1 ± 0.2% |
| 16 | -53.4 ± 0.3 | 75.1 ± 0.3 | 19.3 ± 0.1 | 0.992 ± 0.007 | -0.8 ± 0.2 | -3.2 ± 0.4% |
| 17 | 10.8 ± 0.1 | 63.1 ± 0.5 | 22.5 ± 0.5 | 0.956 ± 0.006 | -3.8 ± 0.6 | -4.4 ± 0.5% |
| 18 | -24.9 ± 2.0 | 52.3 ± 3.6 | 24.1 ± 4.8 | 0.955 ± 0.005 | -3.0 ± 0.5 | -2.6 ± 0.5% |
| 19 | -7.5 ± 0.2 | 49.6 ± 0.5 | 28.5 ± 0.4 | 0.962 ± 0.003 | -2.4 ± 0.0 | -5.4 ± 0.1% |
| 20 | 1.8 ± 0.2 | 40.6 ± 0.2 | 32.4 ± 0.1 | 0.992 ± 0.001 | 0.6 ± 0.1 | 1.3 ± 0.1% |
| 21 | -13.4 ± 0.7 | 80.7 ± 1.1 | 20.6 ± 0.3 | 0.945 ± 0.011 | -1.5 ± 0.8 | -3.2 ± 1.6% |
| 22 | -15.1 ± 0.8 | 95.7 ± 1.0 | 23.0 ± 0.2 | 0.987 ± 0.001 | -0.2 ± 0.1 | -0.6 ± 0.5% |
| 23 | -7.9 ± 0.2 | 92.6 ± 1.3 | 23.4 ± 2.7 | 0.961 ± 0.002 | -25.9 ± 1.0 | -15.7 ± 0.4% |
| 24 | -10.5 ± 0.7 | 80.6 ± 1.2 | 21.5 ± 0.1 | 0.966 ± 0.008 | 1.7 ± 0.8 | 1.6 ± 0.7% |
| 25 | -13.7 ± 0.6 | 82.0 ± 0.7 | 22.5 ± 5.9 | 0.872 ± 0.009 | 7.4 ± 0.4 | 6.4 ± 0.3% |
| 26 | -10.4 ± 0.3 | 91.0 ± 0.6 | 20.9 ± 0.05 | 0.903 ± 0.015 | -3.0 ± 0.8 | -4.1 ± 0.9% |
| 27 | -13.7 ± 1.0 | 80.2 ± 1.6 | 18.2 ± 0.7 | 0.934 ± 0.003 | -3.0 ± 0.6 | -7.0 ± 1.3% |
| 28 | -22.3 ± 0.4 | 93.0 ± 0.2 | 22.0 ± 0.9 | 0.963 ± 0.003 | 2.1 ± 0.2 | 5.3 ± 0.5% |
| 29 | -8.7 ± 1.2 | 109.1 ± 1.8 | 18.1 ± 0.3 | 0.892 ± 0.006 | 1.2 ± 0.4 | 2.5 ± 0.9% |
| 30 | -12.3 ± 0.7 | 93.9 ± 2.6 | 18.7 ± 0.6 | 0.928 ± 0.007 | -20.9 ± 1.9 | -10.9 ± 1.0% |

Table C2. Evaluation metrics of volumetric image quality generated from InverseNet3D using orthogonal images with the source angle pair of 112-202. The metrics include ME, MAE, PSNR, and SSIM. All metrics are averaged over all phases for each patient. ME and MAE are evaluated for the whole volume, and PSNR and SSIM are computed for the target contour. The difference and relative difference of water equivalent thicknesses (∆WET/εWET) are calculated within the target contour for an anteroposterior proton beam.

| Patient | ME (HU) | MAE (HU) | PSNR (dB) | SSIM | ∆WET (mm) | εWET |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 1.6 ± 0.3 | 45.2 ± 0.3 | 18.4 ± 0.3 | 0.960 ± 0.017 | -3.0 ± 0.8 | -4.1 ± 0.9% |
| 2 | 19.7 ± 0.5 | 56.0 ± 0.2 | 18.1 ± 0.8 | 0.977 ± 0.004 | -2.9 ± 0.3 | -2.0 ± 0.2% |
| 3 | 43.4 ± 0.6 | 64.3 ± 0.2 | 15.5 ± 0.4 | 0.973 ± 0.007 | 0.9 ± 0.2 | 1.2 ± 0.3% |
| 4 | -23.5 ± 2.9 | 43.6 ± 3.4 | 18.4 ± 0.8 | 0.970 ± 0.010 | -1.8 ± 0.1 | -3.7 ± 0.2% |
| 5 | 9.3 ± 0.2 | 49.7 ± 0.1 | 26.3 ± 0.6 | 0.991 ± 0.002 | 3.2 ± 0.2 | 4.1 ± 0.2% |
| 6 | -19.0 ± 0.1 | 44.8 ± 0.1 | 18.5 ± 0.1 | 0.952 ± 0.008 | -1.7 ± 0.2 | -4.3 ± 0.2% |
| 7 | -2.9 ± 0.2 | 72.0 ± 2.0 | 13.0 ± 0.4 | 0.940 ± 0.010 | 0.4 ± 0.5 | 1.1 ± 1.4% |
| 8 | -7.0 ± 0.5 | 92.7 ± 3.7 | 15.5 ± 0.4 | 0.945 ± 0.006 | -0.3 ± 0.9 | -0.4 ± 1.0% |
| 9 | 8.5 ± 0.9 | 91.7 ± 6.8 | 8.6 ± 0.2 | 0.908 ± 0.009 | -5.7 ± 1.4 | -4.6 ± 1.2% |
| 10 | 13.4 ± 0.3 | 100.1 ± 2.0 | 16.6 ± 0.2 | 0.919 ± 0.002 | -6.5 ± 0.3 | -6.8 ± 0.2% |
| 11 | 0.3 ± 0.3 | 92.0 ± 1.4 | 9.3 ± 0.1 | 0.942 ± 0.006 | 2.8 ± 0.4 | 2.4 ± 0.4% |
| 12 | 12.0 ± 0.6 | 86.2 ± 2.7 | 10.7 ± 0.3 | 0.915 ± 0.004 | -2.4 ± 0.4 | -3.1 ± 0.5% |
| 13 | 7.9 ± 2.3 | 67.8 ± 5.5 | 12.7 ± 0.8 | 0.991 ± 0.004 | 0.7 ± 0.9 | 2.6 ± 3.4% |
| 14 | 1.9 ± 0.2 | 86.3 ± 0.5 | 12.2 ± 0.1 | 0.886 ± 0.011 | 0.6 ± 0.3 | 1.8 ± 0.9% |
| 15 | 23.4 ± 0.4 | 48.5 ± 0.4 | 16.2 ± 0.1 | 0.979 ± 0.004 | 1.3 ± 0.3 | 1.3 ± 0.3% |
| 16 | -50.3 ± 0.4 | 74.0 ± 0.6 | 15.6 ± 0.3 | 0.996 ± 0.006 | 0.4 ± 0.1 | 1.3 ± 0.3% |
| 17 | 32.7 ± 0.4 | 76.0 ± 0.4 | 17.7 ± 0.6 | 0.885 ± 0.011 | 11.2 ± 3.6 | 12.8 ± 3.5% |
| 18 | -18.3 ± 2.5 | 44.3 ± 5.8 | 15.7 ± 0.5 | 0.957 ± 0.003 | -0.3 ± 1.0 | -0.3 ± 0.9% |
| 19 | 11.3 ± 0.3 | 56.3 ± 1.2 | 14.6 ± 0.3 | 0.961 ± 0.003 | -1.8 ± 0.1 | -4.1 ± 0.2% |
| 20 | -0.4 ± 0.6 | 44.6 ± 0.3 | 17.7 ± 0.1 | 0.983 ± 0.002 | -1.0 ± 0.1 | -1.9 ± 0.2% |
| 21 | 1.3 ± 0.6 | 74.7 ± 1.1 | 19.0 ± 0.6 | 0.941 ± 0.015 | 1.7 ± 1.7 | 3.8 ± 3.8% |
| 22 | -8.4 ± 0.6 | 84.8 ± 1.0 | 16.7 ± 0.2 | 0.969 ± 0.003 | 0.8 ± 0.1 | 2.9 ± 0.3% |
| 23 | 12.4 ± 0.2 | 84.2 ± 1.0 | 16.8 ± 0.1 | 0.968 ± 0.002 | -13.7 ± 1.1 | -8.3 ± 0.7% |
| 24 | 23.0 ± 0.7 | 88.9 ± 1.4 | 15.6 ± 0.1 | 0.947 ± 0.007 | 5.1 ± 1.7 | 5.0 ± 1.8% |
| 25 | 12.1 ± 0.9 | 92.9 ± 1.7 | 9.4 ± 0.1 | 0.775 ± 0.021 | 1.8 ± 1.5 | 1.5 ± 1.3% |
| 26 | 1.2 ± 0.5 | 96.2 ± 0.9 | 16.9 ± 0.1 | 0.915 ± 0.007 | 3.7 ± 0.4 | 5.0 ± 0.6% |
| 27 | -5.2 ± 0.3 | 71.0 ± 1.6 | 15.9 ± 0.5 | 0.934 ± 0.004 | -0.9 ± 0.8 | -2.2 ± 1.9% |
| 28 | 0.5 ± 0.3 | 89.8 ± 0.3 | 19.1 ± 0.1 | 0.953 ± 0.004 | 5.0 ± 0.2 | 12.4 ± 0.6% |
| 29 | -1.4 ± 0.7 | 82.2 ± 1.5 | 18.8 ± 0.3 | 0.886 ± 0.004 | 3.9 ± 0.6 | 8.1 ± 1.2% |
| 30 | 16.2 ± 1.0 | 100.5 ± 3.3 | 17.7 ± 0.7 | 0.905 ± 0.006 | -25.0 ± 2.5 | -13.0 ± 1.3% |

Table C3. Evaluation metrics of volumetric image quality generated from InverseNet3D using orthogonal images with the source angle pair of 180-270. The metrics include ME, MAE, PSNR, and SSIM. All metrics are averaged over all phases for each patient. ME and MAE are evaluated for the whole volume, and PSNR and SSIM are computed for the target contour. The difference and relative difference of water equivalent thicknesses (∆WET/εWET) are calculated within the target contour for an anteroposterior proton beam.

| Patient | ME (HU) | MAE (HU) | PSNR (dB) | SSIM | ∆WET (mm) | εWET |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | -6.8 ± 0.4 | 33.4 ± 0.4 | 23.7 ± 1.3 | 0.966 ± 0.008 | -1.6 ± 0.4 | -2.2 ± 0.4% |
| 2 | 16.9 ± 0.8 | 44.7 ± 0.2 | 21.3 ± 0.4 | 0.965 ± 0.003 | 1.6 ± 0.4 | 1.1 ± 0.3% |
| 3 | 34.9 ± 0.8 | 60.0 ± 0.4 | 17.8 ± 0.3 | 0.970 ± 0.005 | 0.9 ± 0.5 | 1.3 ± 0.6% |
| 4 | -38.4 ± 3.7 | 60.8 ± 5.6 | 22.2 ± 0.9 | 0.967 ± 0.010 | -1.6 ± 0.3 | -3.3 ± 0.7% |
| 5 | 20.9 ± 0.4 | 100.2 ± 1.1 | 19.6 ± 0.5 | 0.954 ± 0.004 | 9.9 ± 0.3 | 12.5 ± 0.6% |
| 6 | -13.4 ± 0.3 | 35.5 ± 0.2 | 22.5 ± 0.2 | 0.948 ± 0.005 | -0.5 ± 0.1 | -1.3 ± 0.4% |
| 7 | -16.5 ± 0.8 | 78.1 ± 2.7 | 18.2 ± 0.5 | 0.708 ± 0.021 | 3.6 ± 0.7 | 9.5 ± 1.7% |
| 8 | -14.0 ± 0.8 | 98.5 ± 4.5 | 17.6 ± 0.4 | 0.913 ± 0.014 | -4.9 ± 0.9 | -5.6 ± 1.1% |
| 9 | -16.5 ± 0.9 | 90.7 ± 6.1 | 16.1 ± 0.5 | 0.884 ± 0.011 | 5.1 ± 1.3 | 4.2 ± 1.1% |
| 10 | -2.6 ± 0.3 | 93.7 ± 1.7 | 20.5 ± 0.3 | 0.920 ± 0.002 | -3.7 ± 0.5 | -3.8 ± 0.4% |
| 11 | -1.9 ± 0.3 | 96.0 ± 1.5 | 17.3 ± 0.1 | 0.839 ± 0.004 | -2.9 ± 0.3 | -2.5 ± 0.3% |
| 12 | 5.4 ± 0.6 | 80.6 ± 2.8 | 18.5 ± 0.5 | 0.950 ± 0.002 | -2.1 ± 0.5 | -2.8 ± 0.7% |
| 13 | 3.6 ± 1.7 | 65.6 ± 6.1 | 19.2 ± 1.8 | 0.957 ± 0.030 | 1.5 ± 1.0 | 5.2 ± 3.6% |
| 14 | -12.0 ± 0.3 | 84.4 ± 0.4 | 19.8 ± 0.1 | 0.872 ± 0.007 | 2.1 ± 0.2 | 6.1 ± 0.5% |
| 15 | 17.6 ± 0.4 | 45.5 ± 0.2 | 28.6 ± 0.1 | 0.982 ± 0.005 | 3.4 ± 0.2 | 3.4 ± 0.2% |
| 16 | -28.0 ± 0.4 | 82.1 ± 0.5 | 17.9 ± 0.1 | 0.996 ± 0.004 | -0.3 ± 0.1 | -1.0 ± 0.3% |
| 17 | 17.4 ± 0.7 | 62.9 ± 0.3 | 25.0 ± 0.4 | 0.942 ± 0.013 | -6.7 ± 0.7 | -7.8 ± 1.1% |
| 18 | -22.8 ± 3.2 | 44.3 ± 4.0 | 18.7 ± 0.5 | 0.971 ± 0.002 | -0.5 ± 0.7 | -0.4 ± 0.6% |
| 19 | -5.2 ± 0.6 | 55.3 ± 0.2 | 27.7 ± 0.3 | 0.960 ± 0.005 | -2.6 ± 0.1 | -5.9 ± 0.1% |
| 20 | -5.1 ± 0.4 | 120.5 ± 0.6 | 20.2 ± 0.1 | 0.917 ± 0.004 | 7.2 ± 0.4 | 14.3 ± 0.7% |
| 21 | -2.6 ± 1.2 | 86.2 ± 1.1 | 19.7 ± 0.2 | 0.949 ± 0.006 | -0.1 ± 1.2 | -0.1 ± 2.4% |
| 22 | -11.4 ± 0.9 | 104.8 ± 0.7 | 18.1 ± 0.1 | 0.884 ± 0.005 | -2.5 ± 0.1 | -8.7 ± 0.3% |
| 23 | -3.4 ± 0.2 | 92.3 ± 0.9 | 19.3 ± 0.2 | 0.969 ± 0.002 | -24.1 ± 1.3 | -14.6 ± 0.5% |
| 24 | 1.8 ± 1.4 | 93.4 ± 1.1 | 21.1 ± 0.1 | 0.968 ± 0.004 | 8.5 ± 2.0 | 8.2 ± 1.8% |
| 25 | -4.8 ± 0.3 | 85.7 ± 0.5 | 24.6 ± 2.9 | 0.845 ± 0.013 | -5.2 ± 1.1 | -4.5 ± 0.9% |
| 26 | -10.6 ± 0.7 | 98.0 ± 0.5 | 20.7 ± 0.04 | 0.928 ± 0.005 | -0.8 ± 0.5 | -1.0 ± 0.6% |
| 27 | -1.1 ± 0.7 | 92.5 ± 1.7 | 19.2 ± 0.6 | 0.959 ± 0.002 | -0.5 ± 0.6 | -1.3 ± 1.4% |
| 28 | -0.1 ± 0.7 | 99.8 ± 0.1 | 20.4 ± 0.04 | 0.966 ± 0.004 | 2.4 ± 0.5 | 5.9 ± 1.2% |
| 29 | -5.6 ± 0.5 | 118.1 ± 0.5 | 18.4 ± 0.4 | 0.875 ± 0.003 | 6.3 ± 0.6 | 13.1 ± 1.1% |
| 30 | 4.2 ± 0.8 | 106.0 ± 3.0 | 17.5 ± 0.5 | 0.929 ± 0.007 | -11.9 ± 4.4 | -6.2 ± 2.3% |