Creation of a Self-Powered, Real-Time Sensor for Therapeutics in Blood: from Protein Engineering to Electronic Integration

Authors: Rong Cai*1, Chiagoziem Ngwadom1, Ravindra Saxena2,3, Jayashree Soman1, Chase Bruggeman4, David P. Hickey4, Rafael Verduzco3, Caroline M. Ajo-Franklin*1,5

Context

1. Materials	1

2. Engineering a switchable GDH using saturated domain-insertion profiling	1

2.1 GDH-LBD library construction	1

2.2 Screening and mapping the GDH-LBD library	3

3. Characterization of allosteric GDH-LBD	6

3.1 Protein animo acid (AA) sequence	6

3.2 UV-vis	8

3.3 Protein activity	9

3.4 Allosteric effect	10

3.5 Protein stability	11

4. Creating a 4-HT amperometric sensor with GDH-5E+	12

4.1 Effect of 4-HT	12

4.2 Electrochemistry with human blood sample	12

5. Creating a self-powered sensor	14

5.1 Laccase electrode preparation	14

5.2 Glucose/O2 enzymatic fuel cell (EFC)	14

5.3 A self-powered 4-HT sensor	15

6. Coupling EFC with OECT	17

6.1 Transfer characteristic of OECT	17

6.2 OECT coupling with the self-powered sensor	17

6.3 EFCs fully powered OECT	19

Reference	21

1. Materials

The original GDH plasmid was synthesized by GenScript with codon optimization. All the derivative GDH plasmids were constructed using Q5 hot start DNA polymerase (New England Biolabs, NEB) to produce amplicons and ligate to the target sequences with Golden Gate DNA assembly. All plasmid sequences were verified with Sanger sequencing. Twist Bioscience synthesized the SPINE-generated oligo pools. Integrated DNA technologies synthesized all the primers. Single donor human whole blood was purchased from Innovative Research. The received blood sample has had the FDA-required viral testing and used following universal precautions.

Saturated calomel electrodes (SCE), glassy carbon electrodes (diameter 3mm), and Pt mesh (1cm x 1cm) were purchased from CH Instruments, Inc. AvCarb carbon paper (MGL190, untreated) was purchased from Fuel Cell Earth (USA). Ultra-high purity O2 and N2 were purchased from Airgas. Ethylene glycol diglycidyl ether (EGDGE) was purchased from Polysciences Inc. Poly(3,4 ethylene dioxythiophene) doped with poly(styrene sulfonate) (PEDOT:PSS, PH1000) was purchased from Heraeus Epurio Company. Water used in experiments was filtered using an Ultrapure MilliQ system. All other chemicals were purchased from Sigma Aldrich and used as received without further purification.

Electrochemical experiments were performed using a CH Instruments 1242C potentiostat. GC electrodes were polished with a 0.05 μm alumina slurry prior to use. The OECT outputs were recorded using custom-made MATLAB software, which controls the source measure units (SMU, Keithley 2612).

2. Engineering a switchable GDH using saturated domain-insertion profiling

2.1 GDH-LBD library construction.

2.1.1 GDH oligo pools in silico design. Python-GDH plasmid was prepared by performing site-direct mutation on GDH plasmid to remove BsaI and BsmBI recognition sites. The resulted python-GDH was prepared in FASTA format, then submitted to the custom algorithm (https://github.com/schmidt-lab/SPINE). This program generates oligo sequences, their corresponding primers for amplification, and the target backbone primers for inverse PCR.

Figure S1. SPINE workflow.

2.1.2 Oligo pools amplification. The silico-designed gene pool, which contains 454 oligos with a genetic handle (AGCGGGAGACCGGGGTCTCTGAGC) inserted across GDH, was synthesized by Twist Bioscience and received as ~ 80 ng of lyophilized DNA. This DNA was resuspended in TE buffer with a final concentration of 20 fmol/µL. The eight oligo pools were PCR amplified with their corresponding primers using Q5 hot start polymerase (NEB) in 50 µL reactions with 1 µL template for 20 cycles. The entire PCR reaction was run on 3 % agarose gels, visualized with Gel Green (Bio-Rad). The brightest bands were cut for gel purification (Qiagen).

2.1.3. Combining oligo pool with target gene backbone. We first prepared eight linear backbones franked by complementary BsmBI sites to their corresponding oligo pools by PCR using Q5 hot start polymerase and python-GDH plasmid as the template. PCR products were run on 1.2 % agarose gels, visualized, and gel purified. The backbone and oligo pools were combined using the Golden Gate assembly kit (BsmBI-v2, from NEB) in a 20 µL reaction with a 2:1 ratio (vector: inserts) at 42 ◦C for one hour. The products were directly transformed into E. coli DH5α chemically competent cells (NEB) according to the manufacturer’s instructions. The transformed cells were grown overnight at 37 ◦C in 2 mL LB with 50 µg/mL kanamycin shaking at 250 rpm.

Table S1. Sanger sequencing of libraries

2.1.4. Replacing the genetic handle with ligand binding domain (LBD) of estrogen receptor. The LBD was a kind gift from Dr. Jonathan J. Silberg (Rice University). BsaI sites, complementary to those in the inserted genetic handle, were added to LBD by PCR using Q5 hot start polymerase. To limit the background of the GDH with the genetic handle, we first digested 500 ng intermediate library plasmids with BsaI-HFv2 (NEB) for one hour at 37◦C. After gel extraction, 80 ng of linearized vectors were recycled from 1.2 % agarose gel. The linear vectors were assembled with 23 ng LBD in a 20 µL reaction by Golden Gate assembly kit (BsaI-HFv2, from NEB) at 37 ◦C for one hour. The product was directly transformed into E. coli NEB-10 beta competent cells. Cells were grown in 5 mL LB with 50 µg/mL kanamycin shaking at 250 rpm, 37 ◦C, overnight.

2.1.5. Deep sequencing of GDH-LBD library.

Figure S2. Profile of LBD insertion along GDH. LBD was inserted after all the 454 amino acids of GDH. The green dashed line indicates the boundary of eight tiles.

2.2. Screening the GDH-LBD library

The probability that the library is complete. For statistical analysis1, the probability Pi that a particular sequence in the library occurs, i, is calculated as:

Pi=1-(1-Fi)T

Where T is the number of transformants or screen candidates; Fi is the product of the frequency that i is expected to be present considering the methods used to create the library and the frequency of “meaningful” library member, for example, the perfect colony capable of expressing targeting protein.

If the chance of occurrence for each member of the library is equal, the probability of each particular member being present in a library can be calculated as

Pc=i=1DPi

Where D is the degeneracy of a library (number of distinct sequences).

Here, we assume each of the 454 sequences has an equal chance of being picked (It is not true because of the bias of the library in Fig. S2). Given the perfect variants in the GDH-LBD library is 81.5% (Table S1), we must screen at least 7249 colonies to complete the entire GDH-LBD library (Pc > 99.9) according to the following calculation.

Pc=1-(1-Fi)TD

Pc=1-(1-145481.5%)T454

Figure S3. GDH activity assay reaction.

Figure S4. Evaluating the whole cell screen method. The GDH activity in the whole cell expressing wild-type GDH is plotted versus their well location in 96 plates.

Figure S5. Screen workflow, plate layout and sample data. Created with BioRender.com

Figure S6. Profile of allosteric values (change degree) for LBD inserted GDH variants. Values are shown in mean ± sem with independent biological experiments (n ≥ 3).

Figure S7. Mapping the alloteric sites in topology diagram of GDH secondary structure. showing the arrangement of the secondary structure elements of GDH. β-strands are shown as arrows, α-helices as rectangulars, and the calcium ions as circles.

3. Characterization of allosteric GDH-LBD

3.1 Protein amino acids (AA) sequence. Wild type-GDH, GDH-5E and GDH-5E+ were shown here. The black letters represent the GDH AA sequence, the green letters represent the LBD AA sequence, and the pink letters represent linkers AA sequence.

Wild-type GDH HHHHHHDVPLTPSQFAKAKSENFDKKVILSNLNKPHALLWGPDNQIWLTERATGKILRVNPESGSVKTVFQVPEIVNDADGQNGLLGFAFHPDFKNNPYIYISGTFKNPKSTDKELPNQTIIRRYTYNKSTDTLEKPVDLLAGLPSSKDHQSGRLVIGPDQKIYYTIGDQGRNQLAYLFLPNQAQHTPTQQELNGKDYHTYMGKVLRLNLDGSIPKDNPSFNGVVSHIYTLGHRNPQGLAFTPNGKLLQSEQGPNSDDEINLIVKGGNYGWPNVAGYKDDSGYAYANYSAAANKSIKDLAQNGVKVAAGVPVTKESEWTGKNFVPPLKTLYTVQDTYNYNDPTCGEMTYICWPTVAPSSAYVYKGGKKAITGWENTLLVPSLKRGVIFRIKLDPTYSTTYDDAVPMFKSNNRYRDVIASPDGNVLYVLTDTAGNVQKDDGSVTNTLENPGSLIKFTYKAK

GDH-5E

HHHHHHDVPLTSGKKNSLALSLTADQMVSALLDAEPPILYSEYDPTRPFSEASMMGLLTNLADRELVHMINWAKRVPGFVDLTLHDQVHLLECAWLEILMIGLVWRSMEHPGKLLFAPNLLLDRNQGKCVEGMVEIFDMLLATSSRFRMMNLQGEEFVCLKSIILLNSGVYTFLSSTLKSLEEKDHIHRVLDKITDTLIHLMAKAGLTLQQQHQRLAQLLLILSHIRHMSNKGMEHLYSMKCKNVVPLYDLLLEMLDAHRLHAPLSPSQFAKAKSENFDKKVILSNLNKPHALLWGPDNQIWLTERATGKILRVNPESGSVKTVFQVPEIVNDADGQNGLLGFAFHPDFKNNPYIYISGTFKNPKSTDKELPNQTIIRRYTYNKSTDTLEKPVDLLAGLPSSKDHQSGRLVIGPDQKIYYTIGDQGRNQLAYLFLPNQAQHTPTQQELNGKDYHTYMGKVLRLNLDGSIPKDNPSFNGVVSHIYTLGHRNPQGLAFTPNGKLLQSEQGPNSDDEINLIVKGGNYGWPNVAGYKDDSGYAYANYSAAANKSIKDLAQNGVKVAAGVPVTKESEWTGKNFVPPLKTLYTVQDTYNYNDPTCGEMTYICWPTVAPSSAYVYKGGKKAITGWENTLLVPSLKRGVIFRIKLDPTYSTTYDDAVPMFKSNNRYRDVIASPDGNVLYVLTDTAGNVQKDDGSVTNTLENPGSLIKFTYKAK

GDH-5E+

HHHHHHDVPLTSGKKNSLALSLTADQMVSALLDAEPPILYSEYDPTRPFSEASMMGLLTNLADRELVHMINWAKRVPGFVDLTLHDQVHLLECAWLEILMIGLVWRSMEHPGKLLFAPNLLLDRNQGKCVEGMVEIFDMLLATSSRFRMMNLQGEEFVCLKSIILLNSGVYTFLSSTLKSLEEKDHIHRVLDKITDTLIHLMAKAGLTLQQQHQRLAQLLLILSHIRHMSNKGMEHLYSMKCKNVVPLYDLLLEMLDAHRLHAPLSPSQFAKAKSENFDKKVILSNLNKPHALLWGPDNQIWLTERATGKILRVNPESGSVKTVFQVPEIVNDADGQNGLLGFAFHPDFKNNPYIYISGTFKNPKSGRPGSLSSTDKELPNQTIIRRYTYNKSTDTLEKPVDLLAGLPSSKDHQSGRLVIGPDQKIYYTIGDQGRNQLAYLFLPNQAQHTPTQQELNGKDYHTYMGKVLRLNLDGSIPKDNPSFNGVVSHIYTLGHRNPQGLAFTPNGKLLQSEQGPNSDDEINLIVKGGNYGWPNVAGYKDDSGYAYANYSAAANKSIKDLAQNGVKVAAGVPVTKESEWTGKNFV

PPLKTLYTVQDTYNYNDPTCGEMTYICWPTVAPSSAYVYKGGKKAITGWENTLLVPSLKRGVIFRIKLDPTYSTTYDDAVPMFKSNNRYRDVIASPDGNVLYVLTDTAGNVQKDDGSVTNTLENPGSLIKFTYKAK

Figure S8. SDS–PAGE analysis of proteins. Each line contains ~1 μg protein sample.

3.2 UV–vis. Protein absorption spectra were taken in 50 mM potassium phosphate buffer, pH 7.0, with 10 nmol/mL protein. Compared with holo GDH, the PQQ absorption peak blue-shifted to 330 nm in holo GDH-5E (Fig. S9). After adding 5 mM glucose, this peak barely shifts (Fig.S10). In contrast, glucose reduction caused a sharp peak at 338 nm, which aligned well with the previous report.2 Adding 4-HT (1 µM) didn’t shift the PQQ peak, which indicated that the 4-HT does not affect the redox potential of GDH-5E.

Figure S9. Absorption spectra of GDH and GDH-5E. 10 nmol protein was dissoved in 1 mL 50 mM potassium phosphate buffer, pH 7.0 in cuvette.

Figure S10. Absorption spectra of GDH-5E with glucose and 4-HT. 10 nmol protein was dissolved in 1 mL 50 mM potassium phosphate buffer, pH 7.0, in a cuvette. (a) GDH-5E sequentially added glucose, then 4-HT. (b) GDH-5E sequentially added 4-HT, then glucose. Control experiments were prepared with GDH (c) and apo GDH-5E (d).

3.3 Protein activity.

We characterized the proteins’ activities with various glucose concentrations, ranging from 0 mM to 80 mM, and fitted them into the Michaelis–Menten kinetics curves (Fig. S11). The fitted Km and Vm were summarized in Table S2.

Figture S11. Michaelis–Menten curves with GDH-5E+, GDH-5E and GDH.

Table S2. Summary of MMK

3.4 Allosteric effect. According to LBD crystal structure, LBD’s ligand-dependent conformational change is mainly mediated by helix 12 (orange colored). When LBD harbors ES (17β-estradiol), the N-C termini distance is ~33 Å. While 4-HT binding moves the helix 12 away from the binding pocket, resulting in a shorter termini distance of ~23 Å (Fig. S12).

Figure S12. Crystal structure of LBD with ES or 4-HT. ER-LBD with ES (PDB: 1ERE); ER-LBD with 4-HT (PDB: 3ERT). The chemical structure of ES and 4-HT were also shown.

Figure S13. 4-HT allosteric effect on GDH-LBD. The reaction were performed with 10 ng GDH (a), GDH-5E (b) or GDH-5E+ (c) in 200 μL solution with DCPIP, PMS and glucose in 10 mM MOPS , pH 7. Values are shown in mean ± sem with independent biological experiments (n = 3).

3.5 Protein stability. The protein stability was evaluated by comparing the remaining activity after being stored at – 80 ◦C for three months. The protein was thawed on ice and tested for protein activity.

Figure S14. The remaining activity of GDH-LBD.

4. Creating a 4-HT amperometric sensor with GDH-5E+

4.1 Effect of 4-HT

The proposed working model was that LBD undergoes a conformational change following 4-HT binding. The resulted structure had a lower glucose oxidation capacity. To validate this hypothesis, we first added 10 nM 4-HT into electrolytes. Electrodes were soaked in electrolyte for 3 minutes prior we sequentially spiked glucose (Fig. S15a). Compared to the electrodes with ES, the electrodes in the 4-HT containing system showed ~ 22 % decreased current at each glucose spiking. Although we observed the current difference at initial injections, significant differences were achieved when glucose ≥150 μM. Further increasing the 4-HT concentration to 12.5 μM, we observed similar electrochemical current repression from 4-HT. This result aligned with the previous assay results in Figure 3B that the GDH-5E+ lacks dynamic range for 4-HT concentration.

Figure S15. Amperometric i–t curves of GDH-5E+. Electrodes were pre-soaked in 100 mM MOPS electrolytes containing 4-HT or ES. Experiments were performed by adding glucose stepwise at an applied potential of 300 mV vs SCE. Values are shown in mean ± sem with independent biological experiments (n = 3). * represents P < 0.05, ** represents P < 0.01, two-tailed t-test analysis.

4.2 Electrochemistry with human blood sample.

CVs were performed with AvCarb electrodes coated with GDH-5E+/Fc–LPEI. After adding 200 μL whole blood to 5 mL MOPS buffer (100 mM, pH 7.0) under stationary condition, we observed oxidative current appearing on GDH-5E+ electrodes (Fig. S16a). This oxidative response was less

apparent than on the glassy carbon electrodes because of the high capacity natural of the AvCarb. The blank control electrodes were prepared by immobilizing bovine serum albumin (BSA, 20 mg/mL) with Fc–LPEI. The current decreased after adding blood (Fig. S16b), which might result from the conductivity decline caused by blood cells precitipated on electrode.

In amperometry, we stirred the solution vigours (1100 rpm) to mix blood samples into electrolytes quickly. At the applied potential of 300 mV vs SCE, the GDH-5E+ showed a stepwise current increase after each spiking of blood (Fig. S16c), while that BSA electrode had no response to the blood (Fig. S16d). These controls claimed that although whole human blood contains complex species, our electrochemical system is specific to glucose.

Figure S16. Electrochemistry of GDH-5E+ with whole human blood. CV of GDH-5E+ (a) and BSA (b) with scan rate of 10 mV/s in a stationary solution. Amperometric i–t of GDH-5E+ (c) and BSA (d) with an applied potential of 544 mV vs. SHE with stirring. 100 mM MOPS buffer.

5. Creating a self-powered sensor

5.1 Laccase cathode

CVs of laccase biocathodes were performed in 200 mM citrate–phosphate buffer (pH 4.5) at 10 mV/s, showing in Fig. S17. These catalytic currents under O2 or air reflect the turnover of the copper centers in the laccase.3 During O2 reduction, the electrode supplies electrons to cycle the copper redox states in the laccase. Anthracene served as a docking site for the copper redox center, enabling electrons to directly transfer between the electrode and the laccase.4 The responses under N2 lack catalytic signals for O2 reduction, showing only the background capacitive charging current with laccase redox center ~725 mV vs SHE.

Figure S17. Representative CV of laccase biocathodes. Recorded in 200 mM citrate–phosphate buffer (pH 4.5) with 10 mV/s scan rate. Blank were performed under N2.

5.2 Glucose/O2 enzymatic fuel cell (EFC)

Figure S18. A photo of the glucose/O2 EFC with blood sample in the anodic chamber.

We first evaluated the fuel cells' open circuit potential (OCP). The initial OCP was 480 mV without either glucose or oxygen. Following flush O2 (1 atm) to the cathodic electrolytes, the OCP increased to 540 mV. The maximum OCP of 680 mV was obtained after adding 20 mM glucose to the anodic electrolytes (Fig. S19a).

EFCs were further evaluated by performing the linear sweep voltammetry (5 mV/s) from OPC until the short circuit, having O2 bubbled in the cathodic chamber. Representative polarization and power curves are shown in Fig. S19b. After fueling 20 mM glucose to the anodic chamber, the maximum current densities (Jmax) of EFC reached ~ 217 μA /cm2, and the maximum power densities (Pmax) were calculated as 37 μW/cm2. Additional control was performed without glucose.

Figure S19. Evolution of the glucose/O2 EFC made with GDH-5E+. (a) OCP evaultion. (b) Polarization and power curves of the glucose/O2 EFC, performed linear sweep voltammetry (5 mV/s) from OPC until short circuit.

5.3 A self-powered 4-HT sensor

The capacity of EFC to sense 4-HT was explored by comparing the fuel cell parameters with or without 4-HT addition. We performed the linear polarization with 40 μL of 10 mM glucose comprising 1 % (v/v) 4-HT (10 μM, in DMSO). The resulting fuel cell showed Jmax of 45 ± 2 μA /cm2 and Pmax of 9.5 ± 0.5 μW/cm2, statistically lower than the EFC performing with ES (Fig. S20)

Figure S20. Representative polarization and power curves of the glucose/O2 EFC with 0.1 mM glucose and 0.1 μM ligands. Performed linear sweep voltammetry (5 mV/s) from OPC until short circuit. Data are collected from independent biological experiments (n = 3).* represents P < 0.05, ** represents P < 0.01, two-tailed t-test analysis.

Figure S21. OCP of glucose/O2 EFC fueled with 200 μLblood containing 100 μM ligands. Values are shown in mean ± sd; two-tailed t-test (n =3).

6. Coupling EFCs with OECT

6.1 Transfer characteristic of OECT. The OECT devices, under the common-source configuration, were tested using custom-made MATLAB software, which controls the source measure unites (SMU, Keithley 2612). Output and transfer curves of the devices were recorded before connecting the OECT to the EFC. Transfer characteristics (Fig. S22) of the OECT were measured in PBS electrolyte until three subsequent transfer curve sweeps had less than 1 % deviation compared to the preceding transfer curve. Upon reaching stable operation, the gate electrode was connected to the cathode of EFC.

Figure S22. Transfer characteristic of OECT. Transfer curve (black) measured by setting source-drain voltage of -600 mV while sweeping gate voltage from -600 mV to 600 mV. Transconductance (Gm) was obtained by taking derivative of the transfer curve.

6.2. OECT coupling with the self-powered sensor. We connected source measure meter (SMU) to power the source-drain channel as shown in Figure S23. The OECT was held at a constant Vsd of – 600 mV while monitoring the Isd. We let the current stabilize for 50 seconds before connecting the cathode to the gate of OECT. After Isd reached a steady state, 40 μL of 2 M glucose comprising 1 % (v/v) 4-HT (10 μM, in DMSO) was added to the anodic chamber. The current was constantly monitored, allowing sufficient time to stable before disconnecting from EFC. Meanwhile, EFC’s OCP change was also recorded by a potentiostat (Fig. S24).

Figure S23. A photo of the OECT coupling with EFC through the gate.

Figure S24. OCP of glucose/O2 EFC before and after connecting with the gate. (a) OCP change for 15 min. (b) Zoomed OCP values within the connection time.

Figure S25. A typical Isd vs. time response to glucose. OECT was held at a constant Vsd of – 600 mV. 1 M glucose solution was spiked to the anodic chamber over time. The values shown in graph indictaed the final concentration of glucose in anodic chamber.

6.3 EFCs fully powered OECT.

6.3.1 EFC powering channel. Two EFCs were used to power the gate and source drain of OECT (Fig. S26), respectively. We initialized use EFC with GDH-5E as the anodic catalyst because this EFC only needs to fulfill the role as a power source, and GDH-5E showed higher stability than GDH. Once connecting this EFC to the channel, the OCP dropped to 0 mV (Fig. S27). It indicated that the electrons flowed almost unimpeded through the channel because of the low resistance of channel materials. Also, this EFC showed excellent stability over multiple tests. Therefore we used the same EFC to power the channel for all the following tests.

Figure. S26. The equivalent electronic circuit for semi-powered OECT.

Fig. S27. OCP for the EFC powering the channel. EFC with GDH-5E as the anodic catalyst was fueled with 80 mM glucose. The cathode connected to the drain while the source and anode were grounded. Five tests were performed with different connection duration. In the second test, a 42 k Ω resistor was connected to the channel in series.

EFC (with GDH-5E) powered the OECT channel leading an Isd of -25 μA, significantly smaller than the SMU of  -11 mA. Connecting the sensing EFC, made of GDH-5E+, to the gate further decreased the current to -29 μA, which was -4 mA with SMU. Although the current in the channel was super low, the OECT channel had entirely been powered by EFCs (Fig. S28).

Figure. S28. Real-time response of the OECT while coupling with EFCs. The source and drain were powered by EFC with GDH-5E  as the anodic catalyst, comprising 80 mM glucose. The gate connected EFC with GDH-5E+ without glucose added to the chamber.

6.3.2. Sensing 4-HT. 40 μL of 2 M glucose with 1 % (v/v) 4-HT (100 μM, in DMSO) was added to the anodic chamber of EFC (GDH-5E+ as catalysts), whose cathode was connecting with the gate. We did not observe reliable signals to differentiate glucose with DMSO or 4-HT (Fig. S29). We rationalize that the low current in the channel causes a significant loss of amplification. More research is undergoing to solve this problem.

Figure. S29. OECT response to glucose with 4-HT or DMSO. The source-drain was powered by EFC with GDH-5E as the anodic catalyst, comprising 20 mM glucose. The gate connected to EFC with GDH-5E+.

Reference

1.	Bosley, A.D. & Ostermeier, M. Mathematical expressions useful in the construction, description and evaluation of protein libraries. Biomolecular engineering 22, 57-61 (2005).

2.	Olsthoorn, A.J. & Duine, J.A. Production, Characterization, and Reconstitution of Recombinant Quinoprotein Glucose Dehydrogenase (Soluble Type; EC 1.1. 99.17) Apoenzyme ofAcinetobacter calcoaceticus. Archives of biochemistry and biophysics 336, 42-48 (1996).

3.	Hickey, D.P. et al. Pyrene Hydrogel for Promoting Direct Bioelectrochemistry: ATP-Independent Electroenzymatic Reduction of N2. Chemical Science (2018).

4.	Meredith, M.T. et al. Anthracene-modified multi-walled carbon nanotubes as direct electron transfer scaffolds for enzymatic oxygen reduction. Acs Catalysis 1, 1683-1690 (2011).