# Appendix 1: ANALYTICAL METHODS

All analyses reported in this paper were performed at the State Key Laboratory of Continental Dynamics, Northwest University, China.

Electron microprobe

Major element composition of rock-forming minerals was determined using an electron microprobe (JXA-8230). The operating conditions included an acceleration voltage of 15 kV, a beam current of 10 nA, and a beam diameter of 1 μm. Natural and synthetic microprobe standards were supplied by SPI, including jadeite for Si, Al, and Na, diopside for Ca, olivine for Mg, sanidine for K, hematite for Fe, rhodonite for Mn, and rutile for Ti. The analytical uncertainties for these major elements are generally less than 2%.

Bulk major and trace elements

For bulk major- and trace-element analysis, fresh chips of whole rock samples were powdered to 200 meshes using a tungsten carbide ball mill. Major and trace elements were analysed using XRF (Rikagu RIX 2100) and ICP–MS (Agilent 7500a), respectively. Analyses of USGS and Chinese national rock standards (BCR-2, GSR-1, and GSR-3) indicate that both analytical precision and accuracy for major elements are generally better than 5%. For trace element analysis, sample powders were digested using an HF+HNO3 mixture in high-pressure Teflon bombs at 190C for 48 hours, following the method of Liu et al (2007). Analytical accuracy is better than 10% for most of the trace elements.

Zircon U-Pb dating and Lu-Hf isotope

Zircon grains were separated using conventional heavy-liquid and magnetic separation techniques. Representative zircon grains were handpicked and mounted in epoxy resin discs, then polished and carbon coated. Prior to U–Pb and Lu–Hf isotopic analyses, these grains were examined using cathodoluminescence (CL) imaging. Laser ablation ICP–MS zircon U–Pb analyses were conducted on an Agilent 7500a ICP–MS equipped with a 193 nm laser, following the method of Yuan et al (2008). The standard silicate glass NIST 610 was used to optimize the instrument to obtain the maximum signal intensity (238U signal intensity of >2000 cps/g g−1 at a beam diameter of 30 μm and a laser frequency of 6 Hz) and low oxide production (ThO/Th<1%). The ion signal intensity ratio measured for both 238U and 232Th (NIST SRM 610) (238U and 232Th≈1) was used as an indicator of complete vaporization (Günther and Hattendorf, 2005). 207Pb/206Pb and 206Pb/238U ratios were calculated using GLITTER software, which was corrected using the Harvard zircon 91500 (Wiedenbeck et al., 1995) as external calibrant. These correction factors were then applied to each sample to correct for both instrumental mass bias and depth-dependent elemental and isotopic fractionation. Concentrations of U, Th, Pb, and trace elements were calibrated by using 29Si as an internal standard and NIST SRM 610 as an external standard. The two standard zircons 91500 and GJ-1 yielded weighted mean 206Pb/238U ages of 1064.2 ± 3.1 Ma (n = 14, 2σ) and 603.1 ± 3.4 Ma (n = 12, 2σ), respectively, which are in good agreement with the recommended ID-TIMS ages (Wiedenbeck et al., 1995). The detailed analytical technique is described in Yuan et al (2008). Common Pb contents were evaluated according to the method of Andersen (2002). Plotting and age calculations were done using ISOPLOT v.3.0 (Ludwig, 2003).

In situ zircon Hf isotopic analyses were conducted using a Nu Plasma HR multi-collector mass spectrometer, equipped with a 193 nm laser ablation sampling system. During analyses, a laser with a spot size of 44 μm and a repetition rate of 10 Hz at 100 mJ was used. The 176Yb/172Yb value of 0.5887 and mean βYb value obtained during Hf analysis on the same spot were applied for the interference correction of 176Yb on 176Hf (Iizuka et al., 2017). The detailed analytical technique is described in Yuan et al. (2008). During analyses, 176Hf/177Hf and 176Lu/177Hf ratios of the standard zircon (91500) were 0.282294 ± 15 (2σ, n = 20) and 0.00031, similar with the commonly accepted 176Hf/177Hf ratios of 0.282302 ± 8 and 0.282306 ± 8 (2σ) measured using the solution method (Goolaerts et al., 2004). The notations of εHf(t) value, fLu/Hf, single-stage model age (TDM1) and two-stage model age (TDM2) are defined as in Yuan et al (2008).

References:

Andersen, T., 2002, Correction of common lead in U–Pb analyses that do not report 204Pb: Chemical Geology, v. 192, no. 1-2, p.59-79. https://doi.org/10.1016/S0009-2541(02)00195-X.

Goolaerts, A., Mattielli, N., de Jong, J., Weis, D., Scoates, J.S., 2004, Hf and Lu isotopic reference values for the zircon standard 91500 by MC-ICP-MS: Chemical Geology, 206, 1-9. https://doi.org/10.1016/j.chemgeo.2004.01.008.

Günther, D., Hattendorf, B., 2005, Solid sample analysis using laser ablation inductively coupled plasma mass spectrometry: TrAC Trends in Analytical Chemistry, 24, 255-265. https://doi.org/10.1016/j.trac.2004.11.017.

Iizuka, T., Yamaguchi, T., Itano, K., Hibiya, Y., Suzuki, K., 2017, What Hf isotopes in zircon tell us about crust–mantle evolution: Lithos, 274-275, 304-327. https://doi.org/10.1016/j.lithos.2017.01.006.

Liu, Y., Liu, X. M., Hu, Z. C., Diwu, C. R., Yuan, H. L., Gao, S., 2007, Evaluation of accuracy and long-term stability of determination of 37 trace elements in geological samples by ICP-MS: Acta Petrologica Sinica, 23, 1203-1210. https://doi.org/10.3321/j.issn:1000-0569.2007.05.034.

Ludwig, K. R., 2003, ISOPLOT 3.0: a geochronological toolkit for microsoft excel, Berkeley Geochronology Center: Special publication, no. 4.

Wiedenbeck, M., AllÉ, P., Corfu, F., Griffin, W.L., Meier, M., Oberli, F., Quadt, A.V., Roddick, J.C., Spiegel, W., 1995, Three Natural Zircon Standards For U-Th-Pb, Lu-Hf, Trace Element and REE Analyses: Geostandards Newsletter, 19, 1-23. https://doi.org/10.1111/j.1751-908x.1995.tb00147.x.

Yuan, H. L., Gao, S., Dai, M. N., Zong, C. L., Günther, D., Fontaine, G.H., Liu, X. M., Diwu, C. R., 2008, Simultaneous determinations of U–Pb age, Hf isotopes and trace element compositions of zircon by excimer laser-ablation quadrupole and multiple-collector ICP-MS: Chemical Geology, 247, 100-118. https://doi.org/10.1016/j.chemgeo.2007.10.003.