Supporting information for

Development and optimization of HPLC-MS method for simultaneous determination of four terpene trilactones in Ginkgo biloba leaf extracts based on Quality by Design principles

Sijie Zhang, Linlin Wu, Xiaoping Wang, Xingchu Gong, Haibin Qu*

Pharmaceutical Informatics Institute, College of Pharmaceutical Sciences, Zhejiang University, No. 866 Yuhangtang Road, Xihu District, Hangzhou 310058, China

* Corresponding author: Prof. Haibin Qu (quhb@zju.edu.cn). Tel.: +86 571 88208428; fax: +86 571 88208428. Pharmaceutical Informatics Institute, College of Pharmaceutical Sciences, Zhejiang University, Hangzhou 310058, China.

| Table S1 Optimization of fragmentor voltages for each compound |  |  |  |  |
| --- | --- | --- | --- | --- |
| fragmentor voltages (eV) | Selected ion peaks area |  |  |  |
|  | BB (325) | GC (439) | GA (453) | GB (423) |
| 50 | 5694616 | 1030077 | 861932.8 | 906667.9 |
| 70 | 6442074 | 1105742 | 926023.4 | 979345.2 |
| 80 | 6581163 | 1113190 | 933339.9 | 992022.3 |
| 100 | 6457521 | 1156857 | 833756.1 | 914632.9 |
| 120 | 5754935 | 1132912 | 800535.7 | 894220.6 |
| 140 | 5203386 | 1045784 | 748086.6 | 943448.8 |
| 150 | 4481544 | 973749.3 | 631929.3 | 840440.9 |

| Table S2 Results of the parameter optimization in sample processing |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Parameters |  | BB peak area | GC peak area | GA peak area | GB peak area |
| Extraction time (min) | 2 | 2924674.3 | 922896.1 | 1450723.9 | 1101522.4 |
|  | 5 | 2959008.5 | 930341.2 | 1465560.6 | 1097746.8 |
|  | 10 | 2690823.5 | 850878.1 | 1330186.5 | 1025640.6 |
| Methanol concentration (%) | 50 | 3525757.3 | 1401893 | 1848098.6 | 1405034.4 |
|  | 80 | 3046476.8 | 1210350.6 | 1649250.4 | 1252754.5 |
|  | 100 | 2990610.5 | 1200009.9 | 1621411.6 | 1220797.0 |

| Table S3 Terpene trilactones contents in EGBL from different manufacturers |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Samples | BB content (%) | GC content (%) | GA content (%) | GB content (%) | Total content (%) |
| K160207 | 4.07 | 0.95 | 1.70 | 1.03 | 7.75 |
| K160916 | 2.34 | 0.92 | 1.74 | 1.07 | 6.08 |
| K170108 | 3.61 | 1.00 | 2.16 | 1.31 | 8.09 |
| K170414 | 4.16 | 1.08 | 1.95 | 0.95 | 8.14 |
| K170415 | 3.87 | 1.08 | 2.03 | 0.99 | 7.97 |
| K170416 | 3.87 | 0.91 | 1.74 | 0.85 | 7.37 |
| K170417 | 3.77 | 1.08 | 1.95 | 1.03 | 7.82 |
| K170413 | 4.10 | 1.18 | 2.20 | 1.07 | 8.54 |
| K170608 | 3.27 | 1.04 | 2.04 | 1.12 | 7.47 |
| K171005 | 3.28 | 1.27 | 2.06 | 1.27 | 7.87 |
| K171006 | 3.33 | 1.22 | 2.04 | 1.20 | 7.79 |
| K171008 | 3.32 | 1.26 | 2.08 | 1.26 | 7.91 |
| K171013 | 3.14 | 1.16 | 1.88 | 1.16 | 7.34 |
| K171021 | 3.89 | 1.26 | 2.14 | 1.23 | 8.52 |
| K171102 | 3.51 | 1.23 | 2.01 | 1.19 | 7.94 |
| K171103 | 3.37 | 1.25 | 2.05 | 1.23 | 7.89 |
| K171104 | 3.30 | 1.18 | 1.92 | 1.14 | 7.55 |
| K171105 | 3.45 | 1.30 | 2.09 | 1.27 | 8.11 |
| K171107 | 2.81 | 1.21 | 2.03 | 1.25 | 7.31 |
| K180102 | 2.95 | 1.11 | 1.99 | 1.28 | 7.33 |
| K180103 | 2.98 | 1.20 | 1.99 | 1.23 | 7.40 |
| K180104 | 3.47 | 1.32 | 2.26 | 1.34 | 8.39 |
| K180106 | 3.18 | 1.14 | 2.02 | 1.20 | 7.55 |
| K180114 | 2.95 | 1.19 | 2.03 | 1.22 | 7.39 |
| B20161008 | 4.09 | 1.78 | 3.58 | 2.12 | 11.56 |
| B20161105 | 4.14 | 1.74 | 3.20 | 1.69 | 10.77 |
| B20161106 | 4.29 | 1.79 | 3.40 | 1.91 | 11.39 |
| B2016120 | 3.54 | 1.41 | 2.73 | 1.63 | 9.31 |
| BA20170107 | 4.68 | 1.60 | 3.13 | 1.86 | 11.27 |
| BA20170501 | 3.00 | 1.15 | 2.27 | 1.36 | 7.78 |
| BA20170504 | 3.89 | 1.60 | 3.12 | 1.70 | 10.32 |
| D1701003 | 3.20 | 1.04 | 1.66 | 1.01 | 6.91 |
| D1701004 | 2.95 | 0.98 | 1.56 | 0.96 | 6.45 |
| D1701005 | 3.49 | 1.17 | 1.86 | 1.12 | 7.65 |
| D1705001 | 3.00 | 1.02 | 1.67 | 1.06 | 6.75 |
| Dxs170904 | 3.27 | 1.17 | 2.04 | 1.42 | 7.90 |
| Dxs170903 | 2.86 | 1.14 | 2.91 | 1.56 | 8.47 |
| Dxs170905 | 3.05 | 1.18 | 2.98 | 1.54 | 8.75 |
| Dxs171001 | 2.92 | 1.01 | 1.85 | 0.92 | 6.70 |
| D1705002 | 3.82 | 1.13 | 1.90 | 1.15 | 7.99 |
| D1705003 | 4.01 | 1.19 | 1.94 | 1.13 | 8.27 |
| Dxs170901 | 4.27 | 1.11 | 1.89 | 1.02 | 8.29 |
| Dxs170902 | 3.04 | 0.81 | 1.49 | 0.91 | 6.25 |
| Dxs170801 | 3.89 | 1.03 | 1.90 | 1.12 | 7.93 |
| D1610006 | 3.40 | 0.88 | 2.20 | 1.32 | 7.81 |

Fig. S1 Contour plot of the BB response in EGBL solution. (a) The proportion of formic acid in the mobile phase = 0.05%; gas flow rate = 10 L/min; (b) The proportion of formic acid in the mobile phase = 0.05%; flow rate of mobile phase = 0.5 mL/min

Fig. S2 Contour plot of the GC response in EGBL solution. (a) The proportion of formic acid in the mobile phase = 0.05%; gas temperature = 325 °C; (b) The proportion of formic acid in the mobile phase = 0.05%; flow rate of mobile phase = 0.5 mL/min.

Fig. S3 Contour plot of the GA response in EGBL solution. (a) The proportion of formic acid in the mobile phase = 0.05%; gas temperature = 325 °C; (b) The proportion of formic acid in the mobile phase = 0.05%; flow rate of mobile phase = 0.5 mL/min

Fig. S4 Contour plot of the GB response in EGBL solution. (a) The proportion of formic acid in the mobile phase = 0.05%; gas temperature = 325 °C; (b) The proportion of formic acid in the mobile phase = 0.05%; flow rate of mobile phase = 0.5 mL/min

Fig.S5 Terpene trilactones contents in EGBL from different manufacturers