Table 1. Imaging element parameters

| Focusing platform Size Weight Power Supply Working distance Optical path system Visible light source power Central wavelength of visible light source NIR excited light source power Central wavelength of NIR excited light V-interface line scanning fixed focus lens Aluminum dark box Dichroic mirror Filter Camera | 35 cm L × 30 cm W × 100 cm H 15 Kg 220 V AC, rated voltage 250 V, maximum current 10 A. 5-15 cm (Distance between near-infrared excitation light source and experimental platform) 55.8 ± 1.8 cm (Distance between the fixed focus lens and the experimental platform) 9 W LED 450 ± 10 nm 2×30 W LED 750 ± 10 nm ELS-100/5.6 V resolution: 40 IP/mm focal length: 100 mm magnification: 0.17 × weight: 106.5 g 60mm L × 52 mm W × 52 mm H transmission＞780 nm reflection＜750 nm 770 - 1000 nm ± 10 nm (near-infrared light) 400 - 700 nm ± 10 nm (visible light) BIGEYE10000KPA sensor: 10.3M/IMX294 pixel: 4.63 μm × 4.63 μm resolution: 1360 × 720 exposure time: 0.1 ms~15 s |
| --- | --- |