Supplementary Materials for the article “Changes in serum oxylipin profile after one anastomosis gastric bypass” by Pakiet et al.

Contents:

Supplementary Table S1. Oxylipin nomenclature and fatty acid of origin.

Supplementary Table S2. Metabolic characteristics of study patients.

Supplementary Table S3. MS working parameters in MRM mode.

Supplementary Table S4. LC-MS/MS instrument parameters.

Supplementary Table S5. Results of quantification of oxylipins in serum of bariatric patients.

Supplementary Figure S1. Skeletal formulas of analytes.

Supplementary Figure S2. Chromatograms of oxylipins obtained in MRM mode

Supplementary Figure S3. Relative peak intensities of oxylipin standards depending on phase B composition.

Supplementary Figure S4. Relative peak intensities of oxylipin standards injected in different solvent compositions.

Supplementary Figure S5. Recovery of deuterated internal standards (IS) used for quantification of oxylipins.

Supplementary Figure S6. Variables plots corresponding to PCA projections given in the main article.

Supplementary Figure S7. Discriminant analysis of bariatric patients before (pre-OAGB), 2 weeks after (FU1) and 6-9 months after (FU2) OAGB surgery, based on oxylipins concentrations.

Supplementary Table S1. Oxylipin nomenclature and fatty acid of origin.

| Abbreviation | Cat. no. | Origin | Common name | IUPAC name |
| --- | --- | --- | --- | --- |
| 12-HETE-d8 | 334570 |  | (±)15-HETE-d8 | (5Z,8Z,10E,12S,14Z)-12-hydroxy-5,8,10,14-icosatetraenoic-5,6,8,9,11,12,14,15-d8 acid |
| 12-HETE | sc-200942 | ARA | 12(S)-HETE | (5Z,8Z,10E,12S,14Z)-12-hydroxy-5,8,10,14-icosatetraenoic acid |
| 20-HETE | sc-205102 | ARA | 20-HETE | (5Z,8Z,11Z,14Z)-20-hydroxy-5,8,11,14-icosatetraenoic acid |
| 14(15)-DiHET-d11 | 10008040 |  | (±)14(15)-DiHET-d11 | (5Z,8Z,11Z)-14,15-dihydroxy-5,8,11-icosatrienoic-16,16,17,17,18,18,19,19,20,20,20-d11 acid |
| PDX | 10008128 | DHA | protectin DX / 10(S),17(S)-DiHDHA | (4Z,7Z,10S,11E,13Z,15E,17S,19Z)-10,17-dihydroxy-4,7,11,13,15,19-docosahexaenoic acid |
| RvD1 | sc-204877 | DHA | resolvin D1 | (4Z,7S,8R,9E,11E,13Z,15E,17S,19Z)-7,8,17-trihydroxy-4,9,11,13,15,19-docosahexaenoic acid |
| RvD2 | sc-351847 | DHA | resolvin D2 | (4Z,7S,8E,10Z,12E,14E,16R,17S,19Z)-7,16,17-trihydroxy-4,8,10,12,14,19-docosahexaenoic acid |
| 5-HETE-d8 | 334230 |  | 5(S)-HETE-d8 | (6Z,8Z,11Z,14Z)-5S-hydroxy-6,8,11,14-icosatetraenoic-5,6,8,9,11,12,14,15-d8 acid |
| 15-HETE | sc-205023 | ARA | (±)15-HETE | (5Z,8Z,11Z,13E)-15-hydroxy-5,8,11,13-icosatetraenoic acid |
| 5-HETE | sc-205136 | ARA | (±)5-HETE | (6E,8Z,11Z,14Z)-5-hydroxy-6,8,11,14-icosatetraenoic acid |
| LXA4 | sc-201060 | ARA | 5(S),6(R)-lipoxin A4 | (5S,6R,7E,9E,11Z,13E,15S)-5,6,15-trihydroxy-7,9,11,13-icosatetraenoic acid |
| LXB4 | sc-205151 | ARA | lipoxin B4 | (5S,6E,8Z,10E,12E,14R,15S)-5,14,15-trihydroxy-6,8,10,12-icosatetraenoic acid |
| 8-iso-PGF2α-d4 | 316350 |  | 8-epi PGF2α-d4 | (5Z,8β,9α,11α,13E,15S)-9,11,15-trihydroxyprosta-5,13-dien-1-oic-3,3,4,4-d4 acid |
| 15d-PGJ2 | sc-201262 | ARA | 15-deoxy-Δ12,14-PGJ2 | (5Z,12E,14E)-11-oxoprosta-5,9,12,14-tetraen-1-oic acid |
| 2,3-dinor-8-iso-PGF2α | sc-205096 | ARA | 2,3-dinor-8-iso-PGF2α | (3Z)-5-{(1S,2R,3R,5S)-3,5-dihydroxy-2-[(1E,3R)-3-hydroxy-1-octen-1-yl]cyclopentyl}-3-pentenoic acid |
| 8-epi-PGF2α | sc-201261 | ARA | 8-iso prostaglandin F2α | (5Z,8β,9α,11α,13E,15S)-9,11,15-trihydroxyprosta-5,13-dien-1-oic acid |
| PGD2 | sc-201221 | ARA | prostaglandin D2 | (5Z,9α,13E,15S)-9,15-dihydroxy-11-oxoprosta-5,13-dien-1-oic acid |
| PGD3 | sc-205449 | EPA | prostaglandin D3 | (5Z,9α,13E,15S,17Z)-9,15-dihydroxy-11-oxoprosta-5,13,17-trien-1-oic acid |
| PGE2 | sc-201225 | ARA | prostaglandin E2 | (5Z,11α,13E,15S)-11,15-dihydroxy-9-oxoprosta-5,13-dien-1-oic acid |

Supplementary Table S1. Cont. Oxylipin nomenclature and fatty acid of origin.

| Abbreviation | Cat. no. | Origin | Common name | IUPAC name |
| --- | --- | --- | --- | --- |
| 8-iso-PGF2α-d4: |  |  |  |  |
| PGF2α | sc-201227 | ARA | prostaglandin F2α | (5Z,8β,9β,11β,12α,13E,15S)-9,11,15-trihydroxyprosta-5,13-dien-1-oic acid |
| TXB2 | sc-201452 | ARA | thromboxane B2 | (5Z,9β,13E,15S)-9,11,15-trihydroxythromboxa-5,13-dien-1-oic acid |
| 9-HODE-d4 | 338410 |  | 9(S)-HODE-d4 | (10E,12Z)-9S-hydroxy-10,12-octadecadienoic-9,10,12,13-d4 acid |
| 12-HHT | sc-200969 | ARA | 12(S)-HHT / 12(S)-HHTrE | (5Z,8E,10E,12S)-12-hydroxy-5,8,10-heptadecatrienoic acid |
| 13-HODE | sc-204991 | LA | (±)13-HODE | (9E,11E)-13-hydroxy-9,11-octadecadienoic acid |
| 15-HETrE | sc-205043 | DGLA | 15(S)-HETrE | (8Z,11Z,13E,15S)-15-hydroxy-8,11,13-icosatrienoic acid |
| 9(10)-EpOME | sc-221169 | LA | (±)9(10)EpOME | 8-{3-[(2Z)-2-octen-1-yl]-2-oxiranyl}octanoic acid |
| 9-HODE | sc-205184 | LA | (±)9-HODE | (10E,12Z)-9-hydroxy-10,12-octadecadienoic acid |
| LTB4-d4 | 320110 |  | leukotriene B4-d4 | (5S,6Z,8E,10E,12R,14Z)-5,12-dihydroxy-6,8,10,14-icosatetraenoic-6,7,14,15-d4 acid |
| LTB4 | sc-201043 | ARA | leukotriene B4 | (5S,6Z,8E,10E,12R,14Z)-5,12-dihydroxy-6,8,10,14-icosatetraenoic acid |
| RvE1-d4 | 10009854 |  | resolvin E1-d4 | (5S,6Z,8E,10E,12R,14Z,16E,18R)-5,12,18-trihydroxy-6,8,10,14,16-icosapentaenoic-6,7,14,15-d4 acid |
| 18-HEPE | sc-205067 | EPA | (±)18-HEPE | (5Z,8Z,11Z,14Z,16E)-18-hydroxy-5,8,11,14,16-icosapentaenoic acid |
| 7S-Mar1 | sc-358748 | DHA | 7-epi maresin 1 | (4Z,7S,8E,10E,12Z,14S,16Z,19Z)-7,14-dihydroxy-4,8,10,12,16,19-docosahexaenoic acid |
| Mar1 | 10878 | DHA | maresin 1 | (4Z,7R,8E,10E,12Z,14S,16Z,19Z)-7,14-dihydroxy-4,8,10,12,16,19-docosahexaenoic acid |
| Mar2 | 16369 | DHA | maresin 2 | (4Z,7Z,9E,11E,13R,14S,16Z,19Z)-13,14-dihydroxy-4,7,9,11,16,19-docosahexaenoic acid |
| RvE1 | 10007848 | EPA | resolvin E1 | (5S,6Z,8E,10E,12R,14Z,16E,18R)-5,12,18-trihydroxy-6,8,10,14,16-icosapentaenoic acid |

Oxylipins are sorted according to deuterated internal standard used for their quantification. ARA – arachidonic acid; DGLA – dihomo-γ-linoleic acid; DHA – docosahexaenoic acid; EPA – eicosapentaenoic acid; LA – linoleic acid.

Supplementary Table S2 Metabolic characteristics of study patients.

|  | pre-OAGB | FU1 | FU2 | pre-OAGB vs FU1 | pre-OAGB vs FU2 | FU1 vs FU2 |
| --- | --- | --- | --- | --- | --- | --- |
| hsCRP [mg/L] | 0.51 ± 0.13 | 1.01 ± 1.41 | 0.43 ± 0.23 | NS | NS | NS |
| LDL-C [mg/dL] | 94.2 ± 15.2 | 106 ± 20.6 | 90.1 ± 19.4 | NS | NS | NS |
| HDL-C [mg/dL] | 53.6 ± 13.9 | 55.3 ± 10.8 | 66.1 ± 14.9 | 0.006 | 0.003 | 0.637 |
| total cholesterol [mg/dL] | 207 ± 35.7 | 215 ± 31.3 | 223 ± 38.6 | NS | NS | NS |
| triglicerides [mg/dL] | 111 ± 42.1 | 118 ± 33.4 | 105 ± 50.5 | NS | NS | NS |
| glucose [mg/dL] | 135 ± 48.3 | 108 ± 10.4 | 95.4 ± 16.3 | 0.022 | 0.002 | 0.227 |
| albumin [g/dL] | 4.29 ± 0.26 | 5.02 ± 0.53 | 4.87 ± 0.37 | < 0.001 | < 0.001 | 0.296 |
| total protein [g/dL] | 7.03 ± 0.51 | 8.03 ± 0.95 | 7.92 ± 0.68 | 0.001 | 0.007 | 0.528 |

p-value from RM ANOVA followed by post-hoc test with Holm-Sidak method, pre-OAGB – patients before bariatric surgery, FU1 – patients at 2 weeks follow-up, FU2 – patients at 6-9 months follow-up.

Supplementary Table S3. MS working parameters in MRM mode.

| Oxylipin | MRM transition A [m/z] | Dt [ms] | Q1 [V] | CE [eV] | Q3 [V] |
| --- | --- | --- | --- | --- | --- |
| 12-HETE-d8 | 327.10 > 184.50 | 22 | 15 | 15 | 12 |
|  | 327.10 > 264.50 | 22 | 28 | 18 | 20 |
| 12-HETE | 319.20 > 179.50 | 22 | 20 | 14 | 11 |
|  | 319.20 > 257.50 | 22 | 16 | 15 | 11 |
| 20-HETE | 319.20 > 289.45 | 22 | 15 | 16 | 20 |
|  | 319.20 > 301.45 | 22 | 16 | 18 | 13 |
| 14(15)-DiHET-d11 | 348.40 > 207.45 | 22 | 22 | 20 | 20 |
|  | 348.40 > 140.45 | 22 | 23 | 21 | 14 |
| PDX | 359.40 > 153.45 | 22 | 23 | 17 | 14 |
|  | 359.40 > 206.45 | 22 | 24 | 17 | 13 |
| RvD1 | 375.30 > 141.35 | 42 | 24 | 16 | 13 |
|  | 375.30 > 215.50 | 42 | 24 | 19 | 13 |
| RvD2 | 375.20 > 175.40 | 42 | 18 | 24 | 11 |
|  | 375.20 > 141.40 | 42 | 18 | 17 | 28 |
| 5-HETE-d8 | 327.20 > 309.50 | 22 | 15 | 13 | 14 |
|  | 327.20 > 116.35 | 22 | 19 | 16 | 18 |
| 15-HETE | 319.20 > 301.50 | 22 | 30 | 13 | 18 |
|  | 319.20 > 219.45 | 22 | 16 | 13 | 21 |
| 5-HETE | 319.20 > 301.50 | 22 | 12 | 15 | 10 |
|  | 319.20 > 115.25 | 22 | 12 | 16 | 14 |
| LXA4 | 351.30 > 115.30 | 42 | 23 | 20 | 22 |
|  | 351.30 > 217.50 | 42 | 23 | 22 | 14 |
| LXB4 | 351.30 > 221.40 | 27 | 22 | 17 | 14 |
|  | 351.30 > 233.45 | 27 | 22 | 15 | 15 |
| 8-iso-PGF2α-d4 | 357.20 > 313.40 | 42 | 17 | 21 | 14 |
|  | 357.20 > 197.35 | 42 | 17 | 26 | 12 |
| 15d-PGJ2 | 315.30 > 271.50 | 22 | 20 | 14 | 12 |
|  | 315.30 > 203.45 | 22 | 20 | 21 | 12 |
| 2,3-dinor-8-iso-PGF2α | 325.30 > 237.50 | 122 | 22 | 14 | 24 |
|  | 325.30 > 137.40 | 122 | 21 | 19 | 29 |
| 8-epi-PGF2α | 353.20 > 193.40 | 42 | 17 | 26 | 12 |
|  | 353.20 > 309.45 | 42 | 17 | 21 | 10 |
| PGD2 | 351.30 > 271.45 | 27 | 23 | 18 | 25 |
|  | 351.30 > 189.40 | 27 | 23 | 21 | 12 |
| PGD3 | 349.30 > 269.50 | 34 | 23 | 16 | 12 |
|  | 349.30 > 233.40 | 34 | 23 | 13 | 10 |
| PGE2 | 351.30 > 271.50 | 27 | 23 | 18 | 18 |
|  | 351.30 > 315.40 | 27 | 22 | 13 | 10 |
| PGF2α | 353.30 > 309.45 | 42 | 23 | 19 | 14 |
|  | 353.30 > 193.40 | 42 | 17 | 26 | 12 |
| TXB2 | 369.30 > 169.45 | 42 | 24 | 18 | 17 |
|  | 369.30 > 195.40 | 42 | 24 | 15 | 12 |

Supplementary Table S3 Cont. MS working parameters in MRM mode.

| Oxylipin | MRM transition A [m/z] | Dt [ms] | Q1 [V] | CE [eV] | Q3 [V] |
| --- | --- | --- | --- | --- | --- |
| 9-HODE-d4 | 299.20 > 281.50 | 22 | 19 | 19 | 12 |
|  | 299.20 > 172.40 | 22 | 19 | 20 | 11 |
| 12-HHT | 279.40 > 179.40 | 22 | 18 | 14 | 12 |
|  | 279.40 > 217.50 | 22 | 19 | 15 | 21 |
| 13-HODE | 295.20 > 195.45 | 22 | 18 | 18 | 18 |
|  | 295.20 > 277.40 | 22 | 18 | 19 | 12 |
| 15-HETrE | 321.50 > 221.30 | 22 | 12 | 15 | 10 |
|  | 321.50 > 303.40 | 22 | 12 | 16 | 14 |
| 9(10)-EpOME | 295.20 > 171.40 | 22 | 15 | 14 | 12 |
|  | 295.20 > 277.40 | 22 | 16 | 16 | 16 |
| 9-HODE | 295.20 > 171.30 | 22 | 18 | 20 | 10 |
|  | 295.20 > 277.40 | 22 | 29 | 18 | 26 |
| LTB4-d4 | 339.30 > 197.45 | 22 | 22 | 17 | 12 |
|  | 339.30 > 321.50 | 22 | 12 | 14 | 15 |
| LTB4 | 335.20 > 195.40 | 22 | 21 | 16 | 12 |
|  | 335.20 > 317.50 | 22 | 21 | 15 | 21 |
| RvE1-d4 | 353.20 > 197.30 | 122 | 11 | 17 | 12 |
|  | 353.20 > 109.30 | 122 | 17 | 22 | 10 |
| 18-HEPE | 317.20 > 299.35 | 22 | 15 | 12 | 14 |
|  | 317.20 > 215.40 | 22 | 15 | 13 | 13 |
| 7S-Mar1 | 359.10 > 177.45 | 13 | 10 | 17 | 11 |
|  | 359.10 > 246.35 | 13 | 30 | 16 | 20 |
| Mar1 | 359.10 > 177.45 | 22 | 10 | 17 | 11 |
|  | 359.10 > 250.30 | 22 | 10 | 15 | 17 |
| Mar2 | 359.40 > 221.40 | 22 | 12 | 12 | 10 |
|  | 359.40 > 232.30 | 22 | 14 | 15 | 23 |
| RvE1 | 349.20 > 195.30 | 97 | 10 | 17 | 12 |
|  | 349.20 > 107.25 | 97 | 17 | 22 | 15 |

A Q1>Q3 parent>daughter transitions, bolded – transition used for quantification.

Abbreviations: CE – collision energy; Dt – dwell time; Rt – retention time; Q1 – first quadrupole voltage; Q3 – second quadrupole voltage. For names of the analytes please refer to Supplementary Table S1.

Supplementary Table S4. LC-MS/MS instrument parameters.

| Parameter | Value |
| --- | --- |
| Interface temperature | 300°C |
| Desolvation temperature | 526°C |
| Desolvation line temperature | 250°C |
| Heat block temperature | 400°C |
| Drying gas flow | 10 L/min |
| Nebulizing gas flow | 3 L/min |
| Heating gas flow | 10 L/min |
| Interface voltage | 4 kV |

Supplementary Table S5. Results of quantification of oxylipins in serum of bariatric patients.

|  | pre-OAGB (n = 15) |  |  | FU1 (n = 15) |  |  | FU2 (n = 15) |  |  | p-value A |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | > LOD B | > LLOQ C | Concentration D [nM] | > LOD B | > LLOQ C | Concentration D [nM] | > LOD B | > LLOQ C | Concentration D [nM] | pre-OAGB vs FU1 | pre-OAGB vs FU2 | FU1 vs FU2 |
| 12-HETE | 10 | 10 | 32.4 ± 11.0 | 14 | 14 | 27.5 ± 3.90 | 12 | 12 | 20.0 ± 3.92 | NS | NS | NS |
| 20-HETE | 9 | 9 | 2.71 ± 0.300 | 12 | 12 | 3.79 ± 0.367 | 11 | 11 | 2.71 ± 0.213 | 0.017 | 0.375 | 0.003 |
| PDX | 1 | 0 | < LOQ | 1 | 0 | < LOQ | 1 | 0 | < LOQ | NS | NS | NS |
| RvD1 | 0 | 0 | ND | 0 | 0 | ND | 0 | 0 | ND | NS | NS | NS |
| RvD2 | 0 | 0 | ND | 0 | 0 | ND | 0 | 0 | ND | NS | NS | NS |
| 15-HETE | 12 | 11 | 1.46 ± 0.187 | 14 | 14 | 1.76 ± 0.214 | 13 | 13 | 1.25 ± 0.128 | NS | NS | NS |
| 5-HETE | 15 | 11 | 1.32 ± 0.313 | 14 | 14 | 2.49 ± 0.318 | 14 | 13 | 1.45 ± 0.243 | 0.002 | 0.271 | 0.025 |
| LXA4 | 1 | 0 | < LOQ | 0 | 0 | ND | 0 | 0 | ND | NS | NS | NS |
| LXB4 | 0 | 0 | ND | 0 | 0 | ND | 0 | 0 | ND | NS | NS | NS |
| 15d-PGJ2 | 13 | 2 | 6.12 ± 0.239 | 0 | 0 | ND | 7 | 0 | < LOQ | < 0.001 | < 0.001 | 0.530 |
| 2,3-dinor-8-iso-PGF2α | 0 | 0 | ND | 0 | 0 | ND | 0 | 0 | ND | NS | NS | NS |
| 8-epi-PGF2α | 0 | 0 | ND | 0 | 0 | ND | 0 | 0 | ND | NS | NS | NS |
| PGD2 | 0 | 0 | ND | 7 | 1 | < LOQ | 10 | 1 | < LOQ | 0.019 | 0.022 | 0.799 |
| PGD3 | 0 | 0 | ND | 0 | 0 | ND | 0 | 0 | ND | NS | NS | NS |
| PGE2 | 3 | 0 | < LOQ | 8 | 0 | < LOQ | 15 | 1 | < LOQ | NS | NS | NS |
| PGF2α | 0 | 0 | ND | 0 | 0 | ND | 3 | 0 | < LOQ | NS | NS | NS |
| TXB2 | 5 | 3 | < LOQ | 14 | 13 | 2.55 ± 0.488 | 13 | 13 | 2.44 ± 0.398 | < 0.001 | 0.001 | 0.822 |
| 12-HHT | 4 | 4 | 4.07 ± 0.107 | 12 | 12 | 10.9 ± 1.49 | 14 | 14 | 14.6 ± 2.90 | 0.015 | < 0.001 | 0.144 |
| 15-HETrE | 13 | 13 | 0.513 ± 0.045 | 13 | 13 | 0.383 ± 0.024 | 14 | 14 | 0.329 ± 0.028 | 0.096 | 0.004 | 0.134 |
| 13-HODE | 13 | 13 | 18.6 ± 1.79 | 14 | 14 | 13.0 ± 1.14 | 15 | 15 | 18.4 ± 2.12 | NS | NS | NS |
| 9(10)-EpOME | 11 | 11 | 1.54 ± 0.332 | 11 | 9 | 0.969 ± 0.121 | 10 | 9 | 1.26 ± 0.270 | NS | NS | NS |
| 9-HODE | 13 | 13 | 12.2 ± 0.831 | 14 | 14 | 10.2 ± 0.703 | 14 | 14 | 11.4 ± 1.18 | NS | NS | NS |
| LTB4 | 9 | 4 | 0.822 ± 0.151 | 10 | 10 | 1.11 ± 0.254 | 12 | 11 | 0.637 ± 0.071 | NS | NS | NS |

Supplementary Table S5 Cont. Results of quantification of oxylipins in serum of bariatric patients

|  | pre-OAGB (n = 15) |  |  | FU1 (n = 15) |  |  | FU2 (n = 15) |  |  |  | p-value A |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | > LOD B | > LLOQ C | Concentration D [nM] | > LOD B | > LLOQ C | Concentration D [nM] | > LOD B |  | > LLOQ C | Concentration D [nM] | pre-OAGB vs FU1 | pre-OAGB vs FU2 | FU1 vs FU2 |
| 18-HEPE | 8 | 6 | 1.55 ± 0.106 | 9 | 8 | 1.87 ± 0.289 | 10 | 10 |  | 1.25 ± 0.175 | NS | NS | NS |
| 7S-Mar1 | 0 | 0 | ND | 0 | 0 | ND | 0 | 0 |  | ND | NS | NS | NS |
| Mar1 | 0 | 0 | ND | 0 | 0 | ND | 0 | 0 |  | ND | NS | NS | NS |
| Mar2 | 0 | 0 | ND | 0 | 0 | ND | 0 | 0 |  | ND | NS | NS | NS |
| RvE1 | 0 | 0 | ND | 0 | 0 | ND | 0 | 0 |  | ND | NS | NS | NS |

A p-value from RM ANOVA followed by post-hoc test with Holm-Sidak method.

B Number of samples above limit of detection calculated from calibration curve.

C Number of samples in which quantification was possible.

D Mean ± standard error of the mean of samples above lower limit of quantification (LLOQ).

ND – not detected; NS – significance above 0.05 or not calculated. For names of the analytes please refer to Supplementary Table S1.

Supplementary Figure S1. Skeletal formulas of analytes.

A - 8-epi-PGF2α is a PGF2α isomer with inverted stereochemistry at the 8-position (in red); B – Mar1 and 7S-Mar1 are epimers with differing stereochemistry at carbon with hydroxyl group.

Supplementary Figure S2. Chromatograms of oxylipins obtained in MRM mode. For names of the analytes please refer to Supplementary Table S1. Axis X – retention time, axis Y – signal intensity.

Supplementary Figure S3. Relative peak intensities of oxylipin standards depending on phase B composition. For names of the analytes please refer to Supplementary Table S1.

Supplementary Figure S4. Relative peak intensities of oxylipin standards injected in different solvent compositions. For names of the analytes please refer to Supplementary Table S1.

Supplementary Figure S5. Recovery of deuterated internal standards (IS) used for

quantification of oxylipins.

IS recovery was a ratio between peak intensity in samples where IS were added directly to serum (before SPE) to peak intensity in samples where IS were added to the SPE eluent. The recovery was determined at one level – addition of 10 ng of each IS to sample in three independent replicates. For names of the analytes please refer to Supplementary Table S1.

Supplementary Figure S6. Variables plots corresponding to PCA projections given in the main article.

(a) projection along PC1 and PC2, (b) projection along PC1 and PC3. For names of the analytes please refer to Supplementary Table S1.

Supplementary Figure S7. Discriminant analysis of bariatric patients before (pre-OAGB), 2 weeks after (FU1) and 6-9 months after (FU2) OAGB surgery, based on oxylipins concentrations.

PLS-DA plot (a), permutation test with separation distance as selected statistic, 1000 permutations (b), and variable importance projection (VIP) scores (c). For names of the analytes please refer to Supplementary Table S1.