Supplementary Table S1. Electrode exclusion summary

| Participant ID | Implant eye | Number of electrodes included in study / Total number of electrodes measured | Excluded electrodes |
| --- | --- | --- | --- |
| UM01 | Left | 27 / 30 | Not visible on OCT (3) |
| UM02 | Left | 26 / 30 | Not visible on OCT (4) |
| CL01 | Right | 56 / 60 | High impedance (1) Not visible on OCT (3) |
| CL02 | Right | 45 / 60 | High impedance (1) Threshold >677 µA (12) Not visible on OCT (2) |
| CL03 | Right | 54 / 60 | High impedance (2) Not visible on OCT (4) |
| CL04 | Right | 35 / 60 | High impedance (7) Threshold >677 µA (11) Not visible on OCT (7) |
| CL05 | Left | 47 / 60 | High impedance (5) Not visible on OCT (8) |

Supplementary Figure S1. Method for calculating retinal area activated (mm2)