Supplementary Material

Evaluation of monochromatic excitation X-ray fluorescence spectrometry for rapid thallium detection in biological samples using animal models

Shihao Wu1,2·Peng Zhao2·Aihua Wang2·Linpei Dong2·Xiaojun Wu2·Jifen Wang1·Yunfeng Zhang*2

1.	School of Investigation, People’s Public Security University of China, Beijing 100038, China.

2.	Institute of Forensic Science, Ministry of Public Security, Beijing 100038, China.

*Corresponding author

E-mail: yunfeng_2002@sohu.com

Contents

Table S1 The thallium concentrations in blood samples obtained by the two methods

Table S2 The thallium concentrations in urine samples obtained by the two methods

Table S3 The thallium concentrations in heart samples obtained by the two methods

Table S4 The thallium concentrations in liver samples obtained by the two methods

Table S5 The thallium concentrations in spleen samples obtained by the two methods

Table S6 The thallium concentrations in lungs samples obtained by the two methods

Table S7 The thallium concentrations in kidneys samples obtained by the two methods

Table S8 The thallium concentrations in brain samples obtained by the two methods

Table S9 The thallium concentrations in intestines samples obtained by the two methods

Table S10 The thallium concentrations in stomach samples obtained by the two methods

Table S11 The thallium concentrations in testes samples obtained by the two methods

Table S12 The thallium concentrations in pancreas samples obtained by the two methods

Table S13 Table S13 The thallium concentrations (mg/kg or mg/L) in control rats measured by ICP-MS method

Table S1 The thallium concentrations in blood samples obtained by the two methods

| Group | No. | ICP-MS (mg/kg) | ME-XRF (mg/kg) | Relative Error (%) |
| --- | --- | --- | --- | --- |
| Low dose acute poisoning | 1 | 0.351 | 0.345 | -1.47 |
|  | 2 | 0.294 | 0.287 | -2.21 |
|  | 3 | 0.287 | 0.293 | 2.23 |
|  | 4 | 0.262 | 0.272 | 3.89 |
|  | 5 | 0.414 | 0.383 | -7.57 |
|  | 6 | 0.298 | 0.322 | 8.03 |
|  | 7 | 0.328 | 0.298 | -9.20 |
|  | 8 | 0.332 | 0.326 | -1.71 |
| Medium dose acute poisoning | 1 | 0.946 | 0.926 | -2.13 |
|  | 2 | 1.045 | 1.107 | 5.96 |
|  | 3 | 0.910 | 0.968 | 6.47 |
|  | 4 | 0.829 | 0.810 | -2.32 |
|  | 5 | 0.731 | 0.770 | 5.35 |
|  | 6 | 0.748 | 0.736 | -1.58 |
|  | 7 | 1.007 | 1.018 | 1.11 |
|  | 8 | 0.661 | 0.691 | 4.50 |
| High dose acute poisoning | 1 | 1.354 | 1.347 | -0.53 |
|  | 2 | 1.227 | 1.196 | -2.58 |
|  | 3 | 1.295 | 1.393 | 7.51 |
|  | 4 | 1.087 | 1.156 | 6.36 |
|  | 5 | 1.520 | 1.452 | -4.50 |
|  | 6 | 1.258 | 1.372 | 9.04 |
|  | 7 | 2.695 | 2.813 | 4.37 |
|  | 8 | 1.676 | 1.717 | 2.46 |
| Subacute poisoning | 1 | 0.158 | 0.163 | 2.80 |
|  | 2 | 0.159 | 0.148 | -7.05 |
|  | 3 | 0.211 | 0.212 | 0.58 |
|  | 4 | 0.180 | 0.174 | -3.37 |
|  | 5 | 0.170 | 0.158 | -6.86 |
|  | 6 | 0.258 | 0.247 | -4.25 |
|  | 7 | 0.112 | 0.116 | 3.52 |
|  | 8 | 0.289 | 0.285 | -1.28 |

Table S2 The thallium concentrations in urine samples obtained by the two methods

| Group | No. | ICP-MS (mg/kg) | ME-XRF (mg/kg) | Relative Error (%) |
| --- | --- | --- | --- | --- |
| Low dose acute poisoning | 1 | 2.166 | 2.268 | 4.71 |
|  | 2 | 2.491 | 2.396 | -3.81 |
|  | 3 | 1.940 | 2.100 | 8.28 |
|  | 4 | 3.131 | 2.843 | -9.19 |
|  | 5 | 1.812 | 2.033 | 12.19 |
|  | 6 | 1.649 | 1.596 | -3.23 |
|  | 7 | 1.879 | 2.141 | 13.93 |
|  | 8 | 1.331 | 1.400 | 5.21 |
| Medium dose acute poisoning | 1 | 2.676 | 2.874 | 7.41 |
|  | 2 | 12.373 | 12.767 | 3.19 |
|  | 3 | 4.922 | 5.584 | 13.45 |
|  | 4 | 11.654 | 10.005 | -14.14 |
|  | 5 | 6.734 | 7.050 | 4.68 |
|  | 6 | 5.673 | 5.231 | -7.79 |
|  | 7 | 11.636 | 11.953 | 2.72 |
|  | 8 | 10.053 | 9.322 | -7.27 |
| High dose acute poisoning | 1 | 16.119 | 16.177 | 0.36 |
|  | 2 | 14.987 | 14.587 | -2.67 |
|  | 3 | 16.432 | 16.780 | 2.12 |
|  | 4 | 20.932 | 21.780 | 4.05 |
|  | 5 | 20.614 | 22.273 | 8.05 |
|  | 6 | 12.733 | 12.950 | 1.70 |
|  | 7 | 22.616 | 22.710 | 0.42 |
|  | 8 | 27.047 | 28.490 | 5.33 |
| Subacute poisoning | 1 | 0.996 | 1.045 | 4.91 |
|  | 2 | 0.680 | 0.737 | 8.39 |
|  | 3 | 1.004 | 0.966 | -3.79 |
|  | 4 | 0.297 | 0.277 | -6.68 |
|  | 5 | 0.142 | 0.153 | 8.07 |
|  | 6 | 0.526 | 0.584 | 10.94 |
|  | 7 | 0.335 | 0.343 | 2.34 |
|  | 8 | 2.168 | 2.352 | 8.49 |

Table S3 The thallium concentrations in heart samples obtained by the two methods

| Group | No. | ICP-MS (mg/kg) | ME-XRF (mg/kg) | Relative Error (%) |
| --- | --- | --- | --- | --- |
| Low dose acute poisoning | 1 | 4.063 | 4.022 | -1.02 |
|  | 2 | 4.451 | 4.835 | 8.63 |
|  | 3 | 5.648 | 5.263 | -6.81 |
|  | 4 | 3.971 | 4.127 | 3.95 |
|  | 5 | 5.267 | 5.295 | 0.53 |
|  | 6 | 4.310 | 4.698 | 9.00 |
|  | 7 | 3.829 | 3.975 | 3.80 |
|  | 8 | 4.541 | 5.096 | 12.22 |
| Medium dose acute poisoning | 1 | 9.933 | 8.722 | -12.20 |
|  | 2 | 16.303 | 15.659 | -3.95 |
|  | 3 | 13.617 | 14.604 | 7.25 |
|  | 4 | 12.104 | 13.080 | 8.06 |
|  | 5 | 14.261 | 12.467 | -12.58 |
|  | 6 | 14.349 | 13.367 | -6.85 |
|  | 7 | 16.572 | 15.437 | -6.85 |
|  | 8 | 11.186 | 12.763 | 14.11 |
| High dose acute poisoning | 1 | 20.318 | 19.760 | -2.74 |
|  | 2 | 21.312 | 21.790 | 2.24 |
|  | 3 | 21.143 | 21.887 | 3.52 |
|  | 4 | 26.836 | 25.357 | -5.51 |
|  | 5 | 23.384 | 20.663 | -11.63 |
|  | 6 | 23.368 | 23.280 | -0.38 |
|  | 7 | 39.278 | 41.393 | 5.39 |
|  | 8 | 27.569 | 24.863 | -9.81 |
| Subacute poisoning | 1 | 3.370 | 3.464 | 2.81 |
|  | 2 | 3.081 | 3.139 | 1.89 |
|  | 3 | 4.462 | 4.640 | 3.98 |
|  | 4 | 2.687 | 2.801 | 4.23 |
|  | 5 | 3.422 | 3.384 | -1.09 |
|  | 6 | 4.078 | 3.858 | -5.41 |
|  | 7 | 2.645 | 2.584 | -2.32 |
|  | 8 | 5.220 | 5.421 | 3.86 |

Table S4 The thallium concentrations in liver samples obtained by the two methods

| Group | No. | ICP-MS (mg/kg) | ME-XRF (mg/kg) | Relative Error (%) |
| --- | --- | --- | --- | --- |
| Low dose acute poisoning | 1 | 3.135 | 3.040 | -3.02 |
|  | 2 | 3.563 | 3.501 | -1.74 |
|  | 3 | 3.236 | 3.643 | 12.59 |
|  | 4 | 2.854 | 3.058 | 7.16 |
|  | 5 | 3.309 | 3.251 | -1.76 |
|  | 6 | 2.978 | 2.888 | -3.03 |
|  | 7 | 3.162 | 3.233 | 2.27 |
|  | 8 | 2.647 | 2.724 | 2.92 |
| Medium dose acute poisoning | 1 | 8.028 | 8.486 | 5.71 |
|  | 2 | 8.961 | 9.592 | 7.04 |
|  | 3 | 10.543 | 10.928 | 3.64 |
|  | 4 | 8.321 | 8.029 | -3.51 |
|  | 5 | 10.297 | 9.561 | -7.15 |
|  | 6 | 7.507 | 8.304 | 10.61 |
|  | 7 | 8.954 | 9.459 | 5.65 |
|  | 8 | 6.928 | 6.288 | -9.24 |
| High dose acute poisoning | 1 | 15.772 | 16.140 | 2.33 |
|  | 2 | 13.018 | 14.080 | 8.15 |
|  | 3 | 20.072 | 20.030 | -0.21 |
|  | 4 | 12.506 | 11.990 | -4.12 |
|  | 5 | 10.433 | 10.843 | 3.94 |
|  | 6 | 11.070 | 11.033 | -0.33 |
|  | 7 | 19.719 | 20.100 | 1.93 |
|  | 8 | 15.520 | 15.243 | -1.78 |
| Subacute poisoning | 1 | 2.699 | 2.724 | 0.92 |
|  | 2 | 2.169 | 2.270 | 4.66 |
|  | 3 | 2.332 | 2.415 | 3.55 |
|  | 4 | 1.951 | 2.065 | 5.83 |
|  | 5 | 2.519 | 2.294 | -8.92 |
|  | 6 | 3.925 | 3.790 | -3.44 |
|  | 7 | 2.134 | 1.884 | -11.75 |
|  | 8 | 2.917 | 2.936 | 0.66 |

Table S5 The thallium concentrations in spleen samples obtained by the two methods

| Group | No. | ICP-MS (mg/kg) | ME-XRF (mg/kg) | Relative Error (%) |
| --- | --- | --- | --- | --- |
| Low dose acute poisoning | 1 | 5.539 | 5.167 | -6.72 |
|  | 2 | 4.028 | 4.326 | 7.40 |
|  | 3 | 4.587 | 4.241 | -7.53 |
|  | 4 | 2.926 | 2.950 | 0.81 |
|  | 5 | 4.098 | 3.636 | -11.27 |
|  | 6 | 3.518 | 3.264 | -7.22 |
|  | 7 | 3.036 | 3.188 | 5.01 |
|  | 8 | 4.293 | 4.340 | 1.09 |
| Medium dose acute poisoning | 1 | 9.158 | 8.707 | -4.92 |
|  | 2 | 13.067 | 13.138 | 0.54 |
|  | 3 | 10.658 | 11.390 | 6.87 |
|  | 4 | 12.391 | 12.523 | 1.06 |
|  | 5 | 10.199 | 10.647 | 4.38 |
|  | 6 | 10.713 | 10.670 | -0.40 |
|  | 7 | 13.192 | 11.543 | -12.50 |
|  | 8 | 8.956 | 8.583 | -4.17 |
| High dose acute poisoning | 1 | 13.017 | 12.047 | -7.46 |
|  | 2 | 9.693 | 8.771 | -9.51 |
|  | 3 | 15.241 | 15.607 | 2.40 |
|  | 4 | 13.999 | 13.610 | -2.78 |
|  | 5 | 18.636 | 18.767 | 0.70 |
|  | 6 | 17.542 | 17.490 | -0.29 |
|  | 7 | 26.568 | 28.867 | 8.65 |
|  | 8 | 22.814 | 21.297 | -6.65 |
| Subacute poisoning | 1 | 3.223 | 3.270 | 1.46 |
|  | 2 | 2.781 | 2.544 | -8.53 |
|  | 3 | 4.103 | 4.385 | 6.87 |
|  | 4 | 2.910 | 2.612 | -10.22 |
|  | 5 | 3.305 | 3.015 | -8.76 |
|  | 6 | 3.902 | 3.720 | -4.67 |
|  | 7 | 2.642 | 2.487 | -5.86 |
|  | 8 | 5.295 | 5.444 | 2.81 |

Table S6 The thallium concentrations in lungs samples obtained by the two methods

| Group | No. | ICP-MS (mg/kg) | ME-XRF (mg/kg) | Relative Error (%) |
| --- | --- | --- | --- | --- |
| Low dose acute poisoning | 1 | 5.348 | 5.568 | 4.11 |
|  | 2 | 4.387 | 4.204 | -4.17 |
|  | 3 | 3.352 | 3.292 | -1.78 |
|  | 4 | 3.180 | 3.366 | 5.85 |
|  | 5 | 3.295 | 3.261 | -1.01 |
|  | 6 | 3.263 | 3.274 | 0.33 |
|  | 7 | 2.999 | 3.302 | 10.09 |
|  | 8 | 3.653 | 3.816 | 4.47 |
| Medium dose acute poisoning | 1 | 12.040 | 11.648 | -3.26 |
|  | 2 | 11.837 | 11.000 | -7.07 |
|  | 3 | 10.892 | 11.423 | 4.87 |
|  | 4 | 9.197 | 9.196 | -0.01 |
|  | 5 | 11.058 | 10.347 | -6.43 |
|  | 6 | 12.250 | 11.343 | -7.40 |
|  | 7 | 13.375 | 12.450 | -6.92 |
|  | 8 | 7.305 | 7.987 | 9.34 |
| High dose acute poisoning | 1 | 20.503 | 19.940 | -2.75 |
|  | 2 | 16.424 | 18.107 | 10.25 |
|  | 3 | 18.054 | 18.577 | 2.89 |
|  | 4 | 15.607 | 16.540 | 5.98 |
|  | 5 | 17.951 | 17.690 | -1.45 |
|  | 6 | 18.309 | 17.793 | -2.82 |
|  | 7 | 37.760 | 37.063 | -1.84 |
|  | 8 | 22.547 | 21.437 | -4.92 |
| Subacute poisoning | 1 | 2.809 | 2.908 | 3.50 |
|  | 2 | 2.527 | 2.490 | -1.45 |
|  | 3 | 3.706 | 3.674 | -0.84 |
|  | 4 | 2.555 | 2.509 | -1.81 |
|  | 5 | 2.616 | 2.659 | 1.66 |
|  | 6 | 2.944 | 3.215 | 9.18 |
|  | 7 | 2.093 | 2.198 | 5.05 |
|  | 8 | 5.090 | 4.539 | -10.82 |

Table S7 The thallium concentrations in kidneys samples obtained by the two methods

| Group | No. | ICP-MS (mg/kg) | ME-XRF (mg/kg) | Relative Error (%) |
| --- | --- | --- | --- | --- |
| Low dose acute poisoning | 1 | 57.269 | 55.774 | -2.61 |
|  | 2 | 31.453 | 34.576 | 9.93 |
|  | 3 | 32.745 | 36.799 | 12.38 |
|  | 4 | 43.873 | 45.644 | 4.04 |
|  | 5 | 51.334 | 50.146 | -2.32 |
|  | 6 | 48.927 | 50.988 | 4.21 |
|  | 7 | 45.356 | 45.340 | -0.04 |
|  | 8 | 43.558 | 45.923 | 5.43 |
| Medium dose acute poisoning | 1 | 70.346 | 72.972 | 3.73 |
|  | 2 | 77.611 | 81.384 | 4.86 |
|  | 3 | 94.914 | 93.136 | -1.87 |
|  | 4 | 113.176 | 105.533 | -6.75 |
|  | 5 | 79.789 | 76.177 | -4.53 |
|  | 6 | 83.407 | 93.147 | 11.68 |
|  | 7 | 78.138 | 78.957 | 1.05 |
|  | 8 | 87.722 | 80.033 | -8.76 |
| High dose acute poisoning | 1 | 86.646 | 85.380 | -1.46 |
|  | 2 | 83.321 | 88.067 | 5.70 |
|  | 3 | 93.179 | 98.813 | 6.05 |
|  | 4 | 88.657 | 97.413 | 9.88 |
|  | 5 | 88.029 | 85.833 | -2.49 |
|  | 6 | 92.399 | 95.510 | 3.37 |
|  | 7 | 113.226 | 110.233 | -2.64 |
|  | 8 | 96.981 | 104.700 | 7.96 |
| Subacute poisoning | 1 | 25.438 | 23.660 | -6.99 |
|  | 2 | 22.431 | 23.430 | 4.45 |
|  | 3 | 29.527 | 28.590 | -3.17 |
|  | 4 | 22.263 | 23.707 | 6.48 |
|  | 5 | 21.754 | 23.767 | 9.25 |
|  | 6 | 23.964 | 24.087 | 0.51 |
|  | 7 | 12.336 | 13.097 | 6.17 |
|  | 8 | 29.201 | 29.837 | 2.18 |

Table S8 The thallium concentrations in brain samples obtained by the two methods

| Group | No. | ICP-MS (mg/kg) | ME-XRF (mg/kg) | Relative Error (%) |
| --- | --- | --- | --- | --- |
| Low dose acute poisoning | 1 | 2.363 | 2.218 | -6.11 |
|  | 2 | 2.351 | 2.193 | -6.72 |
|  | 3 | 2.202 | 2.004 | -8.98 |
|  | 4 | 2.299 | 2.110 | -8.21 |
|  | 5 | 2.582 | 2.635 | 2.08 |
|  | 6 | 2.026 | 2.022 | -0.16 |
|  | 7 | 1.868 | 2.019 | 8.11 |
|  | 8 | 2.061 | 2.144 | 4.00 |
| Medium dose acute poisoning | 1 | 6.759 | 6.310 | -6.65 |
|  | 2 | 8.477 | 7.993 | -5.71 |
|  | 3 | 6.540 | 6.771 | 3.53 |
|  | 4 | 6.148 | 6.640 | 8.00 |
|  | 5 | 5.713 | 6.531 | 14.32 |
|  | 6 | 7.747 | 6.675 | -13.83 |
|  | 7 | 6.058 | 6.599 | 8.93 |
|  | 8 | 9.964 | 10.907 | 9.47 |
| High dose acute poisoning | 1 | 9.761 | 9.498 | -2.69 |
|  | 2 | 9.183 | 9.585 | 4.38 |
|  | 3 | 13.013 | 13.227 | 1.64 |
|  | 4 | 8.709 | 9.089 | 4.37 |
|  | 5 | 11.897 | 11.177 | -6.05 |
|  | 6 | 19.803 | 19.557 | -1.24 |
|  | 7 | 18.223 | 18.570 | 1.90 |
|  | 8 | 13.871 | 13.717 | -1.11 |
| Subacute poisoning | 1 | 1.699 | 1.854 | 9.14 |
|  | 2 | 1.800 | 1.805 | 0.26 |
|  | 3 | 1.838 | 2.016 | 9.69 |
|  | 4 | 1.256 | 1.384 | 10.17 |
|  | 5 | 1.660 | 1.635 | -1.52 |
|  | 6 | 1.865 | 1.763 | -5.48 |
|  | 7 | 1.218 | 1.217 | -0.08 |
|  | 8 | 2.462 | 2.452 | -0.42 |

Table S9 The thallium concentrations in intestines samples obtained by the two methods

| Group | No. | ICP-MS (mg/kg) | ME-XRF (mg/kg) | Relative Error (%) |
| --- | --- | --- | --- | --- |
| Low dose acute poisoning | 1 | 4.564 | 5.006 | 9.68 |
|  | 2 | 5.135 | 5.126 | -0.18 |
|  | 3 | 5.267 | 5.207 | -1.13 |
|  | 4 | 3.940 | 3.910 | -0.78 |
|  | 5 | 5.547 | 5.282 | -4.77 |
|  | 6 | 4.689 | 4.504 | -3.94 |
|  | 7 | 4.161 | 3.645 | -12.39 |
|  | 8 | 3.272 | 3.421 | 4.55 |
| Medium dose acute poisoning | 1 | 14.042 | 14.109 | 0.47 |
|  | 2 | 13.078 | 14.153 | 8.22 |
|  | 3 | 14.348 | 15.126 | 5.42 |
|  | 4 | 16.205 | 15.260 | -5.83 |
|  | 5 | 13.886 | 15.043 | 8.34 |
|  | 6 | 14.308 | 14.713 | 2.84 |
|  | 7 | 16.908 | 18.470 | 9.24 |
|  | 8 | 14.573 | 14.080 | -3.38 |
| High dose acute poisoning | 1 | 17.225 | 16.710 | -2.99 |
|  | 2 | 17.677 | 18.933 | 7.11 |
|  | 3 | 18.968 | 19.733 | 4.03 |
|  | 4 | 17.764 | 18.760 | 5.61 |
|  | 5 | 24.135 | 24.540 | 1.68 |
|  | 6 | 24.119 | 23.293 | -3.42 |
|  | 7 | 40.390 | 39.033 | -3.36 |
|  | 8 | 29.748 | 31.287 | 5.17 |
| Subacute poisoning | 1 | 4.523 | 4.654 | 2.90 |
|  | 2 | 3.555 | 4.043 | 13.74 |
|  | 3 | 4.183 | 4.386 | 4.86 |
|  | 4 | 3.421 | 3.631 | 6.13 |
|  | 5 | 4.175 | 3.985 | -4.56 |
|  | 6 | 4.726 | 4.710 | -0.33 |
|  | 7 | 2.500 | 2.576 | 3.04 |
|  | 8 | 3.814 | 4.031 | 5.69 |

Table S10 The thallium concentrations in stomach samples obtained by the two methods

| Group | No. | ICP-MS (mg/kg) | ME-XRF (mg/kg) | Relative Error (%) |
| --- | --- | --- | --- | --- |
| Low dose acute poisoning | 1 | 3.780 | 3.581 | -5.27 |
|  | 2 | 3.983 | 4.517 | 13.41 |
|  | 3 | 2.801 | 2.673 | -4.60 |
|  | 4 | 4.326 | 4.537 | 4.88 |
|  | 5 | 3.014 | 3.300 | 9.49 |
|  | 6 | 3.573 | 3.747 | 4.88 |
|  | 7 | 2.368 | 2.383 | 0.64 |
|  | 8 | 1.986 | 2.047 | 3.06 |
| Medium dose acute poisoning | 1 | 7.901 | 8.166 | 3.36 |
|  | 2 | 8.849 | 9.140 | 3.30 |
|  | 3 | 11.365 | 11.261 | -0.91 |
|  | 4 | 6.903 | 7.485 | 8.43 |
|  | 5 | 13.787 | 12.820 | -7.02 |
|  | 6 | 18.289 | 20.343 | 11.23 |
|  | 7 | 18.319 | 16.807 | -8.25 |
|  | 8 | 11.544 | 10.430 | -9.65 |
| High dose acute poisoning | 1 | 9.664 | 10.080 | 4.31 |
|  | 2 | 14.683 | 15.053 | 2.52 |
|  | 3 | 14.241 | 14.847 | 4.25 |
|  | 4 | 29.799 | 28.973 | -2.77 |
|  | 5 | 14.131 | 13.430 | -4.96 |
|  | 6 | 17.104 | 17.083 | -0.12 |
|  | 7 | 27.197 | 27.680 | 1.77 |
|  | 8 | 23.213 | 24.210 | 4.29 |
| Subacute poisoning | 1 | 2.602 | 2.522 | -3.05 |
|  | 2 | 2.291 | 2.250 | -1.81 |
|  | 3 | 2.792 | 2.766 | -0.93 |
|  | 4 | 2.359 | 2.287 | -3.04 |
|  | 5 | 2.415 | 2.609 | 8.05 |
|  | 6 | 3.392 | 3.562 | 5.01 |
|  | 7 | 1.618 | 1.662 | 2.73 |
|  | 8 | 2.004 | 1.965 | -1.94 |

Table S11 The thallium concentrations in testes samples obtained by the two methods

| Group | No. | ICP-MS (mg/kg) | ME-XRF (mg/kg) | Relative Error (%) |
| --- | --- | --- | --- | --- |
| Low dose acute poisoning | 1 | 5.877 | 6.041 | 2.79 |
|  | 2 | 7.653 | 7.313 | -4.45 |
|  | 3 | 6.511 | 7.128 | 9.48 |
|  | 4 | 7.085 | 6.893 | -2.71 |
|  | 5 | 9.587 | 8.811 | -8.10 |
|  | 6 | 7.001 | 7.082 | 1.17 |
|  | 7 | 7.337 | 7.276 | -0.83 |
|  | 8 | 7.163 | 7.033 | -1.82 |
| Medium dose acute poisoning | 1 | 19.165 | 17.239 | -10.05 |
|  | 2 | 23.374 | 23.019 | -1.52 |
|  | 3 | 21.816 | 23.275 | 6.69 |
|  | 4 | 23.681 | 21.353 | -9.83 |
|  | 5 | 19.586 | 22.233 | 13.52 |
|  | 6 | 23.946 | 22.213 | -7.23 |
|  | 7 | 23.257 | 22.770 | -2.09 |
|  | 8 | 16.935 | 17.187 | 1.49 |
| High dose acute poisoning | 1 | 35.989 | 36.807 | 2.27 |
|  | 2 | 36.265 | 35.300 | -2.66 |
|  | 3 | 38.894 | 40.653 | 4.52 |
|  | 4 | 36.371 | 35.540 | -2.29 |
|  | 5 | 39.438 | 36.577 | -7.26 |
|  | 6 | 37.519 | 38.283 | 2.04 |
|  | 7 | 63.832 | 62.320 | -2.37 |
|  | 8 | 47.432 | 43.903 | -7.44 |
| Subacute poisoning | 1 | 6.569 | 6.477 | -1.40 |
|  | 2 | 4.818 | 4.971 | 3.18 |
|  | 3 | 5.687 | 6.314 | 11.03 |
|  | 4 | 4.513 | 4.392 | -2.68 |
|  | 5 | 5.260 | 5.591 | 6.28 |
|  | 6 | 6.020 | 6.286 | 4.42 |
|  | 7 | 4.061 | 4.158 | 2.38 |
|  | 8 | 8.918 | 9.182 | 2.96 |

Table S12 The thallium concentrations in pancreas samples obtained by the two methods

| Group | No. | ICP-MS (mg/kg) | ME-XRF (mg/kg) | Relative Error (%) |
| --- | --- | --- | --- | --- |
| Low dose acute poisoning | 1 |  |  |  |
|  | 2 | 5.684 | 6.066 | 6.72 |
|  | 3 | 6.921 | 6.880 | -0.59 |
|  | 4 | 6.051 | 5.818 | -3.84 |
|  | 5 | 5.431 | 5.506 | 1.39 |
|  | 6 | 7.203 | 6.484 | -9.97 |
|  | 7 | 5.200 | 4.763 | -8.41 |
|  | 8 | 7.053 | 6.729 | -4.59 |
| Medium dose acute poisoning | 1 | 20.607 | 21.480 | 4.24 |
|  | 2 | 19.023 | 18.930 | -0.49 |
|  | 3 | 22.846 | 23.523 | 2.96 |
|  | 4 | 16.707 | 14.577 | -12.75 |
|  | 5 | 18.999 | 19.660 | 3.48 |
|  | 6 |  |  |  |
|  | 7 | 23.405 | 24.063 | 2.81 |
|  | 8 | 13.469 | 13.590 | 0.90 |
| High dose acute poisoning | 1 | 26.913 | 30.943 | 14.97 |
|  | 2 | 31.763 | 33.773 | 6.33 |
|  | 3 | 30.670 | 31.990 | 4.30 |
|  | 4 | 37.431 | 32.550 | -13.04 |
|  | 5 | 25.153 | 25.663 | 2.03 |
|  | 6 | 30.099 | 32.553 | 8.15 |
|  | 7 | 45.022 | 44.337 | -1.52 |
|  | 8 | 41.031 | 40.080 | -2.32 |
| Subacute poisoning | 1 | 5.195 | 5.074 | -2.34 |
|  | 2 | 5.125 | 5.574 | 8.75 |
|  | 3 | 6.201 | 5.931 | -4.36 |
|  | 4 | 4.183 | 4.295 | 2.68 |
|  | 5 | 4.389 | 4.695 | 6.97 |
|  | 6 | 4.876 | 4.252 | -12.80 |
|  | 7 | 3.296 | 2.983 | -9.50 |
|  | 8 |  |  |  |

Missing data indicate that the pancreas of the corresponding rat was not collected due to operational negligence.

Table S13 The thallium concentrations (mg/kg or mg/L) in control rats measured by ICP-MS method

| Testing material | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Urine | 0.016 | 0.137 | 0.073 | 0.090 | 0.063 | 0.001 | 0.003 | 0.006 |
| Heart | 0.038 | 0.049 | 0.022 | 0.033 | 0.076 | 0.011 | 0.007 | 0.012 |
| Liver | 0.016 | 0.009 | 0.007 | 0.009 | 0.014 | 0.007 | 0.006 | 0.007 |
| Spleen | 0.021 | 0.044 | 0.012 | 0.023 | 0.029 | 0.010 | 0.005 | 0.010 |
| Lungs | 0.022 | 0.028 | 0.014 | 0.016 | 0.020 | 0.007 | 0.007 | 0.008 |
| Kidneys | 0.097 | 0.079 | 0.083 | 0.108 | 0.052 | 0.061 | 0.045 | 0.107 |
| Brain | 0.019 | 0.015 | 0.008 | 0.007 | 0.012 | 0.004 | 0.005 | 0.004 |
| Intestines | 0.021 | 0.015 | 0.011 | 0.016 | 0.009 | 0.008 | 0.007 | 0.010 |
| Stomach | 0.019 | 0.026 | 0.010 | 0.015 | 0.011 | 0.009 | 0.006 | 0.009 |
| Testes | 0.018 | 0.029 | 0.015 | 0.016 | 0.013 | 0.010 | 0.009 | 0.014 |
| Pancreas | 0.085 | 0.027 | 0.018 | 0.021 | 0.014 | 0.014 | 0.008 | 0.020 |

Note: Numbers 1-4 are control rats in acute experiment, and numbers 5-8 are control rats in subacute experiment. Thallium was detected in the blood of rats in the control group, but the content was lower than 1 μg/L, so it was not displayed.