| 92% | Digital slide and virtual microscopy-based routine and telepathology evaluation of routine gastrointestinal biopsy specimen | 2003 | Molnar et al., Semmelweis University, Budapest, Hungary (11) |
| --- | --- | --- | --- |
| 95% | WSI for primary diagnosis in the gastrointestinal tract | 2009 | Al Janabi et al, Utrecht, NL (7) |
| 95% | Concordance between digital pathology and light microscopy in general surgical practice: a pilot study of 100 cases | 2014 | Houghton et al., Belfast, Ireland (12) |
| 92,4 % | The diagnostic concordance of WSI and light microscopy, review, and the result is weighted by the number of studies | 2017 | Goacher et al., University of Leeds, England (5) |
| 97,8% | Validation of a WSI teleconsultation network | 2018 | Baidoshvili et al., Labpon Hengelo, Isala Zwolle, UMCG Groningen (3) |

Table 1. Results of concordance studies from different years (2, 4, 6,13, 14)