| Case number | Several pathologists found perineural invasion without software | Several pathologists found perineural invasion with software | Description |
| --- | --- | --- | --- |
| 31 | 2 | 3 |  |
| 33 | 4 | 2 |  |
| 37 | 3 | 2 | *1 |
| 46 | 3 | 4 |  |
| 51 | 4 | 1 |  |
| 58 | 4 | 1 |  |
| 61 | 1 | 3 | *2 |
| 68 | 3 | 3 | *3 |
| 71 | 4 | 4 |  |
| 72 | 2 | 3 |  |
| 81 | 3 | 4 |  |
| 84 | 4 | 3 | *4 |
| 98 | 1 | 4 |  |
| 99 | 4 | 4 |  |
| 102 | 2 | 3 |  |
| 103 | 1 | 3 |  |
| 129 | 0 | 3 |  |
| 136 | 2 | 3 |  |
| 141 | 1 | 4 |  |
| 146 | 0 | 4 |  |

Table 8. Comparison of the cases reported positive by 3 or more pathologists without and with software. (Increase in recognizing with software:     ; Decrease in recognizing with software:    ; software  Concordance between with and without software: no sign

*1 One of the 3 pathologists missed it with software

*2 The pathologist who found it without software could not find it with the software

*3 The pathologist who has found it without software missed it with software, and one of the pathologists who have not found it without software could find it with software

*4 One of the 3 pathologists missed it with software