# Supplement 1 to Levonorgestrel and creamatocrit levels in milk among postpartum women using a levonorgestrel IUD

# The justification for using enzyme-linked immunosorbent assay (ELISA) over mass spectrometry in this protocol is one of cost and feasibility. We appreciate that, especially at very low levels, mass spectrometry has higher specificity and sensitivity for endogenous hormones  [1]. Reasons for the lower performance of immunoassays include variations in sample preparation and extraction and “drift”—when subsequent tests are compared to previous tests rather than a standard [2].  ELISA remains widely used in animal research and wastewater contamination with endocrine disruptors. When we conducted the parent study, there was no commercially available immunoassay for levonorgestrel (LNG).

# Arbor Assays is a well-established manufacturer of a wide range of  ELISA testing kits for use in biological science and the pharmaceutical industry. In partnership with the International Society for Wildlife Endocrinology, they develop highly sensitive ELISA kits for use across species. Their kits are designed to be stable at very low levels of hormone. The LNG assay kit is designed to detect between 6.25 and 200 pg/mL of LNG. According to the product insert, the absolute lower limit of detection was determined to be 2.74 pg/mL [3].

# Specific to 2. Materials and Methods, 2.4 Levonorgestrel Assay

# In our study, the inter-assay coefficient of variability (CV) was 7.7% and the intra-assay CV was 1.9%. Overall (inter-assay) dilution linearity was 91.8%. Repeat testing was done whenever there was a <75% linearity or a high CV on the optical densities.  All samples were tested at 1:3 and 1:4 dilutions, and samples that required repeat assays were additionally diluted to 1:6. The vast majority of the assays resulted in a range between 13.23 pg/mL and 50 pg/mL. Only nine samples registered over 50 pg/mL. Linearity among samples < 50 pg/mL was consistent with the overall linearity.

[1] Handelsman D, Wartofsky L. Requirement for mass spectrometry sex steroid assays in the Journal of Clinical Endocrinology and Metabolism. Oxford University Press; 2013.

[2] Liere P, Schumacher M. Mass spectrometric analysis of steroids: all that glitters is not gold. Expert Rev Endocrinol Metab. 2015;10:463-5.

[3] Assays A. DetectX® Levonorgestrel (LNG) Enzyme Immunoassay Kit. 2016.