Salt – I

Datablock: shelx

| Bond precision: | C-C = 0.0020 A | Wavelength=0.71073 |
| --- | --- | --- |

| Cell: | a=8.8829(2) | b=15.1248(3) | c=10.4933(3) |
| --- | --- | --- | --- |
|  | alpha=90 | beta=98.392(1) | gamma=90 |
| Temperature: | 293 K |  |  |

|  | Calculated | Reported |
| --- | --- | --- |
| Volume | 1394.70(6) | 1394.70(6) |
| Space group | P 21/n | P 21/n |
| Hall group | -P 2yn | P 21/n |
| Moiety formula | C7 H6 N O3, C6 H10 N3 O | C13 H16 N4 O4 |
| Sum formula | C13 H16 N4 O4 | C13 H16 N4 O4 |
| Mr | 292.30 | 292.30 |
| Dx,g cm-3 | 1.392 | 1.392 |
| Z | 4 | 4 |
| Mu (mm-1) | 0.106 | 0.106 |
| F000 | 616.0 | 616.0 |
| F000' | 616.30 |  |
| h,k,lmax | 10,18,12 | 10,18,12 |
| Nref | 2712 | 2690 |
| Tmin,Tmax | 0.971,0.981 |  |
| Tmin' | 0.970 |  |

| Correction method= Not given |  |
| --- | --- |

| Data completeness= 0.992 | Theta(max)= 25.910 |
| --- | --- |

| R(reflections)= 0.0507( 2573) | wR2(reflections)= 0.1258( 2690) |
| --- | --- |

| S = 1.183 | Npar= 228 |
| --- | --- |

The following ALERTS were generated. Each ALERT has the format

test-name_ALERT_alert-type_alert-level.

Click on the hyperlinks for more details of the test.

Alert level C

PLAT127_ALERT_1_C Implicit Hall Symbol  Inconsistent with Explicit     P 21/n

PLAT355_ALERT_3_C Long   O-H (X0.82,N0.98A)  O4       - H4       .       1.01 Ang.

PLAT906_ALERT_3_C Large K Value in the Analysis of Variance ......      9.503 Check

PLAT911_ALERT_3_C Missing FCF Refl Between Thmin & STh/L=    0.600         21 Report

PLAT913_ALERT_3_C Missing # of Very Strong Reflections in FCF ....          7 Note

Alert level G

PLAT042_ALERT_1_G Calc. and Reported MoietyFormula Strings  Differ     Please Check

PLAT120_ALERT_1_G Reported P21/n     Inconsistent with Explicit       P21/n   Check

PLAT199_ALERT_1_G Reported _cell_measurement_temperature ..... (K)        293 Check

PLAT200_ALERT_1_G Reported   _diffrn_ambient_temperature ..... (K)        293 Check

PLAT910_ALERT_3_G Missing # of FCF Reflection(s) Below Theta(Min).          2 Note

PLAT941_ALERT_3_G Average HKL Measurement Multiplicity ...........        3.0 Low

PLAT961_ALERT_5_G Dataset Contains no Negative Intensities .......     Please Check

PLAT978_ALERT_2_G Number C-C Bonds with Positive Residual Density.          4 Info

PLAT992_ALERT_5_G Repd & Actual _reflns_number_gt Values Differ by          3 Check

0 ALERT level A = Most likely a serious problem - resolve or explain

0 ALERT level B = A potentially serious problem, consider carefully

5 ALERT level C = Check. Ensure it is not caused by an omission or oversight

9 ALERT level G = General information/check it is not something unexpected

5 ALERT type 1 CIF construction/syntax error, inconsistent or missing data

1 ALERT type 2 Indicator that the structure model may be wrong or deficient

6 ALERT type 3 Indicator that the structure quality may be low

0 ALERT type 4 Improvement, methodology, query or suggestion

2 ALERT type 5 Informative message, check

Salt – II

Datablock: shelx

| Bond precision: | C-C = 0.0044 A | Wavelength=0.71076 |
| --- | --- | --- |

| Cell: | a=8.329(6) | b=9.962(8) | c=9.998(7) |
| --- | --- | --- | --- |
|  | alpha=111.66(2) | beta=111.263(13) | gamma=94.052(18) |
| Temperature: | 293 K |  |  |

|  | Calculated | Reported |
| --- | --- | --- |
| Volume | 698.2(9) | 698.1(9) |
| Space group | P -1 | P -1 |
| Hall group | -P 1 | -P 1 |
| Moiety formula | C7 H4 Cl O3, C6 H10 N3 O | C13 H14 N3 O4 Cl1 |
| Sum formula | C13 H14 Cl N3 O4 | C13 H14 Cl N3 O4 |
| Mr | 311.72 | 311.72 |
| Dx,g cm-3 | 1.483 | 1.483 |
| Z | 2 | 2 |
| Mu (mm-1) | 0.294 | 0.294 |
| F000 | 324.0 | 324.0 |
| F000' | 324.45 |  |
| h,k,lmax | 11,13,13 | 11,13,13 |
| Nref | 3459 | 3433 |
| Tmin,Tmax | 0.945,0.970 | 0.594,0.746 |
| Tmin' | 0.909 |  |

| Correction method= # Reported T Limits: Tmin=0.594 Tmax=0.746 AbsCorr = MULTI-SCAN |  |
| --- | --- |

| Data completeness= 0.992 | Theta(max)= 28.285 |
| --- | --- |

| R(reflections)= 0.0641( 2483) | wR2(reflections)= 0.1624( 3433) |
| --- | --- |

| S = 1.086 | Npar= 216 |
| --- | --- |

The following ALERTS were generated. Each ALERT has the format

test-name_ALERT_alert-type_alert-level.

Click on the hyperlinks for more details of the test.

Alert level C

ABSTY02_ALERT_1_C  An _exptl_absorpt_correction_type has been given without

a literature citation. This should be contained in the

_exptl_absorpt_process_details field.

Absorption correction given as multi-scan

RADNW01_ALERT_1_C  The radiation wavelength lies outside the expected range

for the supplied radiation type. Expected range 0.71065-0.71075

Wavelength given =    0.71076

PLAT250_ALERT_2_C Large U3/U1 Ratio for Average U(i,j) Tensor ....        2.2 Note

PLAT250_ALERT_2_C Large U3/U1 Ratio for Average U(i,j) Tensor ....        2.2 Note

PLAT340_ALERT_3_C Low Bond Precision on  C-C Bonds ...............     0.0044 Ang.

PLAT906_ALERT_3_C Large K Value in the Analysis of Variance ......     16.282 Check

PLAT906_ALERT_3_C Large K Value in the Analysis of Variance ......      2.998 Check

PLAT911_ALERT_3_C Missing FCF Refl Between Thmin & STh/L=    0.600          8 Report

Alert level G

PLAT007_ALERT_5_G Number of Unrefined Donor-H Atoms ..............          2 Report

PLAT042_ALERT_1_G Calc. and Reported MoietyFormula Strings  Differ     Please Check

PLAT199_ALERT_1_G Reported _cell_measurement_temperature ..... (K)        293 Check

PLAT200_ALERT_1_G Reported   _diffrn_ambient_temperature ..... (K)        293 Check

PLAT790_ALERT_4_G Centre of Gravity not Within Unit Cell: Resd.  #          2 Note

C6 H10 N3 O

PLAT883_ALERT_1_G No Info/Value for _atom_sites_solution_primary .     Please Do !

PLAT910_ALERT_3_G Missing # of FCF Reflection(s) Below Theta(Min).          2 Note

PLAT912_ALERT_4_G Missing # of FCF Reflections Above STh/L=  0.600         15 Note

PLAT913_ALERT_3_G Missing # of Very Strong Reflections in FCF ....          1 Note

PLAT941_ALERT_3_G Average HKL Measurement Multiplicity ...........        2.8 Low

PLAT978_ALERT_2_G Number C-C Bonds with Positive Residual Density.          6 Info

PLAT992_ALERT_5_G Repd & Actual _reflns_number_gt Values Differ by          2 Check

0 ALERT level A = Most likely a serious problem - resolve or explain

0 ALERT level B = A potentially serious problem, consider carefully

8 ALERT level C = Check. Ensure it is not caused by an omission or oversight

12 ALERT level G = General information/check it is not something unexpected

6 ALERT type 1 CIF construction/syntax error, inconsistent or missing data

3 ALERT type 2 Indicator that the structure model may be wrong or deficient

7 ALERT type 3 Indicator that the structure quality may be low

2 ALERT type 4 Improvement, methodology, query or suggestion

2 ALERT type 5 Informative message, check