	
	
	




Supplementary Methods 1.

PCRs
AAV2 PCR was developed by the Dutch National Institute for Public Health and the Environment and primers and probes targeted the NSP and VP1 regions. RNA was extracted from 190 ul sample with the addition of 10 ul internal control, phocine distemper virus (PDV), using the NucliSense EasyMag (bioMérieux, Lyon, France). qPCR was performed in a total reaction volume of 20 ul using 5 ul RNA, 1xTaqMan® Fast Virus 1-Step Master Mix (Applied Biosystems, Foster City, CA, USA), 500 nM forward and reverse primers for AAV2 VP1 or NSP, 250 nM AAV2 VP1 or NSP probes, 300 nM forward and reverse primers for PDV, 100 nM probe for PDV and DNase/RNase free water (Sigma). Reactions were run on an ABI7500 using the profile of 15 min 50 ◦C, 3 min 95 ◦C, followed by 50 cycles of 10 s 95 ◦C and 30 s 55 ◦C.
PCRs targeting HAdv, EBV, HHV6, VZV, and TTV were performed as described previously (https://doi.org/10.1016/j.jcv.2020.104566, https://doi.org/10.3390/pathogens11020236). 
Metagenomic findings were confirmed by PCR preceded by repeated nucleic acids extraction. 



	
	
	



