|  | Power PROTM XT | Matsunaga GT-06T | Exchange model 4070 | Scud Mate |
| --- | --- | --- | --- | --- |
| Maximum load | 318 kg | Undescribed | 159 kg | 181 kg |
| Highest position | 1,050 mm | Undescribed | 960 mm | 935 mm |
| Lowest position | 360 mm | Undescribed | 250 mm | 345 mm |
| Length | Standard: 2,060 mm | Fix | Fix | Standard: 1,960 mm |
|  | Minimum: 1,600 mm | 2,100 mm | 1,970 mm | Minimum: 1,760 mm |
| Width | 580 mm | 600 mm | 560 mm | 560 mm |
| Weight | 57 kg | 24.3 kg | 29 kg | 42.7 kg |
| Verified by | Group A, B, C (n = 41) | Group A (n = 15) | Group C (n = 10) | Group B (n = 16) |

Supplementary Table 1. Characteristics of four types of stretchers