Table 1c. P/R protocol in continuous rotation: penetration from 16 to 18mm. The protocol considers the 1mm wedge positioned between the instrument and the resin block.

|  |  |  | Penetration [mm] | Speed [mm/s] | Stop [s] |
| --- | --- | --- | --- | --- | --- |
| Group 6 | Cycle 18 | Charge | 17.25 17 | 2 2 |  |
|  |  | Discharge |  |  |  |
|  | Cycle 19 | Charge | 17,5 17.25 | 2 2 |  |
|  |  | Discharge |  |  |  |
|  | Irrigation |  | -51 | 15 | 5 |
| Group 7 | Cycle 20 | Charge | 17.75 17.5 | 2 2 |  |
|  |  | Discharge |  |  |  |
|  | Cycle 21 | Charge | 18 17.75 | 2 2 |  |
|  |  | Discharge |  |  |  |
|  | Irrigation |  | -51 | 15 | 5 |
| Group 8 | Cycle 22 | Charge | 18.25 18 | 2 2 |  |
|  |  | Discharge |  |  |  |
|  | Cycle 23 | Charge | 18.5 18.25 | 2 2 |  |
|  |  | Discharge |  |  |  |
|  | Irrigation |  | -51 | 15 | 5 |
| Group 9 | Cycle 24 | Charge | 18.75 18,5 | 2 2 |  |
|  |  | Discharge |  |  |  |
|  | Cycle 25 | Charge | 19 18.75 | 2 2 |  |
|  |  | Discharge |  |  |  |
|  | Irrigation |  | -51 | 15 | 5 |