Table 1a. P/R protocol in continuous rotation: penetration from 10 to 14mm. The protocol considers the 1mm wedge positioned between the instrument and the resin block.

|  |  |  | Penetration [mm] | Speed [mm/s] | Stop [s] |
| --- | --- | --- | --- | --- | --- |
| Group 1 | Cycle 1 | Charge | 11 10.5 | 5 5 |  |
|  |  | Discharge |  |  |  |
|  | Cycle 2 | Charge | 11.5 11 | 5 5 |  |
|  |  | Discharge |  |  |  |
|  | Cycle 3 | Charge | 12 11.5 | 5 5 |  |
|  |  | Discharge |  |  |  |
|  | Irrigation |  | -51 | 15 | 5 |
| Group 2 | Cycle 4 | Charge | 12.5 12 | 5 5 |  |
|  |  | Discharge |  |  |  |
|  | Cycle 5 | Charge | 13 12.5 | 5 5 |  |
|  |  | Discharge |  |  |  |
|  | Cycle 6 | Charge | 13.5 13 | 5 5 |  |
|  |  | Discharge |  |  |  |
|  | Irrigation |  | -51 | 15 | 5 |
| Group 3 | Cycle 7 | Charge | 14 13.5 | 5 5 |  |
|  |  | Discharge |  |  |  |
|  | Cycle 8 | Charge | 14.5 14 | 5 5 |  |
|  |  | Discharge |  |  |  |
|  | Cycle 9 | Charge | 15 14.5 | 5 5 |  |
|  |  | Discharge |  |  |  |
|  | Irrigation |  | -51 | 15 | 5 |