Table 1b. P/R protocol in continuous rotation: penetration from 14 to 16mm. The protocol considers the 1mm wedge positioned between the instrument and the resin block.

|  |  |  | Penetration [mm] |  | Speed [mm/s] |  | Stop [s] |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Group 4 | Cycle 10 | Charge | 15.25 15 | 2 2 |  |  |  |
|  |  | Discharge |  |  |  |  |  |
|  | Cycle 11 | Charge | 15.5 15.25 | 2 2 |  |  |  |
|  |  | Discharge |  |  |  |  |  |
|  | Cycle 12 | Charge | 15.75 15.5 | 2 2 |  |  |  |
|  |  | Discharge |  |  |  |  |  |
|  | Cycle 13 | Charge | 16 15.75 | 2 2 |  |  |  |
|  |  | Discharge |  |  |  |  |  |
|  | Irrigation |  | -51 | 15 |  | 5 |  |
| Group 5 | Cycle 14 | Charge | 16.25 16 | 2 2 |  |  |  |
|  |  | Discharge |  |  |  |  |  |
|  | Cycle 15 | Charge | 16.5 16.25 | 2 2 |  |  |  |
|  |  | Discharge |  |  |  |  |  |
|  | Cycle 16 | Charge | 16.75 16.5 | 2 2 |  |  |  |
|  |  | Discharge |  |  |  |  |  |
|  | Cycle 17 | Charge | 17 16.75 | 2 2 |  |  |  |
|  |  | Discharge |  |  |  |  |  |
|  | Irrigation |  | -51 | 15 |  | 5 |  |