Method Development and Validation for the Analysis of Coumarin-based Phototoxins in Citrus-derived Essential Oils Using Liquid Chromatography-Mass Spectrometry

Siheng Li*,a, Colleen Kellyb, Radim Knoba, Kent McConnella, Justin Barretta

adōTERRA International, Pleasant Grove, UT, USA

bdōTERRA Global, Cork, Ireland

*Corresponding author: Siheng Li; sli1@doterra.com; 389 S 1300 W, Pleasant Grove, UT, 84062, USA

Table S1. The summary of method linearity determined from calibration curves established by a set of five calibration standards in the method validation study.

| Analyte | Linear correlation coefficient (r) of calibration curves |  |  |
| --- | --- | --- | --- |
|  | Run 1 | Run 2 | Run 3 |
| Trioxsalen | 0.99796 | 0.99897 | 0.99991 |
| Sphondin | 0.99621 | 0.99629 | 0.99932 |
| Psoralen | 0.99859 | 0.99919 | 0.99986 |
| Pimpinellin | 0.99835 | 0.99858 | 0.99989 |
| Phellopterin | 0.99846 | 0.99925 | 0.99987 |
| Oxypeucednin hydrate | 0.99864 | 0.99901 | 0.99907 |
| Oxypeucedanin | 0.99825 | 0.99848 | 0.99978 |
| Oxyimperatorin | 0.99882 | 0.99943 | 0.99964 |
| Isopimpinellin | 0.99913 | 0.99942 | 0.99989 |
| Isoimperatorin | 0.99711 | 0.99729 | 0.99974 |
| Isobergapten | 0.99818 | 0.99882 | 0.99961 |
| Imperatorin | 0.99830 | 0.99828 | 0.99987 |
| Epoxybergamottin | 0.99780 | 0.99937 | 0.99933 |
| Citropten | 0.99920 | 0.99902 | 0.99978 |
| Byakangelicol | 0.99873 | 0.99919 | 0.99984 |
| Byakangelicin | 0.99873 | 0.99910 | 0.99937 |
| Bergaptol | 0.99649 | 0.99835 | 0.99912 |
| Bergapten | 0.99922 | 0.99931 | 0.99990 |
| Bergamottin | 0.99802 | 0.99872 | 0.99982 |
| Angelicin | 0.99860 | 0.99899 | 0.99974 |
| Methoxsalen (8-MOP) | 0.99926 | 0.99928 | 0.99984 |
| 8-Geranyloxypsoralen | 0.99653 | 0.99751 | 0.99966 |
| 7-Methoxycoumarin | 0.99943 | 0.99838 | 0.99991 |
| 6-Methylcoumarin | 0.99814 | 0.99884 | 0.99955 |
| 5-geranoxy-7-methoxycoumarin | 0.99769 | 0.99833 | 0.99929 |

Table S2. The summary of method accuracy (determined from mean % spike recovery) and precision (in parentheses as % RSD) from yuzu oil fortified at 5, 20, 40, and 48 µg/g in the method validation study.

| Analyte | Fortified level on sample |  |  |  |
| --- | --- | --- | --- | --- |
|  | 5 µg/g | 20 µg/g | 40 µg/g | 48 µg/g |
| Trioxsalen | 97 (4.6) | 101 (0.9) | 99 (2.3) | 95 (1.5) |
| Sphondin | 106 (5.9) | 96 (1.1) | 96 (3.5) | 93 (1.8) |
| Psoralen | 108 (7.9) | 105 (1.2) | 101 (1.3) | 100 (1.8) |
| Pimpinellin | 97 (8.1) | 99 (0.6) | 96 (1.0) | 93 (1.8) |
| Phellopterin | 104 (6.7) | 101 (1.0) | 98 (0.9) | 95 (1.8) |
| Oxypeucednin hydrate | 112 (7.4) | 106 (1.2) | 100 (0.9) | 97 (1.3) |
| Oxypeucedanin | 97 (6.7) | 97 (1.0) | 98 (2.2) | 96 (1.5) |
| Oxyimperatorin | 103 (7.7) | 104 (1.0) | 104 (0.7) | 103 (1.5) |
| Isopimpinellin | 105 (6.3) | 102 (2.9) | 98 (2.2) | 96 (2.3) |
| Isoimperatorin | 91 (7.1) | 96 (1.7) | 89 (2.2) | 84 (1.0) |
| Isobergapten | 102 (6.5) | 104 (1.5) | 98 (1.6) | 96 (1.6) |
| Imperatorin | 110 (7.4) | 110 (0.6) | 106 (1.4) | 103 (0.5) |
| Epoxybergamottin | 95 (5.1) | 94 (1.2) | 96 (1.0) | 93 (1.6) |
| Citropten | 104 (7.1) | 97 (2.1) | 99 (1.9) | 94 (1.2) |
| Byakangelicol | 105 (4.4) | 103 (1.4) | 102 (0.8) | 99 (0.9) |
| Byakangelicin | 110 (9.3) | 105 (1.5) | 102 (1.2) | 101 (3.3) |
| Bergaptol | 111 (7.2) | 107 (1.5) | 99 (1.3) | 95 (1.1) |
| Bergapten | 102 (5.4) | 100 (1.9) | 99 (1.6) | 96 (3.0) |
| Bergamottin | 78 (4.1) | 78 (1.2) | 73 (1.2) | 71 (0.9) |
| Angelicin | 108 (5.0) | 102 (4.7) | 98 (2.7) | 96 (2.9) |
| 8-MOP | 107 (7.5) | 102 (2.0) | 102 (1.4) | 100 (1.6) |
| 8-Geranyloxypsoralen | 90 (6.0) | 95 (1.7) | 88 (2.0) | 85 (1.9) |
| 7-Methoxycoumarin | 107 (6.7) | 103 (0.1) | 97 (0.8) | 94 (1.1) |
| 6-Methylcoumarin | 106 (5.5) | 96 (2.1) | 100 (1.4) | 98 (1.9) |
| 5-geranoxy-7-methoxycoumarin | 61 (5.0) | 71 (2.0) | 67 (1.5) | 66 (1.2) |

Table S3. The summary of lowest S/N of each analyte peak from yuzu oil fortified at LOQ level (5 µg/g) in the method validation study.

| Analyte | Lowest S/N |
| --- | --- |
| Trioxsalen | 52 |
| Sphondin | 115 |
| Psoralen | 377 |
| Pimpinellin | 437 |
| Phellopterin | 411 |
| Oxypeucednin hydrate | 486 |
| Oxypeucedanin | 699 |
| Oxyimperatorin | 618 |
| Isopimpinellin | 759 |
| Isoimperatorin | 127 |
| Isobergapten | 601 |
| Imperatorin | 39 |
| Epoxybergamottin | 68 |
| Citropten | 396 |
| Byakangelicol | 166 |
| Byakangelicin | 547 |
| Bergaptol | 25 |
| Bergapten | 585 |
| Bergamottin | 131 |
| Angelicin | 102 |
| 8-MOP | 390 |
| 8-Geranyloxypsoralen | 22 |
| 7-Methoxycoumarin | 80 |
| 6-Methylcoumarin | 217 |
| 5-geranoxy-7-methoxycoumarin | 369 |

A

B

Figure S1. The overlaid extracted-ion chromatograms of blank yuzu oil (A) and yuzu oil fortified with 5 µg/g targeted coumarin derivatives (B).