Supplementary Table 1 Diagnostic performance of nurse-measured and kiosk BP values among patients treated for hypertension, with daytime ABPM as reference* (n = 94) 
	Daytime ABPM
≥135/85 (reference)
	Nurse-measured BP ≥140/90
	Kiosk I 
BP ≥135/85
	Kiosk II
BP ≥140/90

	Reference positive for hypertension, %
	50.0
	50.0
	50.0

	Sensitivity, % (95% CI)
	63.8 (48.5–77.3)
	87.2 (74.3–95.2)
	74.4 (59.7–86.1)

	Specificity, % (95% CI)
	70.2 (55.1–82.7)
	34.0 (20.9–49.3)
	63.8 (48.5–77.3)

	Positive predictive value, % (95% CI)
	68.1 (56.8–77.8)
	56.9 (51.2–62.5)
	67.3 (57.6–75.2)

	Negative predictive value, % (95% CI)
	66.0 56.0–74.8)
	72.7 (53.4–86.2)
	71.4 (59.5–81.0)

	Positive likelihood ratio, (95% CI)
	2.14 (1.31–3.49)
	1.32 (1.05–1.67)
	2.06 (1.36–3.12)

	Negative likelihood ratio, (95% CI)
	0.52 (0.34–0.79)
	0.37 (0.16–0.87)
	0.40 (0.23–0.68)

	True positive (hypertensive), n (%)
	30 (31.9)
	41 (43.6)
	35 (37.2)

	True negative (hypertensive), n (%)
	33 (35.1)
	16 (17.0)
	30 (32.0)

	False positive, n (%)
	14 (14.9)
	31 (33.0)
	17 (18.1)

	False negative, n (%)
	17 (18.1)
	6 (6.4)
	12 (12.8)

	Accuracy, % (95% CI)
	67.0 (56.6–76.4)
	60.6 (50.0–70.6)
	69.2 (58.8–78.3)


*Diagnostic BP thresholds: daytime ABPM (reference), ≥135 mmHg systolic and/or ≥85 mmHg diastolic; nurse-measured, ≥140 mmHg systolic and/or ≥90 mmHg diastolic; and kiosk, ≥135 mmHg systolic and/or ≥85 mmHg diastolic (Kiosk I) or ≥140 mmHg systolic and/or ≥90 mmHg diastolic (Kiosk II) 
Abbreviations: ABPM: ambulatory BP monitoring; BP: blood pressure; CI: confidence interval

 
