Tab. 1 Specifications of the CVT

| Accuracy Levels | Nominal Output Capacity Sn/Va | Nominal Voltage Un/Kv | Nominal Ratio Kcvt | Nominal Electrical Capacity |
| --- | --- | --- | --- | --- |
| 0.2/0.5/3P | 10/10/10 | 110/ | 1100 | 0.01 |

Tab. 2 Actual injected harmonic currents, estimation of the injected harmonic currents, and their REs and RMSEs before and after the reconstruction of harmonic voltage

| Number of Harmonics | Node Number | Injected Harmonic Actual Current Value /A | Estimated Value Before Reconstruction /A | Estimated Value After Reconstruction /A | Before Reconstruction (RE)/% | After Reconstruction (RE)/% | Before Reconstruction (RMSE) | After Reconstruction (RMSE) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3 | 4 | 2.000 +j2.000 | 1.3387 + j2.1938 | 2.0030 + j2.0013 | 24.363 | 0.116 | 0.9777 | 0.0047 |
|  | 5 | 2.000 +j2.000 | 1.3333 + j2.1915 | 1.9966 + j2.0002 | 24.523 | 0.121 |  |  |
| 5 | 4 | 2.000 +j2.000 | 0.8032 + j2.3768 | 2.0003 + j2.0048 | 44.360 | 0.170 | 1.7752 | 0.0071 |
|  | 5 | 2.000+j2.000 | 0.8004 + j2.3714 | 1.9948 + j2.0007 | 44.398 | 0.185 |  |  |
| 7 | 4 | 2.000 +j2.000 | 0.1252 + j2.3561 | 2.0029 + 2.0030 | 67.471 | 0.149 | 2.7005 | 0.0067 |
|  | 5 | 2.000+ j2.000 | 0.7653 + j2.2249 | 1.9947 + j2.0002 | 67.552 | 0.186 |  |  |
| 9 | 4 | 2.000 +j2.000 | −0.5790 + j1.9067 | 2.0023 + j2.0041 | 91.240 | 0.164 | 3.6501 | 0.0071 |
|  | 5 | 2.000+ j2.000 | −0.5795 + j1.9010 | 1.9946 + j2.0008 | 91.265 | 0.190 |  |  |

Tab. 3. Influence of different measurement characteristics on state estimation of nonharmonic source buses

| Node Number | Reconstruction Factor Differences |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | 0% | 0.5% |  | 1% | 2% |
| 2 | 0 |  | 0.018+ j0.038 A | 0.035+ j0.076 A | 0.007+ j0.153 A |
| 3 | 0 |  | 0.017+ j0.040 A | 0.034+ j0.079 A | 0.069+ j0.159 A |
| 7 | 0 |  | 0.019+ j0.031 A | 0.038+ j0.062 A | 0.075+ j0.125 A |
| 9 | 0 |  | 0.072+j 0.012 A | 0.014+ j0.024 A | 0.029+ j0.047 A |

Tab. 4 Configurations of PMU

| Program No. | Configuration of the Node Number of the Measurement Device | Program No. | Configuration of the Node Number of the Measurement Device |
| --- | --- | --- | --- |
| 1 | 2,6,7,9,10,13 | 4 | 7,9,10,13 |
| 2 | 6,7,9,10,13 | 5 | 9,10,13 |
| 3 | 6,9,10,13 | 6 | 9,13 |

Tab. 5 Content of harmonic currents and RMSEs before the reconstruction of harmonic voltage

| Harmonic Frequency | Harmonic Current Content (A) | Before Reconstruction (RMSE) | Harmonic Frequency | Harmonic Current Content (A) | Before Reconstruction (RMSE) |
| --- | --- | --- | --- | --- | --- |
| 2 | 0.8745 | 0.2495 | 15 | 1.1575 | 2.4168 |
| 3 | 0.691 | 0.3399 | 16 | 0.3377 | 0.6532 |
| 4 | 2.4319 | 1.6333 | 17 | 1.2246 | 2.3345 |
| 5 | 1.4452 | 1.2418 | 18 | 0.5961 | 1.1263 |
| 6 | 3.125 | 3.4411 | 19 | 0.3316 | 0.6167 |
| 7 | 1.8539 | 2.4306 | 20 | 0.6898 | 1.2817 |
| 8 | 0.6665 | 1.0705 | 21 | 0.2678 | 0.4838 |
| 9 | 1.8078 | 3.2845 | 22 | 0.327 | 0.5799 |
| 10 | 1.1797 | 2.4136 | 23 | 2.5505 | 4.3978 |
| 11 | 0.7501 | 1.5984 | 24 | 0.1489 | 0.2535 |
| 12 | 0.6451 | 1.4143 | 25 | 2.1 | 3.4957 |
| 13 | 0.9364 | 2.0274 | 50 | 0.2000 | 0.261 |
| 14 | 0.7614 | 1.5932 |  |  |  |

Tab. A1. Parameters of CVT

| Elements | Parameters | Elements | Parameters |
| --- | --- | --- | --- |
| / | 1 | /H | 4.683 |
| /pF | 19930 | / | 8870000 |
| /pF | 14629 | / | 0.0485 |
| /pF | 149.71 | /mH | 0.1427 |
| / | 608 | / | 93 |
| /H | 203.59 | / | 2.78 |
| / | 446 | /H | 0.177 |

Tab. A2. Magnetizing characteristics of SDT

| Current/A | Magnetic Chains/Wb |
| --- | --- |
| 0.003430 | 73.5350 |
| 0.004668 | 77.6537 |
| 0.005875 | 81.4258 |
| 0.007907 | 84.8511 |
| 0.790712 | 1966.0534 |