Supplementary information

Discovery of the origin of the enormous 88Zr neutron-capture cross section and quantifying its impact on applications

Paul E. Koehler1, Athanasios Stamatopoulos1*, Andrew L. Cooper1,

Aaron Couture1, Brad DiGiovine2, Artem V. Matyskin3, Veronika Mocko4,

Jonathan Morrell4, Ellen O’Brien4, Christiaan Vermeulen4

1*Physics Division, Los Alamos National Laboratory, Los Alamos, 87545, New Mexico, USA.

2Weapon Stockpile Modernization Division, Los Alamos National Laboratory, Los Alamos, 87545, New Mexico, USA.

3Radiation Science & Engineering Center, College of Engineering, Pennsylvania State University, 135 Breazeale Nuclear Reactor, University Park, 16801, Pennsylvania, USA.

4Chemistry Division, Los Alamos National Laboratory, Los Alamos, 87545, New Mexico, USA.

*Corresponding author(s). E-mail(s): thanos@lanl.gov

Supplementary information files include,

- Table S1 of DICER transmission data in Fig. 2 of main paper

- Fig. S1 showing the g-ray spectra for the 88Zr sample and the two 88Y standards we fabricated.

- File Zr88ngSigsForNatureSuppl.xlsx containing table of DICER-related 88Zr(n,g) neutron-capture cross sections in barns shown in Fig. 3, Columns in this spreadsheet are A) Incident neutron energies in eV; B and C) 1s minimum and maximum, respectively, cross sections calculated from fit to DICER transmission data; D, E, and F) Recommended, 1s minimum, and 1s maximum, respectively, cross sections from combination of DICER and Talys1.8.

Fig. S1. Gamma-ray spectra measured with a high-purity germanium detector. Panel a) is for the 88Zr sample measured with DICER. Panels b) and c) are for the two 88Y calibrated samples. Peaks at 898 and 1836 keV due to the decay of 88Y and at 393 keV from 88Zr decay are labeled. The other small peaks are single- and double-escape peaks for the 1836-keV g ray and the 511-keV g ray due to positron annihilation.

Table S1. Data in Fig. 2 of main paper. Measured DICER neutron transmission through 7.44e-7 atoms of 88Zr/barn sample and R-matrix fit to these data

| Neutron energy (eV) | Transmission | 1 s standard deviation | R-matrix transmission |
| --- | --- | --- | --- |
| 0.0103 | 0.4464 | 0.0154 | 0.4545 |
| 0.0113 | 0.4800 | 0.0140 | 0.4677 |
| 0.0124 | 0.4874 | 0.0125 | 0.4804 |
| 0.0136 | 0.4937 | 0.0114 | 0.4927 |
| 0.0149 | 0.5186 | 0.0105 | 0.5045 |
| 0.0163 | 0.5289 | 0.0092 | 0.5157 |
| 0.0179 | 0.5288 | 0.0080 | 0.5263 |
| 0.0196 | 0.5428 | 0.0073 | 0.5364 |
| 0.0215 | 0.5452 | 0.0065 | 0.5457 |
| 0.0236 | 0.5498 | 0.0060 | 0.5544 |
| 0.0259 | 0.5649 | 0.0055 | 0.5623 |
| 0.0284 | 0.5724 | 0.0051 | 0.5694 |
| 0.0311 | 0.5755 | 0.0047 | 0.5757 |
| 0.0341 | 0.5776 | 0.0044 | 0.5810 |
| 0.0374 | 0.5831 | 0.0042 | 0.5853 |
| 0.0410 | 0.5808 | 0.0040 | 0.5885 |
| 0.0450 | 0.5867 | 0.0038 | 0.5905 |
| 0.0493 | 0.5871 | 0.0037 | 0.5912 |
| 0.0541 | 0.5896 | 0.0036 | 0.5905 |
| 0.0593 | 0.5873 | 0.0036 | 0.5882 |
| 0.0650 | 0.5844 | 0.0035 | 0.5841 |
| 0.0713 | 0.5810 | 0.0036 | 0.5781 |
| 0.0782 | 0.5715 | 0.0036 | 0.5700 |
| 0.0857 | 0.5618 | 0.0038 | 0.5597 |
| 0.0940 | 0.5485 | 0.0039 | 0.5471 |
| 0.1031 | 0.5337 | 0.0041 | 0.5325 |
| 0.1130 | 0.5213 | 0.0043 | 0.5164 |
| 0.1239 | 0.4997 | 0.0045 | 0.5000 |
| 0.1359 | 0.4875 | 0.0048 | 0.4854 |
| 0.1490 | 0.4754 | 0.0052 | 0.4757 |
| 0.1634 | 0.4746 | 0.0056 | 0.4754 |
| 0.1792 | 0.4874 | 0.0061 | 0.4888 |
| 0.1964 | 0.5123 | 0.0067 | 0.5192 |
| 0.2154 | 0.5572 | 0.0074 | 0.5664 |
| 0.2362 | 0.6238 | 0.0081 | 0.6256 |
| 0.2590 | 0.6953 | 0.0088 | 0.6888 |
| 0.2840 | 0.7554 | 0.0093 | 0.7486 |
| 0.3114 | 0.8140 | 0.0100 | 0.8001 |
| 0.3414 | 0.8557 | 0.0104 | 0.8418 |
| 0.3743 | 0.8769 | 0.0106 | 0.8743 |
| 0.4105 | 0.9072 | 0.0110 | 0.8991 |
| 0.4501 | 0.9315 | 0.0115 | 0.9179 |
| 0.4935 | 0.9256 | 0.0118 | 0.9320 |
| 0.5411 | 0.9514 | 0.0057 | 0.9427 |
| 0.5933 | 0.9516 | 0.0056 | 0.9509 |
| 0.6506 | 0.9575 | 0.0056 | 0.9572 |
| 0.7134 | 0.9608 | 0.0056 | 0.9620 |
| 0.7822 | 0.9770 | 0.0057 | 0.9658 |
| 0.8577 | 0.9660 | 0.0058 | 0.9688 |
| 0.9404 | 0.9680 | 0.0058 | 0.9712 |
| 1.0341 | 0.9728 | 0.0035 | 0.9732 |
| 1.3633 | 0.9757 | 0.0037 | 0.9771 |
| 1.7973 | 0.9741 | 0.0040 | 0.9794 |
| 2.3695 | 0.9756 | 0.0044 | 0.9809 |
| 3.1239 | 0.9896 | 0.0048 | 0.9820 |
| 4.1185 | 0.9765 | 0.0053 | 0.9828 |
| 5.4299 | 0.9973 | 0.0062 | 0.9836 |
| 7.1589 | 0.9834 | 0.0078 | 0.9844 |
| 9.4387 | 0.9708 | 0.0067 | 0.9851 |
| 12.4448 | 0.9661 | 0.0073 | 0.9860 |
| 16.4087 | 0.9759 | 0.0089 | 0.9869 |
| 21.6359 | 1.0016 | 0.0147 | 0.9880 |
| 28.5292 | 0.9768 | 0.0095 | 0.9891 |
| 37.6202 | 1.0083 | 0.0101 | 0.9903 |
| 49.6104 | 0.9903 | 0.0115 | 0.9916 |
| 65.4253 | 1.0087 | 0.0120 | 0.9929 |
| 86.2870 | 1.0148 | 0.0255 | 0.9941 |
| 113.8084 | 0.9670 | 0.0165 | 0.9952 |
| 150.1195 | 0.9894 | 0.0156 | 0.9963 |
| 198.0337 | 1.0102 | 0.0174 | 0.9971 |
| 261.2678 | 1.0045 | 0.0201 | 0.9979 |
| 344.7341 | 0.9788 | 0.0304 | 0.9984 |
| 454.9272 | 0.9909 | 0.0342 | 0.9989 |