SUPPLEMENTAL INFORMATION 2

Results of the Mesoscale Simulations for the Reference and the Eight Mitigation Scenarios During the Summertime

Table S2-1. Average Calculated values of the Mean, Max, and Min Values of the main climatic parameters for the reference and the 8 mitigation scenarios at 14:00 and 6:00.

| Scenario | Reference Riyadh | Reflective Riyadh | Very Reflective Riyadh | Green and Dry Riyadh | Green and Irrigated Riyadh | Very Green Non-Irrigated (Dry) Riyadh | Very Green and Irrigated Riyadh | Very Green – Very Reflective and Dry Riyadh | Very Green – Very Reflective and Irrigated Riyadh |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Max Summer Ambient Temperature at 14:00 pm | 46.9 | 45.6 | 45.6 | 47.0 | 46.5 | 47.1 | 46.2 | 46.2 | 45.6 |
| Mean Summer Ambient Temperature at 14:00 pm | 42.9 | 41.8 | 41.7 | 43.1 | 42.6 | 43.2 | 42.3 | 42.4 | 41.6 |
| Min Summer Ambient Temperature at 14:00 pm | 39.1 | 37.9 | 37.8 | 39.2 | 38.8 | 39.5 | 38.4 | 38.8 | 37.6 |
| Max Summer Ambient Temperature at 06:00 am | 38.6 | 37.1 | 37.1 | 38.5 | 37.3 | 39.0 | 38.1 | 38.3 | 37.4 |
| Mean Summer Ambient Temperature at 06:00 am | 33.0 | 31.7 | 31.7 | 32.7 | 31.8 | 32.1 | 30.9 | 30.9 | 30 |
| Min Summer Ambient Temperature at 6:00 am | 27.2 | 26.0 | 26.0 | 26.7 | 26.2 | 25.1 | 23.8 | 23.7 | 22.6 |
| Max Summer Surface Temperature at 14:00 pm | 53.3 | 48.4 | 48.4 | 54.1 | 52 | 55.1 | 42.3 | 51.5 | 52.3 |
| Mean Summer Surface Temperature at 14:00 pm | 49.7 | 44.5 | 44.5 | 50.0 | 48.2 | 50.4 | 33.8 | 47.0 | 44.7 |
| Min Summer Surface Temperature at 14:00 pm | 46.1 | 40.8 | 40.8 | 46.1 | 44.2 | 45.8 | 23.5 | 42.6 | 37.3 |
| Max Summer Sensible Heat at 14:00 pm, (W/M2) | 449.0 | 165.2 | 165.2 | 474.9 | 374.2 | 466.8 | 438 | 266.7 | 325 |
| Mean Summer Sensible Heat at 14:00 pm, (W/M2) | 329.2 | 120.6 | 120.6 | 344.9 | 262 | 357.7 | 221.8 | 212.0 | 101.8 |
| Max Summer Latent Heat at 14:00 pm, (W/M2) | 29.8 | 17.3 | 17.3 | 19.8 | 153.9 | 17.5 | 349.9 | 17.4 | 300.8 |
| Mean Summer Latent Heat at 14:00 pm, (W/M2) | 17.2 | 15.4 | 15.4 | 13.8 | 102.6 | 10.3 | 142.1 | 10.2 | 128.8 |

Table S2-2. Calculated Number of Hours above threshold ambient temperatures and the corresponding number of Cooling Degree Hours as calculated for the Reference and the eight Mitigation scenarios, during the summer period.

| Scenario | Reference Riyadh | Reflective Riyadh | Very Reflective Riyadh | Green and Dry Riyadh | Green and Irrigated Riyadh | Very Green Non-Irrigated Riyadh | Very Green and Irrigated Riyadh | Very Green – Very Reflective and Dry Riyadh | Very Green – Very Reflective and Irrigated Riyadh |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Number of Hours above 27 °C | 2176 | 2163 | 2156 | 2032 | 2048 | 1683 | 1678 | 1682 | 1682 |
| Number of Hours above 30 °C | 1987 | 1918 | 1901 | 1757 | 1746 | 1481 | 1476 | 1455 | 1454 |
| Number of Hours above 35 °C | 1399 | 1304 | 1286 | 1295 | 1257 | 1093 | 1131 | 1071 | 1075 |
| Number of Hours above 40 °C | 761 | 577 | 547 | 753 | 701 | 753 | 649 | 641 | 537 |
| Cooling Degree Hours Base 27 °C | 909 | 831 | 818 | 842 | 811 | 736 | 713 | 692 | 672 |
| Cooling Degree Hours Base 30 °C | 647 | 573 | 562 | 605 | 575 | 537 | 516 | 496 | 475 |
| Cooling Degree Hours Base 35 °C | 292 | 235 | 228 | 284 | 261 | 268 | 242 | 233 | 209 |
| Cooling Degree Hours Base 40 °C | 65 | 34 | 32 | 69 | 56 | 73 | 51 | 50 | 34 |

Figure S2-1a. Association between the background ambient temperature and the temperature drop during the daytime for the scenario of Very Reflective Riyadh

Figure S2-1b. Association between the background ambient temperature and the temperature drop during the nighttime for the scenario of Very Reflective Riyadh

Figure S2-2. Nigh-time (a) and daytime (b) Cooling Degree Hours for all the considered mitigation scenarios.

Table S2-3. Reduction of the cooling load of buildings with one to four stories under the Reflective and Very Reflective Riyadh scenarios.

|  | One Storey | Two Storey | Three Storey | Four Storey | Average All Buildings |
| --- | --- | --- | --- | --- | --- |
| Scenario Reflective Riyadh |  |  |  |  |  |
| Reduction of the Cooling Load – Indirect Impact (%) | 6.2 | 4.1 | 3.6 | 3.4 | 4.4 |
| Reduction of the Cooling Load – Combined Impact (%) | 7.8 | 5.4 | 5.3 | 5.3 | 5.6 |
| Scenario Very Reflective Riyadh |  |  |  |  |  |
| Reduction of the Cooling Load – Indirect Impact (%) | 8.2 | 5.3 | 4.5 | 4.2 | 5.2 |
| Reduction of the Cooling Load – Combined Impact (%) | 9.6 | 6.7 | 6.4 | 6.3 | 6.9 |

Note: Indirect impact considers the cooling load modification because of the ambient temperature reduction. Combined impact considers both the cooling load modification because of the ambient temperature reduction plus the decrease of the absorbed solar radiation by the roof of the building because of the increased albedo.

Table S2-4.  Characteristics of the building retrofit scenarios used in CityBES simulations

| Retrofit option | Description |
| --- | --- |
| Retrofit roof* | - Add insulation layer: reroof and roof with insulation R24.83 (R-value of 4.37 m2 K/W) - Apply Cool Roof Coating with Reflectivity of 0.75 to all buildings (office and residential) |
| Retrofit external wall* | - Add insulation layer: apply wall insulation of R21 (R-value of 2.04 m2 K/W) |
| Infiltration | - Add air sealing to seal leaks (reduction by 50% compared to the base case) |
| Retrofit windows | - Replace fixed windows to achieve a U-value of 1.6 W/m2K and SHGC of 0.2 - Use window shades/blinds in all building types |
| *Note: The R21 for walls is cavity insulation, while that R24.83 for roof is continuous insulation. The R-value noted above is for the insulation layer within the construction of roof or exterior wall. The wall external insulation was increased from 0.92 and 1.074 m2 K/W (in the baseline residential and office building respectively) to 2.04 m2 K/W in the retrofit scenario. The roof insulation was increased from 1.947 and 2.197 m2 K/W (in the baseline residential and office building respectively) to 4.37 m2 K/W in the retrofit scenario. |  |