Additional file 1. Comparison of the irradiation conditions between FLASH and conventional radiation

| Nominal electron energy | 6 MeV (FLASH) | 6 MeV (Conventional) |
| --- | --- | --- |
| Prescribed dose | 10, 20 Gy | 10, 20 Gy |
| Mouse samples (number) | 12, 12 | 8, 9 |
| Dose rate | 40 Gy/s | 0.067 Gy/s |
| Depth | 5 mm | 1.2 cm |
| Source-to-surface distance | 30 cm | 100 cm |
| Field size | 1 cm (circular) | 20 cm × 20 cm (cone) |