Single and combined phytoextraction of lead and cadmium on submerged plants Potamogeton pusillus L.: removal, bioaccumulation pattern, and phytotoxicity
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Table S1. Lead and Cd concentrations determined in certified reference materials (all data as means ± SD). NIST 1640a and 1643e (water CRMs) in µg L-1, NIST 1547 (peach leaves) and WEPAL 157 (beech leaves) in μg g-1 dry weight. 
	Element
	CRMs
	Certified
	Found
	Recovery (%)

	
	
	
	
	

	Cd
	NIST 1640a
	3.961 ± 0.072
	3.880 ± 0.091
	97.9

	
	NIST 1643e
	6.408 ± 0.071
	6.730 ± 0.161
	105.0

	
	NIST 1547
	0.0261 ± 0.0022
	0.0275 ± 0.0061
	105.0

	
	WEPAL 157
	193.8 ± 19.1
	187.7 ± 1.9
	97.0

	
	
	
	
	

	Pb
	NIST 1640a
	12.005 ± 0.040
	11.479 ± 0.123
	95.7

	
	NIST 1643e
	19.15 ± 0.20
	19.34 ± 0.78
	100.9

	
	NIST 1547
	0.869 ± 0.018
	0.786 ± 0.114
	90.0

	
	WEPAL 157
	6070 ± 545
	4980 ± 163
	82.1


     Figure S1. Pb accumulation in P. pusillus exposed to binary metal solution (0.5 mg L-1 Pb and increasing concentrations of Cd) (A), and Cd accumulation in P. pusillus exposed to binary metal solution (0.5 mg L-1 Cd and increasing concentrations of Pb) during 10 days of exposure. 
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