A Comparison Study of M-CuBTC MOFs (M: Fe, Zr) for Electrochemical Detection of Glyphosate

(Supplementary)

Nguyen Thi Ngoc Anh1+, Manh B. Nguyen2+, Dinh Trong Hoat3, Vu Cam Tu4, Pham Thi Hai Yen2, Pham Hong Phong2, Nguyen Ngoc Tien5, Tran Quang Hai3, Nguyen Thi Kim Thuong1, and Vu Thi Thu Ha2*

1Hanoi University of Science, Vietnam National University, 19 Le Thanh Tong, Hanoi, Viet Nam

###### 2Institute of Chemistry, Vietnam Academy of Science and Technology (VAST), 18 Hoang Quoc Viet, Cau Giay, Hanoi, Viet Nam

3Hanoi University of Industry, 298 Cau Dien Str., Bac Tu Liem Dist., Hanoi, Viet Nam

###### 4University of Science and Technology of Hanoi, VAST, 18 Hoang Quoc Viet, Cau Giay, Hanoi, Viet Nam

###### 5Graduate University of Science and Technology, VAST, 18 Hoang Quoc Viet, Cau Giay, Hanoi, Viet Nam

+These authors provided equal contribution to this work

*Corresponding authors: Vu Thi Thu Ha

Schema S1: General steps for  synthezise of studied MOFs: CuBTC (a); Fe-CuBTC (b) and Zr-CuBTC (c)

Table S1: Relationship between peak currents and square root of scan rates

| Electrode | Anodic peak current (ip,a) | Cathodic peak current (ip,c) |
| --- | --- | --- |
| GCE | y = 8.2346.x + 18.878 R2 = 0.9941 | y = - 7.8588.x - 21.675 R2 = 0.9925 |
| CuBTC/ GCE | y = 1.4457.x + 22.562 R2 = 0.9417 | y = - 1.8226.x - 23.852 R2 = 0.9129 |
| Fe-CuBTC/ GCE | y = 4.4056.x + 32.263 R2 = 0.9952 | y = - 4.2447*x - 32.774 R2 = 0.9851 |
| Zr-CuBTC/ GCE | y = 4.8025.x + 19.762 R2 = 0.9923 | y = -4.3631.x - 25.235 R2 = 0.9852 |

(A)

(B)

Fig. S1. CVs (A) of GCE (a), CuBTC/GCE (b), Fe-CuBTC/GCE (c) and Zr-CuBTC/GCE (d) in 5mM K3Fe(CN)6/K4Fe(CN)6 containing 0.1M KCl at different scan rates

and relationship between Ipa, ipc and square root of scan rates (B)

Fig. S2. DPVs of Gly at 10-12 M recorded on four studied materials

Fig. S3. DPVs of Gly at different concentrations using CuBTC, 0.1 M PBS (pH 3) and the linear dependence of peak currents on Gly concentrations as calibration curve

Fig. S4. Reproducibility of developed sensors (RSD = SD/mean = 4.7%)

Fig. S5. DPV of developed sensors after 5 days

Fig. S6. DPV of Gly at 10-12 M with the presence of other compounds as referants (at 50 times higher concentrations)

Fig. S7. DPV of  Red River water sample spiked at different Gly amounts

Fig. S8. Chromatography spectrum of  Red River water sample spiked at different Gly amounts