Supporting information

Exposure and risk assessment for agricultural workers during chlorothalonil and flubendiamide treatments in pepper fields

Deuk-Yeong Lee1, Jong-Wook Song1, Ji-Young An1, Yeong-Jin Kim1, Jong-Su Seo1, and Jong-Hwan Kim1,*

1Environmental Chemistry Research Group, Korea Institute of Toxicology, Jinju, 52834, Republic of Korea

Table S1. Field, application and climate conditions in pepper field trials

| Condition | Region (pesticide) |  |
| --- | --- | --- |
|  | Uiseong-gun (chlorothalonil) | Yeongyang-gun (flubendiamide) |
| Field |  |  |
| Plant height (cm) | 70-120 (95) | 60-120 (85) |
| Plantation distance (cm) | 30-40 (33.8) | 30-50 (38.4) |
| Row distance (cm) | 70-130 (99.5) | 100-140 (121) |
| Field area (m2) | 2,000-4,700 | 3,300-10,000 |
| Climate |  |  |
| Temperature (℃) | 25.3-33.1 (28.3) | 20.5-31.5 (25.4) |
| Relative humidity (%) | 59-91.4 (77.8) | 55.3-89.5 (74.1) |
| Wind speed (m/sec) | 0.0-1.8 (0.61) | 0.0-2.5 (1.3) |
| Application |  |  |
| Applicator | Power sprayer | Power sprayer |
| Nozzle pressure (MPa) | 2.5-3.4 | 2.0-5.0 |
| Spraying volume (L) | 600-1,000 | 820-1,800 |

Table S2. The instrumental condition of GC-MS/MS for quantitative analysis of chlorothalonil

| Instrument | Bruker SCION triple quadrupole (TQ) GC-MS (Bruker, Billerica, MA, USA) |  |  |
| --- | --- | --- | --- |
| Injection | 2 μL (250℃) |  |  |
| Column | DB-5MS UI (30m × 0.25 mm, 0.25 µm) |  |  |
| Flow | 1.0 mL min-1 (He) |  |  |
| Oven condition | Temperature (℃) | Rate (℃ min-1) | Hold (min) |
|  | 150 | 0 | 2 |
|  | 300 | 25 | 4 |
| Ionization source | Electron ionization (EI) |  |  |
| Polarity | Positive |  |  |
| Source temperature | 220℃ |  |  |
| Transferline temperature | 260℃ |  |  |
| MRM | Precursor ion (m/z) | Product ion (m/z) | Collision energy (V) |
|  | 266 | 231 | 20 |
|  | 266 | 168 | 20 |

Table S3. The instrumental condition of LC-MS/MS for quantitative analysis of flubendiamide

| Instrument | Agilent Technologies 6420 Triple Quad LC/MS (Agilent, Santa Clara, CA, USA) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Column | Poroshell 120 EC-C18 (2.1 × 100 mm, 2.7 µm) |  |  |  |  |  |
| Flow | 0.3 mL min-1 |  |  |  |  |  |
| Mobile phase | A : 0.1% Formic acid with 5mM ammonium formate in water B : 0.1% Formic acid with 5mM ammonium formate in methanol |  |  |  |  |  |
|  | Time (min) |  | %A |  | %B |  |
|  | 5 |  | 20 |  | 80 |  |
| Injection volume | 4 μL |  |  |  |  |  |
| Ionization source | Electrospray ionization (ESI) |  |  |  |  |  |
| Polarity | Negative |  |  |  |  |  |
| Source temperature | 150℃ |  |  |  |  |  |
| Capillary voltage | 4000 V |  |  |  |  |  |
| Gas temperature | 325℃ (N2, 360 L hr-1) |  |  |  |  |  |
| MRM | Precursor ion (m/z) | Product ion (m/z) |  | Fragment voltage (V) |  | Collision energy (V) |
|  | 681 | 273.9 |  | 200 |  | 8 |
|  | 681 | 254.2 |  | 200 |  | 18 |

Table S4. Recoveies, CVs and MLOQ of the chlorothalonil in exposure matrices

| Matrix | Fortification level | Recovery (%) | CV (%) | MLOQ (mg kg-1) |
| --- | --- | --- | --- | --- |
| Outer clothing | MLOQ | 104 | 2.6 | 0.005 |
|  | 10MLOQ | 94.5 | 1.3 |  |
|  | 100MLOQ | 96.2 | 0.5 |  |
|  | 100MLOQa | 103 | 5.1 |  |
| Inner clothing | MLOQ | 101 | 1.2 | 0.005 |
|  | 10MLOQ | 107 | 1.3 |  |
|  | 100MLOQ | 103 | 0.6 |  |
|  | 100MLOQa | 101 | 6.2 |  |
| Gauze | MLOQ | 102 | 1.7 | 0.005 |
|  | 10MLOQ | 93.7 | 2.5 |  |
|  | 100MLOQ | 87.6 | 1.5 |  |
|  | 100MLOQa | 85.6 | 3.4 |  |
| Glove (washing solution) | MLOQ | 73.6 | 12 | 0.005 |
|  | 10MLOQ | 92.3 | 17 |  |
|  | 100MLOQ | 113 | 10 |  |
|  | 100MLOQa | 110 | 4.0 |  |
| Hand (washing solution) | MLOQ | 112 | 6.1 | 0.005 |
|  | 10MLOQ | 97.0 | 13 |  |
|  | 100MLOQ | 107 | 16 |  |
|  | 100MLOQa | 110 | 7.0 |  |
| Glass fiber filter | MLOQ | 110 | 2.2 | 0.005 |
|  | 10MLOQ | 97.4 | 1.5 |  |
|  | 100MLOQ | 87.6 | 1.8 |  |
|  | 100MLOQa | 86.4 | 4.4 |  |

a Field recovery test

Table S5. Recoveies, CVs and MLOQ of the flubendiamide in exposure matrices

| Matrix | Fortification level | Recovery (%) | CV (%) | MLOQ (mg kg-1) |
| --- | --- | --- | --- | --- |
| Outer clothing | MLOQ | 84.7 | 3.6 | 0.005 |
|  | 10MLOQ | 111 | 8.5 |  |
|  | 100MLOQ | 109 | 3.9 |  |
|  | 100MLOQa | 103 | 9.6 |  |
| Inner clothing | MLOQ | 86.7 | 4.8 | 0.005 |
|  | 10MLOQ | 112 | 1.8 |  |
|  | 100MLOQ | 110 | 0.8 |  |
|  | 100MLOQa | 97.1 | 4.9 |  |
| Gauze | MLOQ | 81.3 | 3.8 | 0.005 |
|  | 10MLOQ | 107 | 3.3 |  |
|  | 100MLOQ | 93.0 | 1.0 |  |
|  | 100MLOQa | 105 | 2.9 |  |
| Glove (washing solution) | MLOQ | 86.7 | 3.5 | 0.005 |
|  | 10MLOQ | 102 | 3.9 |  |
|  | 100MLOQ | 103 | 1.1 |  |
|  | 100MLOQa | 93.7 | 6.7 |  |
| Hand (washing solution) | MLOQ | 86.0 | 6.2 | 0.005 |
|  | 10MLOQ | 101 | 4.1 |  |
|  | 100MLOQ | 97.3 | 5.5 |  |
|  | 100MLOQa | 101 | 3.7 |  |
| Glass fiber filter | MLOQ | 90.6 | 2.1 | 0.005 |
|  | 10MLOQ | 102 | 3.3 |  |
|  | 100MLOQ | 98.6 | 1.7 |  |
|  | 100MLOQa | 97.9 | 3.9 |  |

a Field recovery test

Fig. S1. Exposure scenarios of mix/load (A) and application (B).

Fig S2. Sampling of agricultural workers clothing (outer and inner) for the calculated exposure amount by part of the body.