Supplementary Information

Influence of molecular symmetry on multiple pathways of crystallization

Yong Chan Cho1, Soohyeong Lee1,2, Lei Wang1, Yun-Hee Lee1, Seongheun Kim3, Hyun Hwi Lee3, Jonghyun Lee4, Geun Woo Lee1,2*

1 Frontier of Extreme Physics, Korea Research Institute of Standards and Science, Daejeon 34113, Republic of Korea

2 Applied Measurement Science, University of Science and Technology, Daejeon, Daejeon 34113, Republic of Korea

3Pohang Accelerator Laboratory, POSTECH, Pohang 37673, Republic of Korea

4Department of Mechanical Engineering, Iowa State University, Ames, IA 50011, United States of America

*e-mail: gwlee@kriss.re.kr

Table of contents:

Supplementary Section-1:  In situ X-ray and Raman scattering experiments on highly supersaturated solution

- Solution sample preparation

- x-ray scattering experiment and data acquisition:

- Levitation of solution droplets

- concentration Monitoring of droplets

- Raman Spectroscopy measurements of KDP and ADP solution droplets:

- Caption for Supplementary Movie 1 : rapid crystallization of ADP solution

- Supplementary Section-2: The cluster-based reverse Monte-Carlo calculation for H2PO4- dimer

Calculation of Δs(q) from experimentally obtained s(q)

Coordination of (H2PO4-)2 dimeric unit block model

Calculation of scal for cluster modeling of H2PO4-

Section-1:  In situ X-ray scattering experiments on highly supersaturated solution

Solution sample preparation: In this containerless environment, the levitated solutions are extremely supersaturated up to S=4.1 and S=3.6 for KDP and ADP solutions, respectively. In order to avoid the unwanted crystallization before experiment, the initial concentration of solutions are fixed to S= 0.72 and S=0.75 for ADP and KDP solution, respectively.  Aqueous solutions are prepared by dissolving KDP of purity 99.99% (Aldrich INC) and ADP of purity 99.9% (Aldrich INC) in deionized water ( = 18.2 M-cm). For homogeneous mixture, the initial solution is stirred for 6 hours and kept 6 hours at room temperature and filtered with a pore size of 220 nm (BIOFIL). The filtered solution was finally delivered to the solution injection needle equipped at bottom electrode.

x-ray scattering experiment and data acquisition: The ESL components is installed at Pohang Light Source II (PLS II) (Fig. S1), which is used to measure the x-ray scattering pattern in stable and metastable states. In situ x-ray scattering experiment is performed at the undulator insertion device beamline at Pohang Light Source II (BL5A and 1C) S1-S3. Monochromatized 18-KeV X-rays from a cryogenically cooled silicon (111) double crystal monochromator is delivered to the sample chamber through a delivery-pipe filed with helium gas. The x-ray detector (Pilatus-300KW, 1475 x 195 pixels with a pixel size of 172 um x 172 um) is just placed behind the ESL chamber to collect the scattered signals from solution droplet. Only when the supersaturation of droplet reaches at the targeted value, x-ray scattering x-ray beam is irradiated on droplet and scattering 2D image is recorded on Pilatus 300KW. The conversion of the 2D image to 1D data were carried out by using Fit2D and Dioptas programs. Subsequently, the s(q) and G(r) were obtained by using Pdfgetx2 program.

Figure S1: The schematic diagram of in-situ x-ray and Raman scattering experiments

on ESL system for aqueous solution droplet

Levitation of solution droplets: The droplet is levitated at the position between top and bottom electrodes. A high voltage amplifier (Trek 10/10B-HS) provide a high electric voltage (1~5kV, 300-500 Hz) to the top electrode. The He-Ne laser (1mW =633 nm) incidents on droplet with casting the shadow of droplet on a position sensitive detector (PSD, Hamamatsu Photonics C10443-03) to maintain the droplet position within ~±20 um. Temperature and relative humidity inside the sample chamber are maintained at 25.5 oC and 42 ± 2%, respectively.

Concentration monitoring of droplets: Initial size of the levitated solution droplet has a diameter between 2 ~ 3 mm, and its size and shape are monitored by two CCD camera. The droplet shape is recorded every 5 sec through the size measurement CCD camera. The 6th order Legendre polynomial fitting is applied on the recorded droplet imagesS4 to calculate the volume in real-time. We also monitor whether any crystallization event occurs or not through the other CCD camera observing the droplet inside and outside in different direction.

Since the solute molecule (KDP or ADP) is non-volatile, the decrease of solution volume is assumed to be attributed to the decrease of water molecules in droplet. Table S1 and S2 show the summary of concentration, density, average number of H2O per each solute ion (n), and the number ratio of water to solution atoms (water and solute atoms, except hydrogen atoms) () for X-ray intensity in the KDP and ADP solutions, respectively. The initial concentration of solutions was fixed to S= 0.72 and S=0.75 for ADP and KDP solution, respectively. The density of initial solution is measures before experiment. The  is obtained by calculating the number ratio of water molecules to total atoms. For example, each solute ion has 21 water molecules (at S=1) in average. Therefore, the ratio  per solute molecules is given by 0.87 (= 42/(6+42), where 6 comes from the number of atoms in solute molecules (i.e., P+4O+K(or N) =6). Here, hydrogen atoms are omitted because of its negligible scattering by X-ray.

Table S1: Summary of concentration (c (KDP mass (g) / H2O volume(cm3)) and M(molarity)), solution density, the number of water molecules per solute ion (n), the number ratio of water molecules to total solution atoms () for the KDP solution droplet. The solubility limit of the KDP solution (S=1) is 25g/100ml.

| volume contraction Ratio | Concentration |  |  | solution density | The number of H2O per ion (n) | The number ratio of water to solution atoms for calculation of X-ray scattering (except hydrogen atoms) () |
| --- | --- | --- | --- | --- | --- | --- |
| V(t)/V(t=0) | Initial concentration m(KDP)/V(Water) [g/cm3] | molarity M [mol/L] | Supersaturation | [g/cm3] |  |  |
| 1 | 0.18 | 1.240 | 0.72 | 1.11 | 21.0 | 0.87 |
| 0.60 |  | 2.066 | 1.2 | 1.18 | 12.1 | 0.80 |
| 0.48 |  | 2.583 | 1.5 | 1.22 | 9.4 | 0.76 |
| 0.36 |  | 3.444 | 2 | 1.30 | 6.7 | 0.69 |
| 0.29 |  | 4.305 | 2.5 | 1.38 | 5.1 | 0.63 |
| 0.23 |  | 5.510 | 3.2 | 1.48 | 3.7 | 0.55 |
| 0.22 |  | 5.682 | 3.3 | 1.50 | 3.5 | 0.54 |
| 0.21 |  | 6.027 | 3.5 | 1.53 | 3.3 | 0.52 |
| 0.18 |  | 7.060 | 4.1 | 1.62 | 2.6 | 0.46 |

Table S2: Summary of concentration (c(ADP mass (g) / H2O volume(cm3)))and M(molarity)), density, n and  values for the ADP solution droplet. The solubility limit of the ADP solution (S=1) is 40g/100ml.

| volume contraction Ratio | Concentration |  |  | solution density | The number of H2O per ion (n) | The number ratio of water to solution atoms for calculation of X-ray scattering (except hydrogen atoms) () |
| --- | --- | --- | --- | --- | --- | --- |
| V(t)/V(t=0) | Initial concentration m(KDP)/V(Water) [g/cm3] | molarity M [mol/L] | Supersaturation | [g/cm3] |  |  |
| 1 | 0.30 | 2.271 | 0.75 | 1.13 | 10.7 | 0.78 |
| 0.63 |  | 3.634 | 1.2 | 1.21 | 6.1 | 0.67 |
| 0.42 |  | 5.451 | 1.8 | 1.32 | 3.6 | 0.54 |
| 0.34 |  | 6.662 | 2.2 | 1.39 | 2.6 | 0.47 |
| 0.31 |  | 7.268 | 2.4 | 1.43 | 2.3 | 0.43 |
| 0.29 |  | 7.873 | 2.6 | 1.47 | 2.0 | 0.40 |
| 0.27 |  | 8.479 | 2.8 | 1.50 | 1.7 | 0.36 |
| 0.25 |  | 9.084 | 3.0 | 1.54 | 1.5 | 0.33 |
| 0.23 |  | 9.690 | 3.2 | 1.57 | 1.3 | 0.30 |
| 0.22 |  | 10.296 | 3.4 | 1.61 | 1.2 | 0.28 |
| 0.21 |  | 10.901 | 3.6 | 1.65 | 1.0 | 0.25 |

Raman Spectroscopy measurements of KDP and ADP solution droplets: We investigate the bending mode of the KDP and ADP solutions to complement the XRD data with Raman spectroscopy using our system, which can provide the change of bonding nature. If molecular symmetry changes in intramolecular structure, bending mode should be varied. Fig. S2 shows different evolution of bending modes with supersaturation in the two solutions, while stretching mode (corresponding to large peaks near 870 cm-1 and 1070 cm-1 ) changes with peak shift as expected . The peaks between 300 cm-1 ~ 600 cm-1 are corresponding to in-plane O-P-O bending deformation mode [Cryst. Res. Technol. 37 93-99 (2002)]. In particular, we find a change of the peak in 300 cm-1 ~ 450 cm-1 (the red box with dashed line in Fig. S2) which corresponds to the two in-plane P(OH)2 bending deformation mode. For KDP solutions, the peak for in-plane P(OH)2 changes to asymmetric shape (marked by an black arrow near 367 cm-1) with increasing supersaturation, while no change is observed in ADP solution. Although the peak is observed in another study at low supersaturated solution [Figure_1 in Cryst. Growth Des. 2017, 17, 6, 3178–3184] which is same as our measurement in Fig. S2, such asymmetric shape was not reported. This reflects the change of intra-structure of the H2PO4- in KDP solution, but not in ADP solution.

- Figure S2.  Micro Raman spectra of KDP and ADP solution depending on the supersaturation. An incident laser (wavelength of 532 nm) focused on the levitated solution drop. The scattered beam is relayed via multiple high-quality silver mirrors to a Raman spectrometer (DONGWOO OPTRON; model DM500i). The delivered light is dispersed by a diffraction grating (1,200 Gr/mm). The detector (Andor DV401A-Bv) consists of 1,024 × 24 pixels (pixel size of 26 μm2). After reaching the targeted supersaturation level, we begin the measurement with starting irradiation of laser. In order to exclude out the heating effect by laser, we limit the exposure time data within max 20 sec. All every spectrum of different supersaturation level was measured independently instead keeping continuous measurement for one droplet.

- Caption for Supplementary Movie 1: Rapid crystallization of ADP solution. The video shows the rapid crystallization of the highly supersaturated ADP solution of S= ~3.5, which is corresponding to n (number of H2O per ion) ~ 1.1.

- Section-2: The cluster-based reverse Monte-Carlo calculation for H2PO4- dimer

Calculation of Δs(q) from experimentally obtained s(q): Coherent scattering from the supersaturated KDP and ADP solution is mostly contributed by the H2PO4- molecules since they are likely the most well-ordered structures in the solution. We expect relatively strong coherent scattering from the H2PO4- molecules, especially in a higher supersaturated solution. It is also assumed that the cations (K+ or NH4+) are randomly distributed in the solutionS5- S8. Therefore, the change of the ΔI(q) for solutes can be obtained from experimentally obtained I(q) by Eq. S1

∆Iq=I(q)solution-α×I(q)water                             		(Eq. S1)

Here, the  indicates scattering ratio from water molecules in the solution (see also Supplementary Section-1). Using the ΔI(q), Δs(q) and ΔG(r) were obtained by using Pdfgetx2 program.

Coordination of (H2PO4-)2 dimeric unit block model: Atomic positions for P and Op are given in spherical coordinates (Fig. S3). For the monomer, the atomic coordinates of a PO4 tetrahedron are set by spherical coordinates (Fig. S3a). The dimer was composed by two monomers. One monomer place at origin and the translated another monomer with a distance (Figure S3b). Rotation operation is performed to every monomer at origin and translated to P2 position.

Figure S3: a. Spherical coordinates for a H2PO4 monomer (H atom is omitted); A phosphorus atom (orange sphere) is placed at origin and the coordination of 4 oxygen atoms (red sphere) are presented by using cylindrical coordinates (r, θ, φ) (blue color). b Spherical coordinates for dimer composed of two monomers: the position of P2 is translated from origin to (rP-P , P-P , P-P) (magenta). The rotation (R(x), R(y), R(z)) (orange) operation is applied to both two H2PO4- monomers.

Calculation of scal for cluster modeling of H2PO4- : The scal(q) for the H2PO4- molecule model is calculated using Eq. S2 S9-S11,

scalq= 1j=1Nfj2 j=1Nk=1Nfjfksin⁡(qrjk)qrjk-1×e-2DWF×q2+1                	(Eq. S2)

where N is the number of particles, q is wave vector, DWF is Debye Waller factor fj, fk are atomic form factors, rjk is atomic distance between jth and kth atoms. Atomic positions for P, Op, are given in spherical coordinates Previously, this method was successfully applied to explain SRO in liquid metalsS5-S7. In this modeling, the hydrogen atoms are omitted

Here, scal(q) is calculated to fit the experimentally obtained s(q) within the q ranges (3.5 Å-1~ 8.5 Å-1) by optimizing the geometry of monomer and dimer. The deviation between scal and s(q) is minimized by using non-linear least-squares minimization and curve-fitting routine provided in Python program language (Lmfit package).

χ2=iN(Scalqi-ΔS(qi))2                      				(Eq. S3)

Within the constraint condition for its symmetry, the geometry parameters of two monomers and Debye-Weller factors was optimized up to minimize 2, which is given Eq. S3.

Table S3 and S4 show the summary of calculated results for KDP and ADP solution, respectively. In the dilute KDP and ADP solutions, the H2PO4- anion has the C2v molecular symmetry which is used to set the initial constraint conditions with r,  and φ (see Fig. S3). In this calculation, we fix φ values of those of a right tetrahedron. The constraint for the P-O distance is given by the FWHM of the g1 peak of Fig. 2. The calculated scal(q) is fitted to experimental structure factor of solute (Δs(q)) between q=3.5Å-1 and 8.5 Å-1 where corresponds to short ranges of the solute. The constrain condition corresponding its symmetry is provided by changing P-O distances or/with O-P-O angles. The initial symmetry for PO4 is C2v (type-1 presented at Fig. 3b in main text). The initial dimer model is composed of same geometry monomers (SM) with C2v symmetry (SM-C2v). Cs symmetry has only one mirror symmetry (v) by breaking 2- fold symmetry. The breakage of the v symmetry results in C1. Depending on the symmetry of monomer (C2v, Cs, C1) and geometry condition (same monomer (SM) of different monomer (DM)), the suitable constraint conditions are used. The models are sequentially tested for SM-Cs (the dimer with SM with Cs symmetry), DM-Cs (the dimer composed of DM with Cs symmetry) and finally DM-C1 (the dimer with DM with C1 symmetry). In this calculation, we accepted the model having the least deviation (2 < 0.05). After calculation, the result of unphysical dimer geometry (e.g., too close O-O and P-O distance) was excluded out. Here, hydrogen atoms are omitted in calculation.

Table S3: Summary of the calculated results for the optimized (H2PO4-)2 dimeric unit block in KDP solution: The light-yellow color presents the dimer composed of same monomer with C2v symmetry (SM-C2v). The dark-yellow color presents the dimer composed of same monomer with Cs symmetry (SM-Cs). The blue color depicts the dimer composed of different monomer with C1 symmetry (SM-C1). Comparison between the optimized results is presented by the dark gray color.

| KDP S (n) | Symmetry of Monomers | Dimer geometry |  |  |  | DWF | 2 |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | P-OP [Å] | θ [o] | P-P [Å] | Ave. OP-OP [Å] |  |  |
| 0.72 (21.0) | SM-C2v | r1 = r2 = 1.30 r3 = r4=1.70 | θ1= θ2 = 51.75 θ3= θ4 = 125.6 | 3.80 | 2.46 | 0.0169 | 0.0463 |
| 1.2 (12.1) | SM- C2v | r1 = r2 = 1.30 r3 = r4 = 1.70 | θ1= θ2=52.14 θ3= θ4= 125.28 | 3.84 | 2.45 | 0.0172 | 0.0208 |
| 1.5 (9.4) | SM-Cs | r1 = r2 = 1.30 r3 = r4=1.70 | θ1=θ2=60.26 θ3=132.40 θ4=121.23 | 3.63 | 2.45 | 0.0169 | 0.0374 |
| 2.0 (6.7) | SM-Cs | r1 = r2 = 1.30 r3 = r4= 1.70 | θ1= θ2=57.9 θ3=123.74 θ4=133.25 | 3.63 | 2.45 | 0.0182 | 0.0069 |
| 2.5 (5.1) | SM-Cs | r1 = r2 = 1.30 r3 = r4= 1.70 | θ1= θ2=53.94 θ3=124.15 θ4=133.25 | 3.64 | 2.45 | 0.0179 | 0.0058 |
| 3.2 (3.7) | SM-Cs | r1 = r2 = 1.50 r3 = 1.30 r4 = 1.70 | θ1= θ2=51.75 θ3=127.88 θ4=129.68 | 3.71 | 2.45 | 0.0201 | 0.0800 |
|  | DM-Cs | r1 = r2 = 1.70 r3= r4=1.30 | θ1= θ2=51.75 θ3=133.25 θ4=124.42 | 3.70 | 2.47 | 0.0108 | 0.0369 |
|  |  | r1 = r2 = 1.53 r3= 1.30 r4=1.70 | θ1= θ2=51.75 θ3=128.25 θ4= 130.47 |  |  |  |  |
| 3.3 (3.5) | SM-Cs | r1 = r2 = 1.45 r3 = 1.30 r4=1.70 | th1= th2=51.75 th3=123.99 th4=132.85 | 3.71 | 2.41 | 0.0203 | 0.0953 |
|  | DM-Cs | r1 = r2 = 1.30 r3= 1.70 r4=1.30 | θ1= θ1=51.75 θ1=133.25 θ1= 122.56 | 3.71 | 2.44 | 0.0160 | 0.0368 |
|  |  | r1 = r2 = 1.70 r3 = 1.30 r4 =1.62 | θ1 = θ2=51.75 θ3 =131.65 θ4 = 126.61 |  |  |  |  |
|  | SM-C1 | r1 = r2 = 1.70 r3 = 1.31 r4 =1.70 | θ1= th2=51.75 θ3=133.24 θ4= 124.01 | 3.70 | 2.46 | 0.0154 | 0.0642 |
|  | DM-C1 | r1 = r2 = 1.30 r3= 1.70 r4=1.30 | θ1=51.75 θ2=53.85 θ3=133.25 θ4=123.62 | 3.71 | 2.44 | 0.0156 | 0.0367 |
|  |  | r1 = 1.70 r2 = 1.70 r3= 1.63 r4=1.30 | θ1=51.75 θ2=51.85 θ3=130.4 θ4=127.56 |  |  |  |  |
| 3.5 (3.3) | SM-Cs | Could not fitted. [the result give only Non-physical situation] |  |  |  |  |  |
|  | DM-Cs | r1 = r2 = 1.36 r3 = r4 = 1.30 | θ1= θ2 = 53.75 θ3=133.25 θ4=127.29 | 3.70 | 2.40 | 0.017 | 0.0525 |
|  |  | r1 = r2 = 1.69 r3= 1.67 r4=1.38 | θ1= θ2=51.75 θ3=130.08 θ4= 129.52 |  |  |  |  |
|  | SM-C1 | r1 = 1.30 r2 = 1.70 r3 =1.31 r4 = 1.70 | θ1=51.76, θ2=53.29 θ3=133.25 θ4=127.37 | 3.70 | 2.46 | 0.0154 | 0.0518 |
|  | DM-C1 | r1 = 1.30 r2 = 1.31 r3= 1.70 r4 = 1.71 | θ1=51.75 θ2=56.49 θ3=133.25 θ4=127.36 | 3.70 | 2.45 | 0.0155 | 0.0213 |
|  |  | r1 = 1.30 r2 = 1.70 r3 = 1.30 r4 = 1.70 | θ1=51.75 θ2=51.75 θ3=129.11 θ4=130.53 |  |  |  |  |
| 4.1 (2.6) | DM-C1 | r1 = 1.30 r2 = 1.32 r3= 1.68 r4=1.70 | θ1=51.75 θ2=51.75 θ3=133.25 θ4=123.87 | 4.2 | 2.47 | 0.0163 | 0.0306 |
|  |  | r1 = 1.30 r2 = 1.43 r3 = 1.69 r4 = 1.68 | θ1=51.75 θ2=51.75 θ3=133.25 θ4=132.99 |  |  |  |  |

Table S4: Summary of the calculated results for the optimized (H2PO4-)2 dimeric unit block in ADP solution: The light-yellow color presents the dimer composed of same monomer with C2v symmetry (SM-C2v).

| ADP S (n) | Symmetry of Monomers | Dimer geometry |  |  |  | DWF | 2 |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | P-OP [Å] | θ [o] | P-P [Å] | Ave. OP-OP [Å] |  |  |
| 0.75 (10.7) | SM-C2v | r1 = r2 =1.30 r3 = r4 = 1.70 | θ1 = θ2 =51.75 th3 = th4 = 130.37 | 3.68 | 2.45 | 0.0077 | 0.0391 |
| 1.2 (6.1) | SM-C2v | r1 = r2 =1.30 r3 = r4 = 1.69 | θ1= θ2 = 51.75 θ3= θ4 = 129.12 | 3.62 | 2.45 | 0.0121 | 0.0175 |
| 1.8 (3.6) | SM-C2v | r1 = r2 =1.32 r3 = r4 = 1.67 | θ1= θ2 = 51.75 θ3 = θ4 = 129.72 | 3.83 | 2.46 | 0.0154 | 0.0412 |
| 2.2 (2.6) | SM-C2v | r1 = r2 =1.32 r3 = r4 = 1.69 | θ1 = θ2 = 51.75 θ3 = θ4 = 131.35 | 3.82 | 2.45 | 0.0128 | 0.0338 |
| 2.4 (2.3) | SM-C2v | r1 = r2 =1.32 r3 = r4 = 1.68 | θ1 = θ2 = 51.75 θ3 = θ4 = 133.25 | 4.00 | 2.45 | 0.0128 | 0.0369 |
| 2.6 (2.0) | SM-C2v | r1 = r2 =1.30 r3 = r4 = 1.69 | θ1 = θ2 = 51.75 θ3 = θ4 = 133.25 | 4.02 | 2.44 | 0.0122 | 0.0283 |
| 2.8 (1.7) | SM-C2v | r1 = r2 =1.30 r3 = r4 = 1.69 | θ1 = θ2 = 51.75 θ3 = θ4 =133.25 | 4.00 | 2.44 | 0.0125 | 0.0293 |
| 3.0 (1.5) | SM-C2v | r1 = r2 =1.30 r3 = r4 = 1.69 | θ1 = θ2 = 51.75 θ3 = θ4 = 133.25 | 3.96 | 2.44 | 0.0125 | 0.0319 |
| 3.2 (1.3) | SM-C2v | r1 = r2 =1.30 r3 = r4 = 1.69 | θ1 = θ2= 51.75 θ3 = θ4 = 133.25 | 3.95 | 2.44 | 0.0124 | 0.0253 |
| 3.4 (1.2) | SM-C2v | r1 = r2 =1.30 r3 = r4 = 1.69 | θ1 = θ2 = 51.75 θ3 = θ4 = 133.16 | 3.95 | 2.44 | 0.0128 | 0.0222 |
| 3.6 (1.0) | SM-C2v | r1 = r2 =1.30 r3 = r4 = 1.69 | θ1 = θ2 = 51.75 θ3 = θ4 = 133.05 | 3.95 | 2.44 | 0.0134 | 0.0204 |

References

S1.	Lee, S. et al. Multiple pathways of crystal nucleation in an extremely supersaturated aqueous potassium dihydrogen phosphate (KDP) solution droplet. Proc. Nat. Acad. Sci. USA 113, 13618-13623 (2016).

S2	Hwang, H. et al. Hydration breaking and chemical ordering in a levitated NaCl solution droplet beyond metastable zone width limit: Evidence for early stage of the two-step nucleation. Chemi. Sci. 12, 179-187 (2021)

S3	Lee, S., Jo, W., Cho, Y. C., Lee, H. H. & Lee, G. W. Solution electrostatic levitator for measuring surface properties and bulk structures of an extremely supersaturated solution drop above metastable zone width limit. Rev. Sci. Instrum. 88, 055101 (2017).

S4	Yoo, H. B., Park, C., Jeon, S. Lee, S., Lee, G. W. Uncertainty evaluation for density measurements of molten Ni, Zr, Nb and Hf by using a containerless method. Metrologia 52, 677-684 (2016).

S5.	Preston, C. M. & Adams, W. A. A laser Raman spectroscopic study of aqueous orthophosphate salts. J Phys Chem 83, 814–821 (1979).

S6.	Rudolph, W. W. Raman- and infrared-spectroscopic investigations of dilute aqueous phosphoric acid solutions. Dalton T 39, 9642–9653 (2010).

S7.	Syed, K. A., Pang, S.-F., Zhang, Y. & Zhang, Y.-H. Micro-Raman observation on the H2PO4− association structures in a supersaturated droplet of potassium dihydrogen phosphate (KH2PO4). J Chem Phys 138, 024901 (2013).

S8.	Lu, G. W. et al. Cluster Formation in Solid–Liquid Interface Boundary Layers of KDP Studied by Raman Spectroscopy. Phys Status Solidi 188, 1071–1076 (2001).

S9	Lee, G. W., Gangopadhyay, A. K., Hyers, R. W., Rathz, T. J., Rogers, J. R., Robinson, D. S., Goldman, A. I. & Kelton, K. F. Local structure of equilibrium and supercooled Ti-Zr-Ni liquids, Phys. Rev. B 77, 184102 (2008)

S10	Lee, G. W., Gangopadhyay, A. K., Kelton, K. F., Hyers, R.W., Rathz, T. J., Rogers J. R., and Robinson, D. S. Difference in Icosahedral Short-Range Order in Early and Late Transition Metal Liquids, Phys. Rev. Lett. 93, 037802 (2003)

S11 	Paradis, P. -F., Ishikawa, T., Lee, G. W., Holland-Moritz, D., Brillo, J., Rhim, W. -K., Okada, J. T. Materials properties measurements and particle beam interactions studies using electrostatic levitation. Materials Science & Engineering R 76, 1–53 (2014).