S1-Table 2: Assay results of commercial formulation† (Indofil Z-78) of zineb containing   75% active ingredient.

(*Values are mean of five determinations with standard deviation (±)).

| Amount taken (µg) | Amount found* (µg) | Recovery (%) |
| --- | --- | --- |
| 2.2 | 2.16±0.025 | 98.18±1.14 |
| 4.4 | 4.34±0.043 | 98.63±0.98 |
| 6.6 | 6.55±0.050 | 99.24±0.76 |
| 11.0 | 10.92±0.083 | 99.27±0.75 |
| 15.4 | 15.32±0.099 | 99.48±0.64 |

†Maker’s specifications established by an independent method [14]

S2-Table 3: Recovery of zineb from grains.

| Active ingredient taken (µg) | Wheat |  | Rice |  |
| --- | --- | --- | --- | --- |
|  | Amount found* (µg) | Recovery (%) | Amount found* (µg) | Recovery (%) |
| 2.2 | 1.94±0.034 | 88.18±1.55 | 1.94±0.032 | 88.18±1.45 |
| 4.4 | 4.00±0.062 | 90.91±1.41 | 3.95±0.063 | 89.77±1.43 |
| 6.6 | 6.07±0.081 | 91.96±1.23 | 5.70±0.076 | 86.36±1.15 |
| 11.0 | 10.09±0.084 | 91.72±0.76 | 9.88±0.116 | 89.82±1.05 |
| 15.4 | 13.82±0.105 | 89.74±0.68 | 13.31±0.132 | 86.42±0.86 |

*Values are mean of five determinations with standard deviation (±).

S3-Table 4: Recovery of zineb from apple and cauliflower.

| Active ingredient taken (µg) | Apple |  | Cauliflower |  |
| --- | --- | --- | --- | --- |
|  | Amount found* (µg) | Recovery (%) | Amount found* (µg) | Recovery (%) |
| 2.2 | 1.80±0.036 | 81.82±1.64 | 1.86±0.036 | 84.54±1.64 |
| 4.4 | 3.59±0.062 | 81.59±1.41 | 3.84±0.062 | 87.27±1.41 |
| 6.6 | 5.51±0.087 | 83.48±1.32 | 5.71±0.073 | 86.51±1.11 |
| 11.0 | 8.83±0.094 | 80.27±0.85 | 9.88±0.116 | 89.81±1.05 |
| 15.4 | 12.83±0.101 | 83.31±0.66 | 13.31±0.132 | 86.42±0.86 |

*Values are mean of five determinations with standard deviation (±).

S4-Table 6: Characteristics of soils used in adsorption study of zineb.

| Soil samples | pH | Clay % | Organic carbon % | Cation exchange capacity % |
| --- | --- | --- | --- | --- |
| I | 7.38 | 9.3 | 0.7 | 12.2 |
| II | 7.41 | 18.2 | 1.0 | 12.9 |
| III | 7.48 | 10.2 | 0.8 | 12.8 |

S5-Table 7: Adsorption constants and coefficient of determination (r2) of zineb on three Indian soils based on the Freundlich and Langmuir equations at 25±1oC.

| Soil | Freundlich |  |  | Langmuir |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Kf | nf | r2 | K | b | r2 |
| I | 10.77 | 0.84 | 0.84 | 0.05 | 204.2 | 0.31 |
| II | 10.87 | 0.92 | 0.92 | 0.02 | 438.7 | 0.22 |
| III | 11.26 | 0.84 | 0.89 | 0.04 | 249.7 | 0.29 |

S6-Table 8: Adsorption parameters for the adsorption of zineb on three Indian soils at 25±1oC.

| Soil | Kd | Koc | GUS | ΔG° |
| --- | --- | --- | --- | --- |
| I | 8.67 | 1238.9 | 1.34 | -5.263 |
| II | 9.79 | 979.67 | 1.49 | -5.560 |
| III | 9.03 | 1129.88 | 1.40 | -5.364 |