Removal efficiency of six typical organic pesticides from water by different oxidation technologies

Yuliang Zhua, Yucan Liua*, Ke Yub, Jinlin Guoa, Xianguo Jia, Xinyi Xua, Yan Zhanga, Yuxia Wangc, Jinming Duand, Hongwei Sune

a School of Civil Engineering, Yantai University, Yantai 264005, China

b Xinjiang Uygur Autonomous Region Tobacco Company, Uygur 830000, China

c School of Environmental and Municipal Engineering, North China University of Water Resources and Electric Power, Zhengzhou 450046, China

d Centre for Water Management and Reuse, UniSA STEM, University of South Australia, Mawson Lakes Campus, SA 5095, Australia

e School of Environmental and Materials Engineering, Yantai University, Yantai 264005, China

* Corresponding author

E–mail: liuyucan@ytu.edu.cn (Yucan Liu)

TABLE OF CONTENTS

Fig. S1 The effect of solution pH on the removal of the six pesticides by potassium permanganate oxidation process.	4

Fig. S2 The effect of solution pH on the removal of the six pesticides by sodium hypochlorite oxidation process.	5

Fig. S3 The effect of different concentration on the removal of the six pesticides by potassium persulphate oxidation process.	6

Fig. S4 The effect of solution pH on the removal of the six pesticides by potassium persulphate oxidation process.	7

Fig. S5 The effect of H2O2/Fe2+ ratio on the removal of the six pesticides by Fenton process.	8

Fig. S6 The effect of H2O2 concentration on the removal of the six pesticides by Fenton process.	9

Fig. S7 The effect of solution pH on the removal of the six pesticides by Fenton process.	10

Fig. S8 The effect of potassium persulphate concentration on the removal of the six pesticides by UV/PS process.	11

Fig. S9 The effect of solution pH on the removal of the six pesticides by UV/PS process.	12

Table S1 The reaction rate constant of the six pesticides removal by potassium permanganate oxidation at different pH conditions.	13

Table S2 The reaction rate constant of the six pesticides removal by sodium hypochlorite oxiadtion at different pH conditions.	14

Table S3 The reaction rate constant of the six pesticides removal at different concentration of potassium persulphate.	15

Table S4 The reaction rate constant of the six pesticides removal by potassium persulphate at different pH conditions.	16

Table S5 The reaction rate constant of the six pesticides removal by Fenton process at different H2O2/Fe2+ ratio.	17

Table S6 The reaction rate constant of the six pesticides removal by Fenton process at different H2O2 concentration.	18

Table S7 The reaction rate constant of the six pesticides removal by Fenton process at different pH conditions.	19

Table S8 The reaction rate constant of the six pesticides removal by UV/PS process at different potassium persulphate concentration.	20

Table S9 The reaction rate constant of the six pesticides removal by UV/PS process at different pH conditions.	21

Fig. S1 The effect of solution pH on the removal of the six pesticides by potassium permanganate oxidation process.

Fig. S2 The effect of solution pH on the removal of the six pesticides by sodium hypochlorite oxidation process.

Fig. S3 The effect of different concentration on the removal of the six pesticides by potassium persulphate oxidation process.

# Fig. S4 The effect of solution pH on the removal of the six pesticides by potassium persulphate oxidation process.

Fig. S5 The effect of H2O2/Fe2+ ratio on the removal of the six pesticides by Fenton process.

Fig. S6 The effect of H2O2 concentration on the removal of the six pesticides by Fenton process.

Fig. S7 The effect of solution pH on the removal of the six pesticides by Fenton process.

Fig. S8 The effect of potassium persulphate concentration on the removal of the six pesticides by UV/PS process.

Fig. S9 The effect of solution pH on the removal of the six pesticides by UV/PS process.

# Table S1 The reaction rate constant of the six pesticides removal by potassium permanganate oxidation at different pH conditions.

| Pesticides | pH |  |  |
| --- | --- | --- | --- |
|  | 4 | 7 | 10 |
| Cyromazine | 0.000993333 | 0.000580658 | 0.000445167 |
| Dinotefuran | 0.00083221 | 0.000704207 | 0.000614715 |
| Chloridazon | 0.00361 | 0.00281 | 0.00139 |
| Atrazine | 0.00129 | 0.000927154 | 0.000790234 |
| Diuron | 0.00113 | 0.000729313 | 0.000871206 |
| Tebuconazole | 0.00083221 | 0.00077976 | 0.00073113 |

# Table S2 The reaction rate constant of the six pesticides removal by sodium hypochlorite oxiadtion at different pH conditions.

| Pesticides | pH |  |  |
| --- | --- | --- | --- |
|  | 4 | 7 | 10 |
| Cyromazine | 0.00147 | 0.000895953 | 0.000869148 |
| Dinotefuran | 0.000585123 | 0.000715567 | 0.000598981 |
| Chloridazon | 0.00147 | 0.00128 | 0.00111 |
| Atrazine | 0.000813011 | 0.00107 | 0.000577511 |
| Diuron | 0.000729824 | 0.000629881 | 0.000514829 |
| Tebuconazole | 0.000581771 | 0.000899549 | 0.0007983 |

# Table S3 The reaction rate constant of the six pesticides removal at different concentration of potassium persulphate.

| Pesticides | potassium persulphate concentration (mg/L) |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | 1 | 2 | 5 | 10 | 15 |
| Cyromazine | 0.00102 0.00019883 | 0.00381 0.000300816 | 0.00338 0.000407651 | 0.00252 0.000294441 | 0.00149 0.000266933 |
| Dinotefuran | 0.01966 0.0028 | 0.0316 0.00132 | 0.02462 0.00236 | 0.0182 0.0019 | 0.01078 0.00131 |
| Chloridazon | 0.00971 0.00101 | 0.01331 0.0003713 | 0.00759 0.0008123 | 0.0041 0.00156 | 0.00298 0.00109 |
| Atrazine | 0.00113 0.000136667 | 0.0015 0.0001899 | 0.00136 0.0001824 | 0.00124 0.000144633 | 0.00103 0.0001117 |
| Diuron | 0.00156 0.0003006 | 0.00284 0.0002106 | 0.00127 0.0003318 | 0.00083 0.000128367 | 0.000533 0.0001073 |
| Tebuconazole | 0.00108 0.0000284633 | 0.00352 0.000334067 | 0.0032 0.000205833 | 0.00233 0.00023867 | 0.00173 0.000345933 |

# Table S4 The reaction rate constant of the six pesticides removal by potassium persulphate at different pH conditions.

| Pesticides | pH |  |  |
| --- | --- | --- | --- |
|  | 4 | 7 | 10 |
| Cyromazine | 0.00438 0.000261267 | 0.00381 0.000300816 | 0.00298 0.000372974 |
| Dinotefuran | 0.01765 0.00195 | 0.03116 0.00132 | 0.02081 0.00166 |
| Chloridazon | 0.01051 0.0008213 | 0.01331 0.0003713 | 0.00359 0.000387467 |
| Atrazine | 0.0022 0.000479 | 0.0015 0.0001899 | 0.00184 0.000363333 |
| Diuron | 0.00163 0.0004008 | 0.00294 0.0002106 | 0.00099 0.0001708 |
| Tebuconazole | 0.003 0.000236367 | 0.00352 0.000333733 | 0.00222 0.000271 |

# Table S5 The reaction rate constant of the six pesticides removal by Fenton process at different H2O2/Fe2+ ratio.

| Pesticides | H2O2/Fe2+ ratio |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | 1:0 | 1:1 | 2:1 | 5:1 | 7.5:1 | 10:1 |
| Cyromazine | 0.00118 0.00068408 | 0.00419 0.0006456 | 0.00891 0.0003705 | 0.00796 0.0004 | 0.00257 0.0003218 | 0.00295 0.000434 |
| Dinotefuran | 0.00242 0.000392 | 0.02059 0.00432 | 0.06602 0.00661 | 0.03874 0.00325 | 0.03101 0.00412 | 0.02841 0.00423 |
| Chloridazon | 0.00132 0.00014644 | 0.03241 0.0009936 | 0.0881 0.00832 | 0.05223 0.00327 | 0.02741 0.0002225 | 0.01522 0.00173 |
| Atrazine | 0.0008362 0.0002021 | 0.01879 0.0007258 | 0.03483 0.00295 | 0.02078 0.0005448 | 0.01614 0.0006041 | 0.01343 0.0003624 |
| Diuron | 0.00129 0.0007566 | 0.04211 0.00303 | 0.10113 0.00796 | 0.06298 0.00383 | 0.03083 0.00274 | 0.0159 0.00104 |
| Tebuconazole | 0.00129 0.0007569 | 0.02678 0.00189 | 0.07112 0.00745 | 0.04319 0.00253 | 0.02023 0.0008186 | 0.00752 0.000328 |

# Table S6 The reaction rate constant of the six pesticides removal by Fenton process at different H2O2 concentration.

| Pesticides | H2O2 concentration (mg/L) |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | 1 | 2 | 3 | 4 | 5 |
| Cyromazine | 0.0035 0.00114 | 0.01109 0.00152 | 0.02398 0.00318 | 0.02897 0.00145 | 0.03503 0.00249 |
| Dinotefuran | 0.03334 0.00323 | 0.09813 0.00602 | 0.30684 0.01733 | 0.32534 0.02614 | 0.34721 0.0303 |
| Chloridazon | 0.03572 0.00163 | 0.11983 0.0162 | 0.37026 0.02754 | 0.41155 0.0301 | 0.42329 0.0292 |
| Atrazine | 0.02771 0.0008716 | 0.04875 0.00528 | 0.17982 0.01169 | 0.22975 0.00966 | 0.23843 0.01369 |
| Diuron | 0.01071 0.00149 | 0.13069 0.02051 | 0.31461 0.0166 | 0.34589 0.01325 | 0.38259 0.01134 |
| Tebuconazole | 0.00281 0.00136 | 0.09973 0.00793 | 0.17491 0.0151 | 0.20067 0.02047 | 0.23456 0.01349 |

# Table S7 The reaction rate constant of the six pesticides removal by Fenton process at different pH conditions.

| Pesticides | pH |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | 2 | 3 | 4 | 5 | 6 |
| Cyromazine | 0.01129 0.0008803 | 0.01305 0.0005556 | 0.01045 0.00108 | 0.00908 0.00152 | 0.00718 0.0003865 |
| Dinotefuran | 0.09152 0.00431 | 0.09813 0.00616 | 0.06855 0.00745 | 0.04431 0.00143 | 0.0344 0.00308 |
| Chloridazon | 0.11983 0.0162 | 0.17583 0.02489 | 0.07641 0.0022 | 0.06303 0.00164 | 0.0222 0.00165 |
| Atrazine | 0.04875 0.00528 | 0.06 0.00375 | 0.03285 0.00153 | 0.02543 0.00204 | 0.01001 0.000665 |
| Diuron | 0.13069 0.02051 | 0.17023 0.00794 | 0.07775 0.00479 | 0.07186 0.00338 | 0.0225 0.0006725 |
| Tebuconazole | 0.07794 0.00412 | 0.09974 0.00772 | 0.05871 0.00319 | 0.04484 0.00397 | 0.01441 0.0009293 |

# Table S8 The reaction rate constant of the six pesticides removal by UV/PS process at different potassium persulphate concentration.

| Pesticides | potassium persulphate concentration (mg/L) |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | 0 | 1 | 2 | 5 | 10 |
| Cyromazine | 0.0013 | 0.0039 | 0.0248 | 0.0165 | 0.0158 |
| Dinotefuran | 0.1268 | 0.1929 | 0.4236 | 0.2478 | 0.1467 |
| Chloridazon | 0.0022 | 0.0204 | 0.0377 | 0.0054 | 0.0041 |
| Atrazine | 0.0109 | 0.0284 | 0.0336 | 0.0235 | 0.0218 |
| Diuron | 0.0233 | 0.0482 | 0.0679 | 0.0354 | 0.0309 |
| Tebuconazole | 0.0008 | 0.0051 | 0.0295 | 0.0154 | 0.0124 |

# Table S9 The reaction rate constant of the six pesticides removal by UV/PS process at different pH conditions.

| Pesticides | pH |  |  |
| --- | --- | --- | --- |
|  | 4 | 7 | 10 |
| Cyromazine | 0.0096 | 0.0165 | 0.0079 |
| Dinotefuran | 0.4236 | 0.5067 | 0.0906 |
| Chloridazon | 0.0465 | 0.0377 | 0.0237 |
| Atrazine | 0.0336 | 0.0338 | 0.0146 |
| Diuron | 0.0483 | 0.0679 | 0.0261 |
| Tebuconazole | 0.0058 | 0.0295 | 0.0045 |