Supplementary Table 1. The PCR conditions and products analysis procedures for confirming the eGFP gene introgression in regenerated alfalfa plants.

| PCR reaction system | PCR reaction procedure |  |  | PCR products analysis |
| --- | --- | --- | --- | --- |
|  | Temperature | Duration | Cycles |  |
| DNA (2 µL, 40 ng) | 95℃ | 5 min | - | On 2% (w/v) agarose gel containing ethidium bromide in 1× TAE (100 mL); Images photographed using Digital Gel Documentation System-200 |
| 2×GoTag Green Master Mixes (12.5 µL) | 95℃ | 30 s | 30 |  |
| a Forward primer (1 µL) | 55℃ | 30 s | 30 |  |
| b Reverse primer (1 µL) | 72℃ | 1 min | 30 |  |
| Sterile distilled water (8.5 µL) | 72℃ | 5 min | - |  |

a Forward primer: 5’-CTGGGGTTCGAAATGACCGA-3’;

b Reverse primer: 5’-TTGACAGGAGGC