A commercially available 2–aminoanthracene fluorescent probe for rapid and sensitive detection of hypochlorite in 100% buffer solution and its application in complex water samples

Organic Chemistry Laboratory, Chemistry Group, National Metrology Institute, (TUBITAK UME), 41470 Gebze, Kocaeli, Turkey garensuna@gmail.com

CONTENTS										        PAGE

1. Preparation of Reactive Oxygen Species (ROS)1……………………………………………. 2

2. Determination of Detection Limit of ClO– ………………………………………………………. 3

3. Time-Dependant Fluorescence Change of AA with ClO–. ………......….…………………..……3

4. Effect of pH ……………………………………………………..…...……………………………4

5. Calibration Curves of Real Water Samples….………………….…..……………………………..4

6. Comparison Table with Other Reported ClO– Fluorescent Probes……………….……………….6

Mass Spectrum of AA + ClO– …….…..….………………………………………………………….9

- Preparation of Reactive Oxygen Species (ROS)1

Preparation of hypochlorite (ClO−)

The stock sodium hypochlorite solution was purchased from Sigma-Aldrich Chemical Co. The concentration of ClO− was determined by titration with S2O32−.

Preparation of hydrogen peroxide (H2O2)

The stock H2O2 solution was purchased from Sigma-Aldrich Chemical Co. Proper concentration was prepared by dissolving ultra-pure water.

Preparation of tert-butyl hydroperoxide (TBHP)

The stock TBHP solution was purchased from Sigma-Aldrich Chemical Co. Proper concentration was prepared by dissolving ultra-pure water.

Preparation of peroxyl radical (ROO•)

ROO• was generated from 2,2'-azobis(2-amidinopropane)dihydrochloride (AAPH). AAPH was dissolved in ultra-pure water and stirred at 25 °C for 30 min.

Preparation of hydroxyl radical (•OH)

Hydroxyl radical was generated by Fenton reaction. To prepare •OH solution, ferrous chloride was added into the solution containing 10 equivalents of H2O2.

Preparation of superoxide radical (O2 •−)

O2 •− radical was generated by dissolving potassium dioxide (KO2) in DMSO.

Reference

- Sun, Z. N.; Liu, F. Q.; Chen, Y.; Tam, P. K. H.; Yang, D. Org. Lett. 2008, 10, 2171- 2174

- Determination of Detection Limit of ClO–

The detection limit was calculated based on fluorescence titration. To determine the S/N ratio, the emission intensity of AA (10 µM) without ClO– was measured by 10 times, and the standard deviation of blank measurements was determined. Under the present conditions, a good linear relationship between the fluorescence intensity and ClO– concentration could be obtained in the 0.5 – 2.5 µM. The detection limit is then calculated with the equation: detection limit = 3σbi/m, where σbi is the standard deviation of blank measurements; m is the slope between intensity versus sample concentration. The detection limit was measured to be 140 nM based on the regression analyses.

Figure S1. Fluorescence changes of AA (10 μM) upon addition of ClO– (0.5 μM to 2.5 μM, 0.05 to 0.25 equiv).

- Time-Dependant Fluorescence Change of AA with ClO–

Figure S2. Time-dependent fluorescence change of AA (10 µM) in the presence of 5 equiv. ClO–, measured in PB (10 mM, pH=7.4).

- Effect of pH

Figure S3. Effect of pH on the fluorescence intensity of AA (10 µM) in PB (10 mM) in the absence (black line) and presence (red line) of ClO– (5.0 equiv.).

- Calibration Curves of Real Water Samples

a)

b)

c)

Figure S4. Calibration curves of (a) spring water, (b) wastewater, (c) pool water for ClO– .

6. Comparison Table with Other Reported ClO– Fluorescent Probes

Table 1.    Comparison Table with Other Reported ClO– Fluorescent Probes

| Compound | Synthetic Steps | Mechanism | Solvent System | Time | LOD (µM) | Application | Ref. Noa |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | 2 steps | Turn-on | 95:5 (v/v) H2O/ DMSO | 10 s | 0.34 µM | Cell imaging | [1] |
|  | 2 steps | Ratiometric | 3:7 (v/v) CH3OH/ PBS | 2 min | 0.06 µM | Cell imaging | [2] |
|  | 2 steps | Turn-off | 6:4 (v/v) bis-tris buffer/DMF | - | 22.4 µM | Water sample | [3] |
|  | 1 step | Turn-on | 99:1 (v/v) PBS/DMF | 30 s | 0.03 µM | Cell imaging, Filter paaper, Water sample | [4] |
|  | 3 steps | Turn on | 7:3 (v/v) DMSO/ H2O | 1 min | 0.13 µM | Cell imaging, Water sample | [5] |
|  | 3 steps | Turn-on | 4:1 (v/v) PB/DMF | 5 min | 0.5 µM | Cell imaging | [6] |
|  | 3 steps | Ratiometric | 8:2 (v/v) DMF/ PBS | 5 min | 0.29 µM | Cell imaging | [7] |
|  | 4 steps | Ratiometric | 1:1 THF/ PBS | 10 min | 1.15 µM | Cell imaging | [8] |
|  | 2 steps | Turn-on | 7:3 PBS/ CH3CN | < 1 min | 0.12 µM | Cell imaging | [9] |
|  | 2 steps | Ratiometric | HEPES | 30 s | 0.33 µM | Cell imaging, Water sample | [10] |
|  | Commercially Available | Turn-off | PB | 30 s | 0.14 µM | Water sample | This Work |

References

[1]	S.-S. Liu, J.-L. Yan, W.-N. Wu, X.-L. Zhao, Y.-C. Fan, Y. Wang, Z.-H. Xu, Highly selective fluorescent probe for rapid turn-on detection and cell imaging of hypochlorite anion, J. Photochem. Photobiol. A Chem. 432 (2022) 114082. https://doi.org/https://doi.org/10.1016/j.jphotochem.2022.114082.

[2]	X. Huang, T. Luo, C. Zhang, J. Li, Z. Jia, X. Chen, Y. Hu, H. Huang, Dual-ratiometric fluorescence probe for viscosity and hypochlorite based on AIEgen with mitochondria-targeting ability, Talanta. 241 (2022) 123235. https://doi.org/https://doi.org/10.1016/j.talanta.2022.123235.

[3]	S.M. Hwang, A. Kim, C. Kim, A simple hydrazine-based probe bearing anthracene moiety for the highly selective detection of hypochlorite, Inorg. Chem. Commun. 101 (2019) 1–5. https://doi.org/https://doi.org/10.1016/j.inoche.2019.01.002.

[4]	Z. Wang, Y. Zhang, J. Song, M. Li, Y. Yang, W. Gu, X. Xu, H. Xu, S. Wang, A highly specific and sensitive turn-on fluorescence probe for hypochlorite detection based on anthracene fluorophore and its bioimaging applications, Dye. Pigment. 161 (2019) 172–181. https://doi.org/https://doi.org/10.1016/j.dyepig.2018.09.046.

[5]	S. Malkondu, S. Erdemir, S. Karakurt, Red and blue emitting fluorescent probe for cyanide and hypochlorite ions: Biological sensing and environmental analysis, Dye. Pigment. 174 (2020) 108019. https://doi.org/https://doi.org/10.1016/j.dyepig.2019.108019.

[6]	M. Emrullahoğlu, M. Üçüncü, E. Karakuş, A BODIPY aldoxime-based chemodosimeter for highly selective and rapid detection of hypochlorous acid, Chem. Commun. 49 (2013) 7836–7838. https://doi.org/10.1039/C3CC44463E.

[7]	S. Erdemir, S. Malkondu, O. Kocyigit, O. Alici, Antharacene-modified isophorone derivative with NIR-emission for hypochlorite detection by the oxidative decomposition reaction and its applications, Measurement. 193 (2022) 111007. https://doi.org/https://doi.org/10.1016/j.measurement.2022.111007.

[8]	B. Shen, Y. Qian, Z. Qi, C. Lu, Q. Sun, X. Xia, Y. Cui, Near-infrared BODIPY-based two-photon ClO− probe based on thiosemicarbazide desulfurization reaction: naked-eye detection and mitochondrial imaging, J. Mater. Chem. B. 5 (2017) 5854–5861. https://doi.org/10.1039/C7TB01344B.

[9]	W.-J. Shi, Y. Huang, W. Liu, D. Xu, S.-T. Chen, F. Liu, J. Hu, L. Zheng, K. Chen, A BODIPY-based “OFF-ON” fluorescent probe for fast and selective detection of hypochlorite in living cells, Dye. Pigment. 170 (2019) 107566. https://doi.org/https://doi.org/10.1016/j.dyepig.2019.107566.

[10]	X. Tang, Z. Zhu, R. Liu, Y. Tang, A novel ratiometric and colorimetric fluorescent probe for hypochlorite based on cyanobiphenyl and its applications, Spectrochim. Acta Part A Mol. Biomol. Spectrosc. 219 (2019) 576–581. https://doi.org/https://doi.org/10.1016/j.saa.2019.04.042.

HRMS Spectrum of AA + ClO–