Table S1 Analysis results of Seronorm Trace Elements Whole blood L-1and L-2 (μg/L).

| Whole blood metals (μg/L) | L-1 |  |  | L-2 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Measured value mean | Median (Reference range) | RSDs a /% | Measured value mean | Median (Reference range) | RSDs/% |
| V | 1.12 | 0.97 (0.59, 1.36) | 4.23 | 3.37 | 3.26 (2.57, 3.88) | 3.22 |
| Cr | 6.42 | 4.98 (3.90, 6.68) | 5.26 | 10.78 | 9.98 (7.98, 11.98) | 5.02 |
| Mn | 19.50 | 14.64 (10.48, 17.73) | 4.48 | 25.20 | 24.00 (22.00, 26.10) | 3.39 |
| Co | 0.44 | 0.32 (0.10, 0.35) | 4.10 | 4.16 | 4.00 (3.00, 5.00) | 3.46 |
| Ni | 3.65 | 1.16 (1.13, 3.84) | 4.01 | 9.50 | 8.50 (6.30, 12.00) | 3.77 |
| Cu | 0.65 | 0.62 (0.50, 0.75) | 4.34 | 0.99 | 1.00 (0.89, 1.04) | 4.65 |
| Zn | 4.80 | 4.30 (3.38, 5.19) | 3.33 | 5.66 | 5.51 (4.51, 6.51) | 1.57 |
| As | 5.01 | 4.47 (3.57, 5.38) | 4.88 | 13.49 | 12.11 (9.79, 14.68) | 4.72 |
| Se | 68.10 | 59.12 (47.10, 71.09) | 5.01 | 157.00 | 140.00 (110.00, 171.00) | 5.05 |
| Mo | 0.53 | 0.51 (0.41, 0.61) | 4.82 | 5.26 | 4.55 (3.65, 5.45) | 4.22 |
| Cd | 0.33 | 0.29 (0.17, 0.40) | 5.13 | 5.71 | 5.13 (4.13, 6.13) | 5.18 |
| Tl | 10.05 | 7.05 (3.05, 11.05) | 8.98 | 11.41 | 10.12 (8.12, 12.12) | 4.24 |
| Pb | 9.40 | 9.70 (7.70, 11.89) | 2.96 | 308.00 | 301.00 (270.00, 332.00) | 2.78 |

a RSD, relative standard deviation.

Table S2

Limits of detection, percentages of samples below detection limits (n = 2808).

| Whole blood metals (μg/L) | LOD | Total No. (%) < LOD |
| --- | --- | --- |
| Vanadium (V) | 0.5 | 660 (23.50) |
| Chromium (Cr) | 1 | 44 (1.57) |
| Manganese (Mn) | 0.5 | 8 (0.28) |
| Cobalt (Co) | 0.2 | 829 (29.52) |
| Nickel (Ni) | 0.8 | 467 (16.63) |
| Copper (Cu) | 10 | 0 (0) |
| Zinc (Zn) | 20 | 0 (0) |
| Arsenic (As) | 1 | 163 (5.80) |
| Selenium (Se) | 2 | 59 (2.10) |
| Molybdenum (Mo) | 1 | 456 (16.24) |
| Cadmium (Cd) | 0.2 | 42 (1.50) |
| Thallium (Tl) | 0.2 | 2489 (88.64) |
| Lead (Pb) | 20 | 397 (14.14) |

aLOD, limits of detection.

Table S3

The correlations between whole blood metals among the study population.

|  | V | Cr | Mn | Co | Ni | Cu | Zn | As | Se | Mo | Cd | Pb |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| V | 1 | 0.171* | 0.028 | 0.009 | 0.016 | -0.014 | 0.005 | 0.217* | -0.175* | 0.073* | -0.019 | -0.029 |
| Cr |  | 1 | 0.064* | 0.020 | 0.057* | -0.014 | 0.034 | 0.056* | 0.003 | 0.044* | -0.046* | -0.028 |
| Mn |  |  | 1 | 0.172* | 0.088* | 0.121* | 0.095* | 0.021 | 0.170* | 0.039* | 0.022 | 0.060* |
| Co |  |  |  | 1 | 0.059* | 0.018 | -0.051* | 0.006 | 0.070* | -0.003 | 0.008 | -0.019 |
| Ni |  |  |  |  | 1 | 0.030 | 0.058* | -0004 | 0.043* | 0.061* | -0.004 | 0.029 |
| Cu |  |  |  |  |  | 1 | 0.166* | -0.023 | 0.154* | 0.062* | -0.069* | -0.004 |
| Zn |  |  |  |  |  |  | 1 | -0.107* | 0.217* | 0.065* | 0.147* | 0.093* |
| As |  |  |  |  |  |  |  | 1 | -0.305* | 0.140* | 0.051* | -0.063* |
| Se |  |  |  |  |  |  |  |  | 1 | 0.030 | 0.014 | 0.160* |
| Mo |  |  |  |  |  |  |  |  |  | 1 | 0.022 | 0.070* |
| Cd |  |  |  |  |  |  |  |  |  |  | 1 | 0.246* |
| Pb |  |  |  |  |  |  |  |  |  |  |  | 1 |

*p < 0.05

Table S4

Percent change (95%CI) in blood lipid biomarkers per interquartile range increases in blood metal concentrations of total population by statistical model.

| Blood lipid biomarker | Metal | Percent Change (95% CI)a |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Q1 | Q2 | Q3 | Q4 |
| TC (mmol/L) | V (μg/L) | ref | 0.98 (0.68, 1.39) | 0.94 (0.68, 1.32) | 0.78 (0.55, 1.11) |
|  | Cr (μg/L) | ref | 1.91 (1.31, 2.77)* | 1.60 (1.09, 2.37)* | 1.61 (1.10, 2.34)* |
|  | Mn (μg/L) | ref | 0.90 (0.63, 1.31) | 1.16 (0.81, 1.65) | 1.10 (0.77, 1.57) |
|  | Co (μg/L) | ref | 0.99 (0.69, 1.42) | 0.90 (0.63, 1.27) | 0.92 (0.65, 1.31) |
|  | Ni (μg/L) | ref | 1.27 (0.86, 1.86) | 1.39 (0.96, 2.03) | 1.79 (1.25, 2.58)* |
|  | Cu (μg/L) | ref | 0.80 (0.54, 1.18) | 1.08 (0.75, 1.56) | 1.08 (0.75, 1.57) |
|  | Zn (μg/L) | ref | 1.15 (0.79, 1.69) | 1.63 (1.14, 2.35)* | 1.68 (1.16, 4.43)* |
|  | As (μg/L) | ref | 1.11 (0.78, 1.58) | 0.93 (0.64, 1.35) | 1.24 (0.84, 1.82) |
|  | Se (μg/L) | ref | 1.13 (0.76, 1.68) | 1.73 (1.20, 2.51)* | 2.11 (1.46, 3.04)* |
|  | Mo (μg/L) | ref | 0.44 (0.10, 1.87) | 0.92 (0.68, 1.25) | 0.92 (0.68, 1.25) |
|  | Cd (μg/L) | ref | 0.79 (0.55, 1.13) | 0.97 (0.68, 1.37) | 0.76 (0.51, 1.13) |
|  | Pb (μg/L) | ref | 1.25 (0.86, 1.83) | 1.32 (0.90, 1.93) | 1.40 (0.95, 2.07) |
| TG (mmol/L) | V (μg/L) | ref | 0.97 (0.64, 1.48) | 0.83 (0.55, 1.26) | 1.07 (0.72, 1.59) |
|  | Cr (μg/L) | ref | 1.17 (0.75, 1.81) | 1.23 (0.79, 1.90) | 1.14 (0.75, 1.74) |
|  | Mn (μg/L) | ref | 0.94 (0.62, 1.42) | 1.05 (0.70, 1.58) | 0.83 (0.54, 1.29) |
|  | Co (μg/L) | ref | 0.91 (0.59, 1.38) | 0.84 (0.56, 1.26) | 0.91 (0.60, 1.37) |
|  | Ni (μg/L) | ref | 0.91 (0.59, 1.40) | 1.11 (0.74, 1.68) | 1.16 (0.76, 1.75) |
|  | Cu (μg/L) | ref | 1.11 (0.74, 1.68) | 1.03 (0.67, 1.59) | 0.92 (0.59, 1.44) |
|  | Zn (μg/L) | ref | 1.23 (0.78, 1.94) | 1.18 (0.75, 1.87) | 1.71 (1.10, 2.64)* |
|  | As (μg/L) | ref | 1.33 (0.88, 2.02) | 1.30 (0.85, 1.98) | 1.04 (0.65, 1.68) |
|  | Se (μg/L) | ref | 1.20 (0.78, 1.85) | 1.14 (0.73, 1.76) | 1.48 (0.97, 2.26) |
|  | Mo (μg/L) | ref | 0.85 (0.25, 2.90) | 0.70 (0.48, 1.03) | 0.75 (0.52, 1.10) |
|  | Cd (μg/L) | ref | 0.90 (0.57, 1.44) | 1.06 (0.67, 1.69) | 1.79 (1.13, 2.83)* |
|  | Pb (μg/L) | ref | 1.23 (0.78, 1.94) | 1.45 (0.92, 2.29) | 1.27 (0.79, 2.04) |
| LDL-C (mmol/L) | V (μg/L) | ref | 0.98 (0.72, 1.33) | 0.97 (0.73, 1.29) | 0.62 (0.45, 0.85)* |
|  | Cr (μg/L) | ref | 1.50 (1.09, 2.06) | 1.38 (0.99, 1.92) | 1.38 (1.00, 1.91) |
|  | Mn (μg/L) | ref | 1.06 (0.78, 1.45) | 1.11 (0.82, 1.52) | 1.01 (0.74, 1.39) |
|  | Co (μg/L) | ref | 0.96 (0.70, 1.31) | 0.99 (0.74, 1.33) | 0.84 (0.61, 1.14) |
|  | Ni (μg/L) | ref | 1.34 (0.96, 1.85) | 1.26 (0.91, 1.75) | 1.67 (1.22, 2.29)* |
|  | Cu (μg/L) | ref | 0.74 (0.53, 1.03) | 1.09 (0.79, 1.49) | 1.05 (0.76, 1.45) |
|  | Zn (μg/L) | ref | 1.14 (0.82, 1.57) | 1.47 (1.07, 2.01)* | 1.37 (0.99, 1.90) |
|  | As (μg/L) | ref | 1.09 (0.79, 1.48) | 0.91 (0.66, 1.25) | 1.17 (0.84, 1.63) |
|  | Se (μg/L) | ref | 1.17 (0.82, 1.65) | 1.84 (1.33, 2.55)* | 2.28 (1.65, 3.14)* |
|  | Mo (μg/L) | ref | 0.86 (0.33, 2.25) | 0.85 (0.65, 1.12) | 0.88 (0.67, 1.16) |
|  | Cd (μg/L) | ref | 0.91 (0.67, 1.25) | 0.94 (0.69, 1.29) | 0.80 (0.57, 1.14) |
|  | Pb (μg/L) | ref | 1.33 (0.95, 1.85) | 1.26 (0.90, 1.77) | 1.45 (1.04, 2.05)* |
| HDL-C (mmol/L) | V (μg/L) | ref | 0.97 (0.73, 1.28) | 0.88 (0.67, 1.25) | 1.05 (0.81, 1.36) |
|  | Cr (μg/L) | ref | 0.66 (0.50, 0.88)* | 0.75 (0.57, 0.99)* | 0.65 (0.49, 0.86)* |
|  | Mn (μg/L) | ref | 0.80 (0.61, 1.05) | 0.79 (0.60, 1.06) | 0.84 (0.64, 1.11) |
|  | Co (μg/L) | ref | 0.79 (0.60, 1.05) | 0.89 (0.68, 1.15) | 0.76 (0.58, 0.99)* |
|  | Ni (μg/L) | ref | 0.88 (0.66, 1.16) | 0.84 (0.64, 1.11) | 1.02 (0.78, 1.34) |
|  | Cu (μg/L) | ref | 1.08 (0.83, 1.42) | 1.12 (0.85, 1.48) | 1.17 (0.88, 1.57) |
|  | Zn (μg/L) | ref | 1.39 (1.05, 1.86)* | 1.30 (0.97, 1.74)* | 1.59 (1.19, 2.13)* |
|  | As (μg/L) | ref | 0.89 (0.68, 1.18) | 0.87 (0.66, 1.15) | 0.83 (0.62, 1.12) |
|  | Se (μg/L) | ref | 0.99 (0.75, 1.29) | 0.90 (0.69, 1.19) | 0.79 (0.60, 1.04) |
|  | Mo (μg/L) | ref | 0.89 (0.39, 2.02) | 0.67 (0.52, 0.87)* | 1.08 (0.85, 1.37) |
|  | Cd (μg/L) | ref | 1.12 (0.84, 1.50) | 1.30 (0.96, 1.74) | 1.54 (1.13, 2.11)* |
|  | Pb (μg/L) | ref | 1.05 (0.79, 1.39) | 0.95 (0.71, 1,27) | 0.99 (0.73, 1.33) |
| Non-HDL-C | V (μg/L) | ref | 0.92 (0.57, 1.49) | 1.01 (0.65, 1.58) | 0.73 (0.46, 1.19) |
|  | Cr (μg/L) | ref | 1.41 (0.86, 2.31) | 1.15 (0.68, 1.96) | 1.50 (0.92, 2.43) |
|  | Mn (μg/L) | ref | 0.96 (0.59, 1.57) | 1.15 (0.72, 1.83) | 0.85 (0.51, 1.40) |
|  | Co (μg/L) | ref | 0.82 (0.51, 1.32) | 0.71 (0.45, 1.12) | 0.67 (0.42, 1.07) |
|  | Ni (μg/L) | ref | 1.11 (0.66, 1.87) | 1.42 (0.87, 2.34) | 1.51 (0.92, 2.46) |
|  | Cu (μg/L) | ref | 0.75 (0.44, 1.28) | 1.21 (0.74, 1.96) | 1.01 (0.61, 1.68) |
|  | Zn (μg/L) | ref | 1.07 (0.66, 1.80) | 1.27 (0.78, 2.08) | 1.47 (0.90, 2.39) |
|  | As (μg/L) | ref | 0.95 (0.59, 1.53) | 0.82 (0.50, 1.36) | 1.21 (0.73, 2.02) |
|  | Se (μg/L) | ref | 1.26 (0.72, 2,20) | 1.80 (1.07, 3.04)* | 2.46 (1.48, 4.10)* |
|  | Mo (μg/L) | ref | _ | 1.06 (0.71, 1.57) | 0.76 (0.49, 1,18) |
|  | Cd (μg/L) | ref | 0.96 (0.60, 1.54) | 0.98 (0.61, 1.57) | 0.74 (0.43, 1.30) |
|  | Pb (μg/L) | ref | 1.22 (0.73, 2.05) | 1.08 (0.64, 1,85) | 1.51 (0.90, 2.53) |
| TC/HDL-C | V (μg/L) | ref | 0.82 (0.55, 1.22) | 0.80 (0.54, 1.17) | 0.82 (0.56, 1.20) |
|  | Cr (μg/L) | ref | 1.16 (0.79, 1.71) | 0.87 (0.57, 1.32) | 0.79 (0.52, 1.19) |
|  | Mn (μg/L) | ref | 0.69 (0.46, 1.02) | 0.65 (0.44, 0.98)* | 0.77 (0.52, 1.14) |
|  | Co (μg/L) | ref | 0.72 (0.47, 1.10) | 0.83 (0.57, 1.22) | 0.84 (0.57, 1.23) |
|  | Ni (μg/L) | ref | 1.04 (0.71, 1.51) | 0.71 (0.47, 1.07) | 0.75 (0.50, 1.12) |
|  | Cu (μg/L) | ref | 0.87 (0.57, 1.32) | 1.21 (0.81, 1.81) | 1.09 (0.71, 1.65) |
|  | Zn (μg/L) | ref | 0.73 (0.49, 1.11) | 0.97 (0.66, 1.44) | 0.82 (0.55, 1.24) |
|  | As (μg/L) | ref | 0.75 (0.51, 1.09) | 0.64 (0.43, 0.94)* | 0.60 (0.39. 0.92)* |
|  | Se (μg/L) | ref | 0.97 (0.66, 1.44) | 0.84 (0.56, 1.26) | 0.97 (0.85, 1.45) |
|  | Mo (μg/L) | ref | _ | 1.09 (0.77, 1,54) | 1.18 (0.83, 1.66) |
|  | Cd (μg/L) | ref | 0.82 (0.53, 1.25) | 1.16 (0.77, 1.76) | 1.29 (0.83, 1.99) |
|  | Pb (μg/L) | ref | 1.07 (0.72, 1.59) | 0.88 (0.57, 1.36) | 0.95 (0.61, 1,47) |
| TG/HDL-C | V (μg/L) | ref | 1.04 (0.69, 1.58) | 0.67 (0.43, 1.04) | 1.17 (0.79, 1.73) |
|  | Cr (μg/L) | ref | 0.88 (0.57, 1.36) | 0.89 (0.58, 1.39) | 0.93 (0.61, 1.41) |
|  | Mn (μg/L) | ref | 0.87 (0.58, 1.30) | 0.90 (0.60, 1.35) | 0.59 (0.38, 0.92)* |
|  | Co (μg/L) | ref | 0.92 (0.61, 1.39) | 0.81 (0.55, 1.21) | 0.66 (0.43, 1.02) |
|  | Ni (μg/L) | ref | 0.78 (0.51, 1.21) | 0.96 (0.64, 1.44) | 0.90 (0.60, 1.37) |
|  | Cu (μg/L) | ref | 0.89 (0.59, 1.34) | 0.81 (0.53, 1.26) | 1.05 (0.68, 1.61) |
|  | Zn (μg/L) | ref | 1.41 (0.89, 2.23) | 1.12 (0.69, 1.82) | 2.02 (1.30, 3.16)* |
|  | As (μg/L) | ref | 1.24 (0.82, 1.87) | 0.87 (0.56, 1.34) | 0.99 (0.62, 1.56) |
|  | Se (μg/L) | ref | 1.04 (0.68, 1.57) | 0.95 (0.62, 1.46) | 0.98 (0.64, 1.50) |
|  | Mo (μg/L) | ref | 0.51 (0.12, 2.25) | 0.63 (0.42, 0.94)* | 0.92 (0.64, 1.32) |
|  | Cd (μg/L) | ref | 0.81 (0.52, 1.29) | 0.85 (0.53, 1,37) | 1.80 (1.15, 2.83)* |
|  | Pb (μg/L) | ref | 0.94 (0.60, 1.47) | 1.28 (0.83, 1.98) | 0.97 (0.61, 1.55) |
| Non-HDL-C/HDL-C | V (μg/L) | ref | 0.82 (0.55, 1.22) | 0.80 (0.54, 1.17) | 0.82 (0.56, 1.20) |
|  | Cr (μg/L) | ref | 1.16 (0.79, 1.71) | 0.87 (0.57, 1.32) | 0.79 (0.52, 1.19) |
|  | Mn (μg/L) | ref | 0.69 (0.46, 1.02) | 0.65 (0.44, 0.98)* | 0.77 (0.52, 1.14) |
|  | Co (μg/L) | ref | 0.72 (0.47, 1.10) | 0.83 (0.57, 1.22) | 0.84 (0.57, 1.23) |
|  | Ni (μg/L) | ref | 1.04 (0.71, 1.51) | 0.71 (0.47, 1.07) | 0.75 (0.50, 1.12) |
|  | Cu (μg/L) | ref | 0.87 (0.57, 1.32) | 1.21 (0.81, 1.81) | 1.09 (0.71, 1.65) |
|  | Zn (μg/L) | ref | 0.73 (0.49, 1.11) | 0.97 (0.66, 1.44) | 0.82 (0.55, 1.24) |
|  | As (μg/L) | ref | 0.75 (0.51, 1.09) | 0.64 (0.43, 0.94)* | 0.60 (0.39. 0.92)* |
|  | Se (μg/L) | ref | 0.97 (0.66, 1.44) | 0.84 (0.56, 1.26) | 0.97 (0.85, 1.45) |
|  | Mo (μg/L) | ref | _ | 1.09 (0.77, 1,54) | 1.18 (0.83, 1.66) |
|  | Cd (μg/L) | ref | 0.82 (0.53, 1.25) | 1.16 (0.77, 1.76) | 1.29 (0.83, 1.99) |
|  | Pb (μg/L) | ref | 1.07 (0.72, 1.59) | 0.88 (0.57, 1.36) | 0.95 (0.61, 1,47) |

a The fully adjusted model adjusted for age, sex, district, education, smoke status, drinking status, physical activity, diabetes mellitus, hypertension, and coronary heart disease.

*p < 0.05.

Table S5

Percent change (95%CI) in blood lipid biomarkers per interquartile range increases in blood metal concentrations of OW/OB participants by statistical model I.

| Blood lipid biomarker | Metal | Percent Change (95% CI)a |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Q1 | Q2 | Q3 | Q4 |
| TC (mmol/L) | V (μg/L) | ref | 1.84 (1.18, 2.88)* | 1.61 (1.10, 2.56)* | 1.34 (0.83, 2.14) |
|  | Cr (μg/L) | ref | 1.70 (1.11, 2.62)* | 1.09 (0.69, 1.73) | 1.31 (0.85, 2.04) |
|  | Mn (μg/L) | ref | 0.85 (0.55, 1.32) | 1.18 (0.78, 1.79) | 0.98 (0.64, 1.51) |
|  | Co (μg/L) | ref | 1.16 (0.77, 1.75) | 0.74 (0.48, 1.14) | 0.88 (0.58, 1.33) |
|  | Ni (μg/L) | ref | 1.45 (0.93, 2.26) | 1.14 (0.72, 1.81) | 1.79 (1.16, 2.75)* |
|  | Cu (μg/L) | ref | 0.90 (0.56, 1.43) | 1.26 (0.81, 1.94) | 1.06 (0.67, 1.66) |
|  | Zn (μg/L) | ref | 1.15 (0.73, 1.81) | 1.62 (1.05, 2.51)* | 1.38 (0.88, 2.17) |
|  | As (μg/L) | ref | 1.06 (0.70, 1.59) | 0.83 (0.54, 1.28) | 0.86 (0.55, 1.36) |
|  | Se (μg/L) | ref | 0.92 (0.57, 1.47) | 1.70 (1.11, 2.52)* | 1.72 (1.12, 2.64) |
|  | Mo (μg/L) | ref | 0.12 (0.02, 0.06)* | 0.93 (0.64, 1.34) | 0.80 (0.55, 1.16) |
|  | Cd (μg/L) | ref | 0.79 (0.51, 1,24) | 1.06 (0.69, 1.64) | 0.91 (0.57, 1.46) |
|  | Pb (μg/L) | ref | 1.42 (0.87, 2.31) | 1.93 (1.19, 3.12)* | 1.78 (1.09, 2.93)* |
| TG (mmol/L) | V (μg/L) | ref | 0.91 (0.52, 1.58) | 1.11 (0.65, 1.91) | 0.92 (0.53, 1.61) |
|  | Cr (μg/L) | ref | 1.08 (0.60, 1.97) | 1.55 (0.89, 2.70) | 1.25 (0.72, 2.17) |
|  | Mn (μg/L) | ref | 0.89 (0.52, 1.52) | 1.10 (0.65, 1.85) | 0.74 (0.42, 1.22) |
|  | Co (μg/L) | ref | 1.26 (0.75, 2.12) | 0.93 (0.54, 1.60) | 0.98 (0.56, 1.71) |
|  | Ni (μg/L) | ref | 0.73 (0.40, 1.34) | 1.16 (0.67, 2.01) | 1.61 (0.95, 2.71) |
|  | Cu (μg/L) | ref | 1.41 (0.78, 2.53) | 1.63 (0.91, 2.92) | 1.41 (0.77, 2.59) |
|  | Zn (μg/L) | ref | 1.19 (0.62, 2.29) | 1.54 (0.82, 2.89) | 2.33 (1.28, 4.26)* |
|  | As (μg/L) | ref | 0.79 (0.45, 1.41) | 1.51 (0.90, 1.52) | 0.88 (0.48, 1.61) |
|  | Se (μg/L) | ref | 1.19 (0.68, 2.07) | 1.35 (0.78, 2.35) | 1.09 (0.62, 1.94) |
|  | Mo (μg/L) | ref | 0.44 (0.10, 1.86) | 0.81 (0.50, 1.31) | 0.76 (0.47, 1,23) |
|  | Cd (μg/L) | ref | 0.51 (0.26, 1.01) | 1.31 (0.74, 2.32) | 1.44 (0.80, 2.59) |
|  | Pb (μg/L) | ref | 0.67 (0.35, 1.30) | 1.33 (0.73, 1.42) | 1.37 (0.74, 2.53) |
| LDL-C (mmol/L) | V (μg/L) | ref | 1.60 (1.08, 2.36)* | 1.41 (0.94, 2.11) | 1.01 (0.67, 1.54) |
|  | Cr (μg/L) | ref | 1.55 (1.05, 2.29)* | 1.17 (0.78, 1.75) | 1.17 (0.80, 1.74) |
|  | Mn (μg/L) | ref | 0.99 (0.68, 1.46) | 1.14 (0.78, 1.66) | 0.82 (0.55, 1.23) |
|  | Co (μg/L) | ref | 1.20 (0.83, 1.75) | 0.93 (0.64, 1.35) | 0.84 (0.57, 1.24) |
|  | Ni (μg/L) | ref | 1.29 (0.87, 1.91) | 1.05 (0.70, 1.57) | 1.44 (0.98, 2.11) |
|  | Cu (μg/L) | ref | 0.87 (0.57, 1.31) | 1.20 (0.81, 1.78) | 1.12 (0.75, 1.68) |
|  | Zn (μg/L) | ref | 1.19 (0.79, 1.79) | 1.54 (1.04, 1.30)* | 1.35 (0.83, 1.88) |
|  | As (μg/L) | ref | 0.94 (0.65, 1.36) | 0.68 (0.45, 1.00) | 0.78 (0.52, 1.17) |
|  | Se (μg/L) | ref | 1.24 (0.80, 1.92) | 2.06 (1.36, 3.11)* | 2.45 (1.64, 3.67)* |
|  | Mo (μg/L) | ref | 0.29 (0.90, 0.96)* | 0.92 (0.66, 1.28) | 0.82 (0.58, 1.15) |
|  | Cd (μg/L) | ref | 0.70 (0.47, 1.05) | 0.88 (0.59,1.31) | 0.82 (0.54, 1.26) |
|  | Pb (μg/L) | ref | 1.02 (0.78, 1.86) | 1.52 (0.99, 2.34) | 1.59 (1.83, 2.47)* |
| HDL-C (mmol/L) | V (μg/L) | ref | 0.61 (0.42, 0.88)* | 0.83 (0.58, 1.18) | 0.56 (0.38, 0.82)* |
|  | Cr (μg/L) | ref | 0.54 (0.37, 0.80)* | 0.71 (0.49, 1.03) | 0.63 (0.44, 0.91)* |
|  | Mn (μg/L) | ref | 0.81 (0.56, 1.16) | 0.73 (0.50, 1.05) | 0.83 (0.57, 1.19) |
|  | Co (μg/L) | ref | 0.88 (0.61, 1.27) | 0.77 (0.53, 1.10) | 0.79 (0.55, 1.13) |
|  | Ni (μg/L) | ref | 0.87 (0.60, 1.26) | 0.86 (0.59, 1.24) | 1.08 (0.76, 1.55) |
|  | Cu (μg/L) | ref | 1.19 (0.82, 1.71) | 0.93 (0.63, 1.38) | 1.48 (1.02, 2.18)* |
|  | Zn (μg/L) | ref | 1.34 (0.90, 1.98) | 1.37 (0.93, 2.04) | 1.57 (1.06, 2.34)* |
|  | As (μg/L) | ref | 1.04 (0.72, 1.50) | 0.87 (0.59, 1.27) | 0.99 (0.67, 1.46) |
|  | Se (μg/L) | ref | 1.00 (0.70, 1.44) | 0.86 (0.59, 1.24) | 0.84 (0.58, 1.22) |
|  | Mo (μg/L) | ref | 0.46 (0.18, 1.18) | 0.85 (0.61, 1.18) | 0.96 (0.69, 1.32) |
|  | Cd (μg/L) | ref | 1.16 (0.78, 1.74) | 1.61 (1.07, 2.41)* | 1.94 (1.28, 2.94)* |
|  | Pb (μg/L) | ref | 1.14 (0.78, 1.65) | 0.92 (0.61, 1.38) | 0.95 (0.63, 1.43) |
| Non-HDL-C | V (μg/L) | ref | 1.82 (0.93, 2.82) | 1.41 (0.79, 2.51) | 1.08 (0.59, 1.97) |
|  | Cr (μg/L) | ref | 1.20 (0.71, 2.04) | 0.73 (0.51, 1.32) | 1.09 (0.64, 1.86) |
|  | Mn (μg/L) | ref | 0.94 (0.56, 1.59) | 1.02 (0.61, 1.70) | 0.62 (0.35, 1.11) |
|  | Co (μg/L) | ref | 1.07 (0.65, 1.75) | 0.54 (0.31, 0.94)* | 0.58 (0.33, 1.00) |
|  | Ni (μg/L) | ref | 1.24 (0.70, 2.20) | 1.19 (0.67, 2.11) | 1.68 (0.98, 2.88) |
|  | Cu (μg/L) | ref | 1.09 (0.61, 1.94) | 1.34 (0.77, 2.34) | 0.96 (0.53, 1.73) |
|  | Zn (μg/L) | ref | 1.12 (0.64, 1.96) | 1.36 (0.78, 2.36) | 1.15 (0.65, 2.04) |
|  | As (μg/L) | ref | 0.77 (0.46, 1.30) | 0.62 (0.35, 1.07) | 0.80 (0.46, 1.40) |
|  | Se (μg/L) | ref | 1.01 (0.56, 1.83) | 1.56 (0.90, 2.70) | 1.57 (0.91, 2.71) |
|  | Mo (μg/L) | ref | _ | 1.06 (0.67, 1.67) | 0.94 (0.58, 1.50) |
|  | Cd (μg/L) | ref | 0.90 (0.50, 1.60) | 1.12 (0.64, 1.96) | 0.99 (0.54, 1.81) |
|  | Pb (μg/L) | ref | 1.19 (0.63, 2.24) | 1.62 (0.88, 2.99) | 1.63 (0.88, 3.02) |
| TC/HDL-C | V (μg/L) | ref | 0.94 (0.51, 1.73) | 1.07 (0.59, 1.92) | 0.60 (0.30, 1.18) |
|  | Cr (μg/L) | ref | 0.83 (0.44, 1.57) | 0.94 (0.51, 1,72) | 0.70 (0.37, 1.32) |
|  | Mn (μg/L) | ref | 0.73 (0.40, 1.34) | 0.81 (0.44, 1.47) | 0.76 (0.41, 1.40) |
|  | Co (μg/L) | ref | 0.97 (0.55, 1.67) | 0.74 (0.42, 1.33) | 0.43 (0.21, 0.88)* |
|  | Ni (μg/L) | ref | 0.86 (0.46, 1.61) | 0.77 (0.41, 1.44) | 1.22 (0.68, 2.17) |
|  | Cu (μg/L) | ref | 0.88 (0.46, 1.70) | 1.11 (0.58, 2.12) | 1.74 (0.93, 3.24) |
|  | Zn (μg/L) | ref | 1.43 (0.73, 2.81) | 1.31 (0.66, 2.69) | 1.34 (0.68, 2.54) |
|  | As (μg/L) | ref | 0.69 (0.37, 1.29) | 0.91 (0.50, 1.65) | 0.65 (0.34, 1.25) |
|  | Se (μg/L) | ref | 1.18 (0.63, 2.21) | 1.36 (0.74, 2.53) | 0.96 (0.51, 1.82) |
|  | Mo (μg/L) | ref | 1.14 (0.33, 3.86) | 0.84 (0.48, 1.48) | 1.05 (0.62, 1.78) |
|  | Cd (μg/L) | ref | 0.77 (0.36, 1.65) | 1.52 (0.77, 3.02) | 1.86 (0.83, 3.31) |
|  | Pb (μg/L) | ref | 1.42 (0.68, 2.96) | 1.71 (0.83, 3.54) | 1.56 (0.75, 3.25) |
| TG/HDL-C | V (μg/L) | ref | 0.84 (4.89, 1.45) | 0.88 (0.52, 1.52) | 0.71 (0.40, 1.26) |
|  | Cr (μg/L) | ref | 0.76 (0.42, 1.37) | 1.17 (0.68, 2.01) | 0.90 (0.52, 1.56) |
|  | Mn (μg/L) | ref | 0.65 (0.38, 1.11) | 0.88 (0.53, 1.46) | 0.42 (0.23, 0.78)* |
|  | Co (μg/L) | ref | 1.04 (0.63, 1.74) | 0.78 (0.46, 1.34) | 0.60 (0.34, 1.08) |
|  | Ni (μg/L) | ref | 0.75 (0.42, 1.35) | 1.10 (0.64, 1.87) | 1.06 (0.61, 1.82) |
|  | Cu (μg/L) | ref | 1.29 (0.72, 2.29) | 1.11 (0.80, 2.04) | 1.90 (1.06, 2.39)* |
|  | Zn (μg/L) | ref | 1.01 (0.52, 1.99) | 1.64 (0.88, 3.06) | 2.36 (1.29, 4.33)* |
|  | As (μg/L) | ref | 0.77 (0.44, 1.35) | 1.12 (0.66, 1.89) | 0.69 (0.38, 1.26) |
|  | Se (μg/L) | ref | 1.30 (0.74, 2.28) | 1.30 (0.74, 2.30) | 1.12 (0.63, 1.99) |
|  | Mo (μg/L) | ref | 0.45 (0.10, 1.87) | 0.76 (0.47, 1.24) | 0.68 (0.41, 1.12) |
|  | Cd (μg/L) | ref | 0.60 (0.31, 1.18) | 1.25 (0.69, 2.25) | 1.60 (0.88, 2.09) |
|  | Pb (μg/L) | ref | 0.87 (0.45, 1.68) | 1.73 (0.94, 3.19) | 1.59 (0.85, 2.99) |
| Non-HDL-C/HDL-C | V (μg/L) | ref | 0.94 (0.51, 1.73) | 1.07 (0.59, 1.92) | 0.60 (0.30, 1.18) |
|  | Cr (μg/L) | ref | 0.83 (0.44, 1.57) | 0.94 (0.51, 1,72) | 0.70 (0.37, 1.32) |
|  | Mn (μg/L) | ref | 0.73 (0.40, 1.34) | 0.81 (0.44, 1.47) | 0.76 (0.41, 1.40) |
|  | Co (μg/L) | ref | 0.97 (0.55, 1.67) | 0.74 (0.42, 1.33) | 0.43 (0.21, 0.88)* |
|  | Ni (μg/L) | ref | 0.86 (0.46, 1.61) | 0.77 (0.41, 1.44) | 1.22 (0.68, 2.17) |
|  | Cu (μg/L) | ref | 0.88 (0.46, 1.70) | 1.11 (0.58, 2.12) | 1.74 (0.93, 3.24) |
|  | Zn (μg/L) | ref | 1.43 (0.73, 2.81) | 1.31 (0.66, 2.69) | 1.34 (0.68, 2.54) |
|  | As (μg/L) | ref | 0.69 (0.37, 1.29) | 0.91 (0.50, 1.65) | 0.65 (0.34, 1.25) |
|  | Se (μg/L) | ref | 1.18 (0.63, 2.21) | 1.36 (0.74, 2.53) | 0.96 (0.51, 1.82) |
|  | Mo (μg/L) | ref | 1.14 (0.33, 3.86) | 0.84 (0.48, 1.48) | 1.05 (0.62, 1.78) |
|  | Cd (μg/L) | ref | 0.77 (0.36, 1.65) | 1.52 (0.77, 3.02) | 1.86 (0.83, 3.31) |
|  | Pb (μg/L) | ref | 1.42 (0.68, 2.96) | 1.71 (0.83, 3.54) | 1.56 (0.75, 3.25) |

a The fully adjusted model is adjusted for age, sex, district, education, smoke status, drinking status, physical activity, diabetes mellitus, hypertension, and coronary heart disease.

Table S6

Percent change (95%CI) in blood lipid biomarkers per interquartile range increases in blood metal concentrations of normal participants by statistical model.

| Blood lipid biomarker | Metal | Percent Change (95% CI)a |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Q1 | Q2 | Q3 | Q4 |
| TC (mmol/L) | V (μg/L) | ref | 0.89 (0.56, 1.41) | 0.97 (0.63, 1.50) | 0.79 (0.51, 1.24) |
|  | Cr (μg/L) | ref | 1.86 (1.13, 3.08)* | 2.15 (1.28, 3.59)* | 1.97 (1.20, 3.23)* |
|  | Mn (μg/L) | ref | 1.01 (0.62, 1.64) | 1.29 (0.81, 2.06) | 1.46 (0.92, 2.33) |
|  | Co (μg/L) | ref | 1.03 (0.65, 1.62) | 0.94 (0.60, 1.48) | 1.06 (0.68, 1.65) |
|  | Ni (μg/L) | ref | 0.89 (0.54, 1.45) | 1.18 (0.74, 1.88) | 1.55 (0.99, 2.45) |
|  | Cu (μg/L) | ref | 1.07 (0.66, 1.76) | 1.47 (0.92, 2.36) | 1.23 (0.74, 2.04) |
|  | Zn (μg/L) | ref | 1.04 (0.63, 1.70) | 1.61 (1.01, 2.55)* | 1.60 (0.99, 2.57)* |
|  | As (μg/L) | ref | 1.51 (0.95, 2.42) | 1.23 (0.75, 2.00) | 1.67 (1.01, 2.78)* |
|  | Se (μg/L) | ref | 1.26 (0.77, 2.06) | 1.50 (0.93, 2.41) | 1.82 (1.13, 2.92)* |
|  | Mo (μg/L) | ref | _ | 0.89 (0.59, 1.34) | 1.12 (0.76, 1.64) |
|  | Cd (μg/L) | ref | 0.75 (0.48, 1.18) | 0.80 (0.51, 1.25) | 0.57 (0.34, 0.95)* |
|  | Pb (μg/L) | ref | 1.31 (0.82, 2.08) | 1.03 (0.64, 1.65) | 0.87 (0.53, 1.44) |
| TG (mmol/L) | V (μg/L) | ref | 0.88 (0.58, 1.33) | 0.79 (0.53, 1.20) | 0.91 (0.61, 1.36) |
|  | Cr (μg/L) | ref | 0.98 (0.63, 1.50) | 0.97 (0.62, 1.52) | 1.08 (0.71, 1.65) |
|  | Mn (μg/L) | ref | 1.03 (0.69, 1.56) | 0.97 (0.64, 1.47) | 0.99 (0.64, 1.52) |
|  | Co (μg/L) | ref | 0.82 (0.54, 1.25) | 0.91 (0.61, 1.36) | 0.81 (0.54, 1.23) |
|  | Ni (μg/L) | ref | 1.00 (0.66, 1.53) | 1.06 (0.70, 1.60) | 0.91 (0.59, 1.39) |
|  | Cu (μg/L) | ref | 1.02 (0.68, 1.54) | 0.92 (0.60, 1.40) | 0.92 (0.59, 1.45) |
|  | Zn (μg/L) | ref | 1.05 (0.68, 1.62) | 1.12 (0.73, 1.71) | 1.17 (0.76, 1.80) |
|  | As (μg/L) | ref | 1.15 (0.76, 1.74) | 1.07 (0.70, 1.62) | 0.86 (0.54, 1.37) |
|  | Se (μg/L) | ref | 0.89 (0.58, 1.37) | 1.12 (0.73, 1.70) | 1.31 (0.86, 1.99) |
|  | Mo (μg/L) | ref | _ | 0.67 (0.45, 0.99) | 1.02 (0.71, 1.46) |
|  | Cd (μg/L) | ref | 1.11 (0.71, 1.73) | 0.93 (0.59, 1.49) | 1.68 (1.06, 2.68)* |
|  | Pb (μg/L) | ref | 1.51 (0.99, 2.32) | 1.18 (0.76, 1.96) | 1.01 (0.64, 1.61) |
| LDL-C (mmol/L) | V (μg/L) | ref | 0.91 (0.60, 1.36) | 0.97 (0.66, 1.43) | 0.78 (0.53, 1.15) |
|  | Cr (μg/L) | ref | 1.41 (0.92, 2.16) | 1.57 (1.01, 2.43)* | 1.58 (1.04, 2.40)* |
|  | Mn (μg/L) | ref | 1.02 (068, 1.54) | 0.97 (0.65, 1.47) | 1.19 (0.79, 1.79) |
|  | Co (μg/L) | ref | 0.83 (0.56, 1.24) | 0.87 (0.59, 1.28) | 0.78 (0.53, 1.17) |
|  | Ni (μg/L) | ref | 1.11 (0.73, 1.69) | 1.30 (0.86, 1.96) | 1.60 (1.06, 2.40)* |
|  | Cu (μg/L) | ref | 0.82 (0.54, 1.26) | 1.39 (0.93, 2.07) | 1.11 (0.72, 1.72) |
|  | Zn (μg/L) | ref | 1.01 (0.66, 1.54) | 1.50 (1.00, 2.24) | 1.25 (0.82, 1.89) |
|  | As (μg/L) | ref | 1.47 (0.97, 2,24) | 1.40 (0.92, 2.14) | 1.84 (1.18, 2.86)* |
|  | Se (μg/L) | ref | 1.10 (0.72, 1.69) | 1.39 (0.93, 2.10) | 1.65 (1.10, 2.49)* |
|  | Mo (μg/L) | ref | _ | 0.88 (0,61, 1.26) | 1.10 (0.78, 1.55) |
|  | Cd (μg/L) | ref | 0.99 (0.66, 1.49) | 0.93 (0.61, 1.41) | 0.80 (0.51, 1.26) |
|  | Pb (μg/L) | ref | 1.42 (0.94, 2.15) | 1.17 (0.77, 1.79) | 0.94 (0.61, 1.47) |
| HDL-C (mmol/L) | V (μg/L) | ref | 1.02 (0.72, 1.44) | 0.87 (0.62, 1.23) | 0.99 (0.71, 1.39) |
|  | Cr (μg/L) | ref | 0.88 (0.62, 1.25) | 0.90 (0.63, 1.30) | 0.79 (0.56, 1.13) |
|  | Mn (μg/L) | ref | 0.84 (0.59, 1.19) | 0.76 (0.53, 1.07) | 0.84 (0.59, 1.19) |
|  | Co (μg/L) | ref | 0.80 (0.56, 1.13) | 0.98 (0.70, 1.37) | 0.65 (0.46, 0.92)* |
|  | Ni (μg/L) | ref | 0.99 (0.70, 1.40) | 1.02 (0.72, 1.44) | 0.98 (0.69, 1.40) |
|  | Cu (μg/L) | ref | 1.16 (0.82, 1.65) | 1.30 (0.91, 1.86) | 1.22 (0.83, 1.77) |
|  | Zn (μg/L) | ref | 1.49 (1.04, 2.10) | 1.35 (0.94, 1.91) | 1.45 (1.01, 2.04)* |
|  | As (μg/L) | ref | 0.75 (0.53, 1.07) | 0.73 (0.52, 1.04) | 0.69 (0.47, 1.00) |
|  | Se (μg/L) | ref | 1.03 (0.73, 1.46) | 0.97 (0.68, 1.38) | 0.85 (0.60, 1.21) |
|  | Mo (μg/L) | ref | _ | 0.71 (0.52, 0.98) | 1.48 (1.10, 2.00)* |  |
|  | Cd (μg/L) | ref | 1.31 (0.91, 1.88) | 1.32 (0.91, 1.92) | 1.42 (0.96, 2.10) |
|  | Pb (μg/L) | ref | 1.26 (0.88, 1.80) | 1.21 (0.84, 1.75) | 1.13 (0.78, 1.64) |
| Non-HDL-C | V (μg/L) | ref | 0.85 (0.50, 1.46) | 1.02 (0.61, 1.68) | 1.05 (0.64, 1.72) |
|  | Cr (μg/L) | ref | 1.52 (0.85, 2.73) | 1.88 (1.04, 3.40)* | 2.11 (1.21, 3.68)* |
|  | Mn (μg/L) | ref | 0.99 (0.56, 1.72) | 1.40 (0.83, 2.37) | 1.51 (0.88, 2.58) |
|  | Co (μg/L) | ref | 0.94 (0.56, 1.57) | 0.88 (0.53, 1.47) | 0.98 (0.59, 1.52) |
|  | Ni (μg/L) | ref | 0.81 (0.48, 1.39) | 0.90 (0.53, 1.52) | 1.14 (0.69, 1.89) |
|  | Cu (μg/L) | ref | 0.98 (0.55, 1.74) | 1.89 (1.12, 3.19)* | 1.21 (0.67, 2.18) |
|  | Zn (μg/L) | ref | 1.04 (0.59, 1.83) | 1.52 (0.90, 2.57) | 1.37 (0.80, 2.35) |
|  | As (μg/L) | ref | 1.65 (0.86, 2.83) | 1.31 (0.75, 2.30) | 1.71 (0.95, 3.05) |
|  | Se (μg/L) | ref | 1.37 (0.78, 2.42) | 1.66 (0.96, 2.88) | 1.86 (1.08, 3.21)* |
|  | Mo (μg/L) | ref | - | 0.90 (0.57, 1.43) | 0.91 (0.58, 1.42) |
|  | Cd (μg/L) | ref | 0.76 (0.45, 1.29) | 0.85 (0.51, 1.43) | 0.57 (0.32, 1.03) |
|  | Pb (μg/L) | ref | 1.58 (0.93, 1.72) | 1.11 (0.63, 1.96) | 1.01 (0.57, 1.80) |
| TC/HDL-C | V (μg/L) | ref | 0.98 (0.59, 1.61) | 0.91 (0.55, 1.50) | 1.02 (0.63, 1.66) |
|  | Cr (μg/L) | ref | 1.14 (0.66, 1.95) | 1.11 (0.63, 1.94) | 1.30 (0.78, 2.18) |
|  | Mn (μg/L) | ref | 1.08 (0.66, 1.76) | 0.85 (0.51, 1.43) | 1.07 (0.63, 1.79) |
|  | Co (μg/L) | ref | 0.91 (0.56, 1.47) | 0.76 (0.46, 1.26) | 0.72 (0.43, 1.21) |
|  | Ni (μg/L) | ref | 1.05 (0.62, 1.75) | 1.12 (0.68, 1.85) | 1.01 (0.60, 1.71) |
|  | Cu (μg/L) | ref | 1.22 (0.73, 2.05) | 1.58 (0.95, 2.64) | 1.32 (0.75, 2.32) |
|  | Zn (μg/L) | ref | 0.94 (0.54, 1.64) | 1.38 (0.82, 2.31) | 1.20 (0.71, 2.02) |
|  | As (μg/L) | ref | 0.81 (0.49, 1.34) | 0.67 (0.40, 1.13) | 0.86 (0.51, 1.48) |
|  | Se (μg/L) | ref | 1.14 (0.67, 1.93) | 1.14 (0.67, 1.92) | 1.56 (0.94, 2.59) |
|  | Mo (μg/L) | ref | _ | 0.90 (0.56, 1.44) | 1.32 (0.86, 2.01) |
|  | Cd (μg/L) | ref | 1.35 (0.78, 2.35) | 1.05 (0.59, 1.86) | 1.15 (0.64, 2.07) |
|  | Pb (μg/L) | ref | 1.71 (0.99, 2.96) | 1.34 (0.77, 2,35) | 0.93 (0.52, 1.66) |
| TG/HDL-C | V (μg/L) | ref | 0.99 (0.67, 1.49) | 0.75 (0.50, 1.14) | 1.00 (0.68, 1.49) |
|  | Cr (μg/L) | ref | 0.85 (0.56, 1.29) | 0.79 (0.51, 1.23) | 1.05 (0.70, 1.57) |
|  | Mn (μg/L) | ref | 1.04 (0.70, 1.55) | 0.88 (0.58, 1.33) | 0.94 (0.61, 1.43) |
|  | Co (μg/L) | ref | 0.88 (0.59, 1.31) | 0.89 (0.60, 1.32) | 0.73 (0.48, 1.10) |
|  | Ni (μg/L) | ref | 0.95 (0.63, 1.43) | 0.91 (0.61, 1.37) | 0.84 (0.56, 1.28) |
|  | Cu (μg/L) | ref | 0.86 (0.58, 1.29) | 0.82 (0.54, 1.24) | 0.91 (0.59, 1.41) |
|  | Zn (μg/L) | ref | 1.21 (0.79, 1.84) | 1.05 (0.68, 1.60) | 1.25 (0.82, 1.81) |
|  | As (μg/L) | ref | 1.10 (0.74, 1.65) | 0.86 (0.57, 1.30) | 0.95 (0.61, 1.49) |
|  | Se (μg/L) | ref | 0.81 (0.53, 1.22) | 0.89 (0.59, 1.34) | 1.02 (0.68, 1.52) |
|  | Mo (μg/L) | ref | _ | 0.65 (0.44, 0.96) | 1.33 (0.95, 1.88) |
|  | Cd (μg/L) | ref | 1.15 (0.75, 1.78) | 0.91 (0.57, 1.44) | 1.80 (1.14, 2.85)* |
|  | Pb (μg/L) | ref | 1.26 (0.83, 1.92) | 1.15 (0.75 1.77) | 0.86 (0.55, 1.35) |
| Non-HDL-C/HDL-C | V (μg/L) | ref | 0.98 (0.59, 1.61) | 0.91 (0.55, 1.50) | 1.02 (0.63, 1.66) |
|  | Cr (μg/L) | ref | 1.14 (0.66, 1.95) | 1.11 (0.63, 1.94) | 1.30 (0.78, 2.18) |
|  | Mn (μg/L) | ref | 1.08 (0.66, 1.76) | 0.85 (0.51, 1.43) | 1.07 (0.63, 1.79) |
|  | Co (μg/L) | ref | 0.91 (0.56, 1.47) | 0.76 (0.46, 1.26) | 0.72 (0.43, 1.21) |
|  | Ni (μg/L) | ref | 1.05 (0.62, 1.75) | 1.12 (0.68, 1.85) | 1.01 (0.60, 1.71) |
|  | Cu (μg/L) | ref | 1.22 (0.73, 2.05) | 1.58 (0.95, 2.64) | 1.32 (0.75, 2.32) |
|  | Zn (μg/L) | ref | 0.94 (0.54, 1.64) | 1.38 (0.82, 2.31) | 1.20 (0.71, 2.02) |
|  | As (μg/L) | ref | 0.81 (0.49, 1.34) | 0.67 (0.40, 1.13) | 0.86 (0.51, 1.48) |
|  | Se (μg/L) | ref | 1.14 (0.67, 1.93) | 1.14 (0.67, 1.92) | 1.56 (0.94, 2.59) |
|  | Mo (μg/L) | ref | _ | 0.90 (0.56, 1.44) | 1.32 (0.86, 2.01) |
|  | Cd (μg/L) | ref | 1.35 (0.78, 2.35) | 1.05 (0.59, 1.86) | 1.15 (0.64, 2.07) |
|  | Pb (μg/L) | ref | 1.71 (0.99, 2.96) | 1.34 (0.77, 2,35) | 0.93 (0.52, 1.66) |

a The fully adjusted model is adjusted for age, sex, district, education, smoke status, drinking status, physical activity, diabetes mellitus, hypertension, and coronary heart disease.