Supplementary Table 1. Comparison of Real-Time RT-PCR results of paired saliva and nasopharyngeal swab samples with respective sensitivity and specificity

| n = 171; All volume |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Nasopharyngeal swab |  |  |  | Estimate | Lower 95% CI | Upper 95% CI |
|  |  | Positive | Negative | Total | sensitivity | 73.2% | 62.0% | 82.2% |
| Saliva | Positive | 52 | 19 | 71 | specificity | 81.0% | 72.2% | 87.5% |
|  | Negative | 19 | 81 | 100 | ppv | 73.2% | 62.0% | 82.2% |
|  | Total | 71 | 100 | 171 | npv | 81.0% | 72.2% | 87.5% |

Supplementary Table 2. Comparison of Real-Time PCR results of paired saliva and nasopharyngeal swab samples at different volumes

| n = 41; volume = 50 µl |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Nasopharyngeal swab |  |  |  | Estimate | Lower 95% CI | Upper 95% CI |
|  |  |  | Positive | Negative | Total | sensitivity | 70,6% | 46,9% | 86,7% |
| Saliva | Positive |  | 12 | 5 | 17 | specificity | 79,2% | 59,5% | 90,8% |
|  | Negative |  | 5 | 19 | 24 | ppv | 70,6% | 46,9% | 86,7% |
|  | Total |  | 17 | 24 | 41 | npv | 79,2% | 59,5% | 90,8% |
| n = 40; volume = 100 µl |  |  |  |  |  |  |  |  |  |
|  |  |  | Nasopharyngeal swab |  |  |  | Estimate | Lower 95% CI | Upper 95% CI |
|  |  |  | Positive | Negative | Total | sensitivity | 72,2% | 49,1% | 87,5% |
| Saliva |  | Positive | 13 | 3 | 16 | specificity | 86,4% | 66,7% | 95,3% |
|  |  | Negative | 5 | 19 | 24 | ppv | 81,3% | 57.0% | 93,4% |
|  |  | Total | 18 | 22 | 40 | npv | 79,2% | 59,5% | 90,8% |
| n = 33; volume = 300 µl |  |  |  |  |  |  |  |  |  |
|  |  |  | Nasopharyngeal swab |  |  |  | Estimate | Lower 95% CI | Upper 95% CI |
|  |  |  | Positive | Negative | Total | sensitivity | 83,3% | 55,2% | 95,3% |
| Saliva | Positive |  | 10 | 4 | 14 | specificity | 81.0% | 60,0% | 92,3% |
|  | Negative |  | 2 | 17 | 19 | ppv | 71,4% | 45,4% | 88,3% |
|  | Total |  | 12 | 21 | 33 | npv | 89,5% | 68,6% | 97,1% |
| n = 57; volume = 500 µl |  |  |  |  |  |  |  |  |  |
|  |  |  | Nasopharyngeal swab |  |  |  | Estimate | Lower 95% CI | Upper 95% CI |
|  |  |  | Positive | Negative | Total | sensitivity | 70,8% | 50,8% | 85,1% |
| Saliva |  | Positive | 17 | 7 | 24 | specificity | 78,8% | 62,3% | 89,3% |
|  |  | Negative | 7 | 26 | 33 | ppv | 70,8% | 50,8% | 85,1% |
|  |  | Total | 24 | 33 | 57 | npv | 78,8% | 62,3% | 89,3% |