Comparison of results between the culture and the NGS for 490 samples
	S.NO
	Sample no
	Sample category
	[bookmark: _GoBack]NGS results
	Culture
	Bact fast Result category  
	Fungifast result category

	1
	MG/RID/ 001
	Blood
	Negative
	No growth
	CNNN
	CNNN

	2
	MG/RID/002
	Blood
	Negative
	No growth
	CNNN
	CNNN

	3
	MG/RID/ 003
	Blood
	Negative
	No growth
	CNNN
	CNNN

	4
	MG/RID/ 004
	Blood
	Negative
	No growth
	CNNN
	CNNN

	5
	MG/RID/ 005
	Blood
	Negative
	No growth
	CNNN
	CNNN

	6
	MG/RID/ 006
	Blood
	Negative
	No growth
	CNNN
	CNNN

	7
	MG/RID/ 007
	Blood
	Negative
	No growth
	CNNN
	CNNN

	8
	MG/RID/ 008
	Blood
	Negative
	No growth
	CNNN
	CNNN

	9
	MG/RID/ 009
	Blood
	Negative
	No growth
	CNNN
	CNNN

	10
	MG/RID/ 010
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	11
	MG/RID/ 011
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	12
	MG/RID/ 013
	Blood
	Negative
	No growth
	CNNN
	CNNN

	13
	MG/RID/ 014
	Tissue
	Pseudomonas aeruginosa, Proteus mirabilis 
	Pseudomonas aeruginosa, Proteus mirabilis
	CPNP
	CNNN

	14
	MG/RID/ 015
	Body fluid
	Pseudomonas aeruginosa  
	Pseudomonas aeruginosa
	CPNP
	CNNN

	15
	MG/RID/ 016
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	16
	MG/RID/ 017
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	17
	MG/RID/ 018
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	18
	MG/RID/ 020
	Blood
	Negative
	No growth
	CNNN
	CNNN

	19
	MG/RID/ 021
	Blood
	Negative
	No growth
	CNNN
	CNNN

	20
	MG/RID/ 022
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	21
	MG/RID/ 025
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	22
	MG/RID/ 026
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	23
	MG/RID/ 027
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	24
	MG/RID/ 028
	Pus
	Negative
	No growth
	CNNN
	CNNN

	25
	MG/RID/ 029
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	26
	MG/RID/ 030
	Blood
	Negative
	No growth
	CNNN
	CNNN

	27
	MG/RID/ 031
	Blood
	Negative
	No growth
	CNNN
	CNNN

	28
	MG/RID/ 032
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	29
	MG/RID/ 035
	Blood
	Negative
	No growth
	CNNN
	CNNN

	30
	MG/RID/ 036
	Blood
	Negative
	No growth
	CNNN
	CNNN

	31
	MG/RID/ 037
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	32
	MG/RID/ 038
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	33
	MG/RID/ 039
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	34
	MG/RID/ 040
	Blood
	Negative
	No growth
	CNNN
	CNNN

	35
	MG/RID/ 041
	Blood
	Negative
	No growth
	CNNN
	CNNN

	36
	MG/RID/ 042
	Blood
	Negative
	No growth
	CNNN
	CNNN

	37
	MG/RID/ 043
	Blood
	Negative
	No growth
	CNNN
	CNNN

	38
	MG/RID/ 044
	Pus
	Streptococcus agalactiae
	Heavy Streptococcus agalactiae
	CPNP
	CNNN

	39
	MG/RID/ 045
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	40
	MG/RID/ 046
	Blood
	Negative
	No growth
	CNNN
	CNNN

	41
	MG/RID/ 047
	Blood
	Negative
	No growth
	CNNN
	CNNN

	42
	MG/RID/ 048
	Tissue
	Mycobacterium abcessus
	Mycobacterium abcessus
	CPNP
	CNNN

	43
	MG/RID/ 049
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	44
	MG/RID/ 050
	Tissue
	Klebsiella pneumoniae, Escherichia coli, Eneterobacter cloacae
	Heavy Klebsiella pneumoniae , Enterobacter cloacae
	CPNP
	CNNN

	45
	MG/RID/ 051
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	46
	MG/RID/ 052
	Tissue
	Enterococcus faecium, Stenotrophomonas maltophilia
	Enterococcus faecium
	CPNP
	CNNN

	47
	MG/RID/ 053
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	48
	MG/RID/ 054
	Pus
	Negative
	No growth
	CNNN
	CNNN

	49
	MG/RID/ 056
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	50
	MG/RID/ 057
	Tissue
	Pseudomonas aeruginosa  
	Heavy Pseudomonas aeruginosa  
	CPNP
	CNNN

	51
	MG/RID/ 058
	Tissue
	Mycobacterium tuberculosis
	Mycobacterium tuberculosis
	CPNP
	CNNN

	52
	MG/RID/ 059
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	53
	MG/RID/ 060
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	54
	MG/RID/ 061
	Blood
	Negative
	No growth
	CNNN
	CNNN

	55
	MG/RID/ 062
	Blood
	Negative
	No growth
	CNNN
	CNNN

	56
	MG/RID/ 063
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	57
	MG/RID/ 064
	Blood
	Negative
	No growth
	CNNN
	CNNN

	58
	MG/RID/ 065
	Blood
	Negative
	No growth
	CNNN
	CNNN

	59
	MG/RID/ 066
	Blood
	Negative
	No growth
	CNNN
	CNNN

	60
	MG/RID/ 067
	Blood
	Negative
	No growth
	CNNN
	CNNN

	61
	MG/RID/ 068
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	62
	MG/RID/ 069
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	63
	MG/RID/ 070
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	64
	MG/RID/ 071
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	65
	MG/RID/ 072
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	66
	MG/RID/ 073
	Tissue
	Pseudomonas aeruginosa  
	Moderate Pseudomonas aeruginosa  
	CPNP
	CNNN

	67
	MG/RID/ 074
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	68
	MG/RID/ 075
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	69
	MG/RID/ 076
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	70
	MG/RID/ 077
	Blood
	Negative
	No growth
	CNNN
	CNNN

	71
	MG/RID/ 078
	Blood
	Negative
	No growth
	CNNN
	CNNN

	72
	MG/RID/ 079
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	73
	MG/RID/ 080
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	74
	MG/RID/ 081
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	75
	MG/RID/ 082
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	76
	MG/RID/ 083
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	77
	MG/RID/ 084
	Blood
	Negative
	No growth
	CNNN
	CNNN

	78
	MG/RID/ 085
	Blood
	Negative
	No growth
	CNNN
	CNNN

	79
	MG/RID/ 086
	Blood
	Negative
	No growth
	CNNN
	CNNN

	80
	MG/RID/ 087
	Blood
	Negative
	No growth
	CNNN
	CNNN

	81
	MG/RID/ 088
	Blood
	Negative
	No growth
	CNNN
	CNNN

	82
	MG/RID/ 089
	Tissue
	Pseudomonas aeruginosa, Klebsiella pneumoniae
	Moderate Pseudomonas aeruginosa, Klebsiella pneumoniae
	CPNP
	CNNN

	83
	MG/RID/ 090
	Blood
	Negative
	No growth
	CNNN
	CNNN

	84
	MG/RID/ 091
	Blood
	Negative
	No growth
	CNNN
	CNNN

	85
	MG/RID/ 092
	Blood
	Negative
	No growth
	CNNN
	CNNN

	86
	MG/RID/ 093
	Blood
	Negative
	No growth
	CNNN
	CNNN

	87
	MG/RID/ 094
	Tissue
	 Pseudomonas aeruginosa, Acinetobacter baumanii
	Moderate  Pseudomonas aeruginosa, Acinetobacter baumanii
	CPNP
	CNNN

	88
	MG/RID/ 095
	Tissue
	 Pseudomonas aeruginosa, Acinetobacter baumanii
	Scanty Pseudomonas aeruginosa, Acinetobacter baumanii
	CPNP
	CNNN

	89
	MG/RID/ 096
	Blood
	Negative
	No growth
	CNNN
	CNNN

	90
	MG/RID/ 097
	Blood
	Negative
	No growth
	CNNN
	CNNN

	91
	MG/RID/ 098
	Blood
	Negative
	No growth
	CNNN
	CNNN

	92
	MG/RID/ 099
	Blood
	Negative
	No growth
	CNNN
	CNNN

	93
	MG/RID/ 100
	Blood
	Negative
	No growth
	CNNN
	CNNN

	94
	MG/RID/ 101
	Blood
	Negative
	No growth
	CNNN
	CNNN

	95
	MG/RID/ 102
	Blood
	Negative
	No growth
	CNNN
	CNNN

	96
	MG/RID/ 103
	Blood
	Negative
	No growth
	CNNN
	CNNN

	97
	MG/RID/ 104
	Blood
	Negative
	No growth
	CNNN
	CNNN

	98
	MG/RID/ 105
	Blood
	Negative
	No growth
	CNNN
	CNNN

	99
	MG/RID/ 106
	Blood
	Negative
	No growth
	CNNN
	CNNN

	100
	MG/RID/ 107
	Blood
	Negative
	No growth
	CNNN
	CNNN

	101
	MG/RID/ 108
	Blood
	Negative
	No growth
	CNNN
	CNNN

	102
	MG/RID/ 109
	Blood
	Negative
	No growth
	CNNN
	CNNN

	103
	MG/RID/ 110
	Blood
	Negative
	No growth
	CNNN
	CNNN

	104
	MG/RID/ 112
	Pus
	Staphylococcus aureus
	Moderate Staphylococcus aureus
	CPNP
	CNNN

	105
	MG/RID/ 113
	Blood
	Negative
	No growth
	CNNN
	CNNN

	106
	MG/RID/ 114
	Blood
	Negative
	No growth
	CNNN
	CNNN

	107
	MG/RID/ 115
	Blood
	Negative
	No growth
	CNNN
	CNNN

	108
	MG/RID/ 116
	Blood
	Negative
	No growth
	CNNN
	CNNN

	109
	MG/RID/ 117
	Tissue
	Pseudomonas aeruginosa, Escherichia coli
	Heavy Pseudomonas aeruginosa, Escherichia coli
	CPNP
	CNNN

	110
	MG/RID/ 118
	Tissue
	Escherichia coli 
	Heavy Escherichia coli
	CPNP
	CNNN

	111
	MG/RID/ 119
	Tissue
	Staphylococcus aureus
	Heavy Staphylococcus aureus
	CPNP
	CNNN

	112
	MG/RID/ 120
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	113
	MG/RID/ 121
	Pus
	Escherichia coli 
	Heavy Escherichia coli 
	CPNP
	CNNN

	114
	MG/RID/ 122
	Blood
	Negative
	No growth
	CNNN
	CNNN

	115
	MG/RID/ 123
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	116
	MG/RID/ 124
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	117
	MG/RID/ 125
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	118
	MG/RID/ 126
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	119
	MG/RID/ 127
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	120
	MG/RID/ 128
	Blood
	Negative
	No growth
	CNNN
	CNNN

	121
	MG/RID/ 129
	Blood
	Negative
	No growth
	CNNN
	CNNN

	122
	MG/RID/ 130
	Blood
	Negative
	No growth
	CNNN
	CNNN

	123
	MG/RID/ 131
	Blood
	Negative
	No growth
	CNNN
	CNNN

	124
	MG/RID/ 132
	Blood
	Negative
	No growth
	CNNN
	CNNN

	125
	MG/RID/ 133
	Blood
	Negative
	No growth
	CNNN
	CNNN

	126
	MG/RID/ 134
	Blood
	Negative
	No growth
	CNNN
	CNNN

	127
	MG/RID/ 136
	Body fluid
	Burkholderia pseudomallei
	Scanty Burkholderia pseudomallei
	CPNP
	CNNN

	128
	MG/RID/ 139
	Pus
	Negative
	No growth
	CNNN
	CNNN

	129
	MG/RID/ 140
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	130
	MG/RID/ 141
	Pus
	Negative
	No growth
	CNNN
	CNNN

	131
	MG/RID/ 142
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	132
	MG/RID/ 143
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	133
	MG/RID/ 144
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	134
	MG/RID/ 145
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	135
	MG/RID/ 146
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	136
	MG/RID/ 147
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	137
	MG/RID/ 148
	Blood
	Acinetobecter baumanii
	Acinetobecter baumanii
	CPNP
	CNNN

	138
	MG/RID/ 149
	Blood
	Negative
	No growth
	CNNN
	CNNN

	139
	MG/RID/ 150
	Blood
	Negative
	No growth
	CNNN
	CNNN

	140
	MG/RID/ 151
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	141
	MG/RID/ 152
	Pus
	Negative
	No growth
	CNNN
	CNNN

	142
	MG/RID/ 154
	Tissue
	Stenotrophomonas maltophilia
	Stenotrophomonas maltophilia
	CPNP
	CNNN

	143
	MG/RID/ 155
	Tissue
	Klebsiella pneumoniae 
	Klebsiella pneumoniae 
	CPNP
	CNNN

	144
	MG/RID/ 156
	Tissue
	Escherichia coli 
	Escherichia coli 
	CPNP
	CNNN

	145
	MG/RID/ 158
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	146
	MG/RID/ 159
	Tissue
	Klebsiella pneumoniae , Pseudomonas aeruginosa
	Klebsiella pneumoniae , Pseudomonas aeruginosa
	CPNP
	CNNN

	147
	MG/RID/ 160
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	148
	MG/RID/ 161
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	149
	MG/RID/ 162
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	150
	MG/RID/ 163
	Blood
	Pseudomonas aeruginosa
	Pseudomonas aeruginosa
	CPNP
	CNNN

	151
	MG/RID/ 164
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	152
	MG/RID/ 165
	Blood
	Negative
	No growth
	CNNN
	CNNN

	153
	MG/RID/ 166
	Blood
	Negative
	No growth
	CNNN
	CNNN

	154
	MG/RID/ 167
	Blood
	Negative
	No growth
	CNNN
	CNNN

	155
	MG/RID/ 168
	Pus
	Escherichia coli 
	Escherichia coli 
	CPNP
	CNNN

	156
	MG/RID/ 169
	Blood
	Negative
	No growth
	CNNN
	CNNN

	157
	MG/RID/ 170
	Blood
	Negative
	No growth
	CNNN
	CNNN

	158
	MG/RID/ 171
	Pus
	Staphylococcus aureus
	Staphylococcus aureus
	CPNP
	CNNN

	159
	MG/RID/ 172
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	160
	MG/RID/ 173
	Tissue
	Acinetobacter baumannii 
	Acinetobacter baumannii
	CPNP
	CNNN

	161
	MG/RID/ 174
	Blood
	Negative
	No growth
	CNNN
	CNNN

	162
	MG/RID/ 176
	Tissue
	Staphylococcus aureus
	Staphylococcus aureus
	CPNP
	CNNN

	163
	MG/RID/ 177
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	164
	MG/RID/ 179
	Blood
	Negative
	No growth
	CNNN
	CNNN

	165
	MG/RID/ 182
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	166
	MG/RID/ 183
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	167
	MG/RID/ 184
	Blood
	Negative
	No growth
	CNNN
	CNNN

	168
	MG/RID/ 185
	Body fluid
	Escherichia coli 
	Escherichia coli 
	CPNP
	CNNN

	169
	MG/RID/ 186
	Tissue
	Staphylococcus haemolyticus
	Staphylococcus haemolyticus
	CPNP
	CNNN

	170
	MG/RID/ 187
	Tissue
	Escherichia coli , Streptococcus agalactiae
	Escherichia coli , Streptococcus agalactiae
	CPNP
	CNNN

	171
	MG/RID/ 188
	Blood
	Negative
	No growth
	CNNN
	CNNN

	172
	MG/RID/ 189
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	173
	MG/RID/ 190
	Body fluid
	Staphylococcus haemolyticus
	Staphylococcus haemolyticus
	CPNP
	CNNN

	174
	MG/RID/ 191
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	175
	MG/RID/ 193
	Pus
	Escherichia coli 
	Heavy Escherichia coli 
	CPNP
	CNNN

	176
	MG/RID/ 194
	Pus
	Klebsiella pneumoniae, Escherichia coli 
	Heavy Klebsiella pneumoniae
	CPNP
	CNNN

	177
	MG/RID/ 195
	Blood
	Klebsiella pneumoniae, Escherichia coli 
	Klebsiella pneumoniae, Escherichia coli 
	CPNP
	CNNN

	178
	MG/RID/ 196
	Tissue
	Enterococcus faecium, Klebsiella pneumoniae
	  Klebsiella pneumoniae
	CPNP
	CNNN

	179
	MG/RID/ 197
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	180
	MG/RID/ 198
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	181
	MG/RID/ 199
	Tissue
	Pseudomonas aeruginosa
	Pseudomonas aeruginosa
	CPNP
	CNNN

	182
	MG/RID/ 200
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	183
	MG/RID/ 201
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	184
	MG/RID/ 202
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	185
	MG/RID/ 203
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	186
	MG/RID/ 204
	Tissue
	Klebsiella pneumoniae, Enterobacter spp, Staphylococcus spp
	Klebsiella pneumoniae, Enterobacter cloacae, Gram positive cocci in smear
	CPNP
	CNNN

	187
	MG/RID/ 205
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	188
	MG/RID/ 206
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	189
	MG/RID/ 207
	Tissue
	Acinetobacter baumannii ,  Klebsiella pneumonia , Aeromonas Hydrophila
	Aeromonas enteropelogenes, Klebsiella pneumoniae
	CPNP
	CNNN

	190
	MG/RID/ 208
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	191
	MG/RID/ 209
	Blood
	Acinetobacter baumannii
	Acinetobacter baumannii
	CPNP
	CNNN

	192
	MG/RID/ 210
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	193
	MG/RID/ 211
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	194
	MG/RID/ 212
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	195
	MG/RID/ 213
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	196
	MG/RID/ 214
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	197
	MG/RID/ 215
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	198
	MG/RID/ 216
	Body fluid
	Acinetobacter baumannii
	Acinetobacter baumannii
	CPNP
	CNNN

	199
	MG/RID/ 217
	Body fluid
	Staphylococcus epidermidis
	Staphylococcus epidermidis
	CPNP
	CNNN

	200
	MG/RID/ 218
	Blood
	Negative
	No growth
	CNNN
	CNNN

	201
	MG/RID/ 219
	Tissue
	Staphylococcus aureus, Enterococcus faecium
	Staphylococcus aureus
	CPNP
	CNNN

	202
	MG/RID/ 220
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	203
	MG/RID/ 221
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	204
	MG/RID/ 222
	Blood
	Negative
	No growth
	CNNN
	CNNN

	205
	MG/RID/ 223
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	206
	MG/RID/ 224
	Body fluid
	Burkholderia pseudomallei
	Burkholderia pseudomallei
	CPNP
	CNNN

	207
	MG/RID/ 225
	Tissue
	Staphylococcus epidermidis
	Staphylococcus epidermidis
	CPNP
	CNNN

	208
	MG/RID/ 226
	Body fluid
	Klebsiella pneumoniae
	Klebsiella pneumoniae
	CPNP
	CNNN

	209
	MG/RID/ 227
	Blood
	Negative
	No growth
	CNNN
	CNNN

	210
	MG/RID/ 228
	Blood
	Negative
	No growth
	CNNN
	CNNN

	211
	MG/RID/ 229
	Blood
	Negative
	No growth
	CNNN
	CNNN

	212
	MG/RID/ 230
	Blood
	Escherichia coli 
	Escherichia coli 
	CPNP
	CNNN

	213
	MG/RID/ 231
	Blood
	Negative
	No growth
	CNNN
	CNNN

	214
	MG/RID/ 232
	Blood
	Negative
	No growth
	CNNN
	CNNN

	215
	MG/RID/ 233
	Blood
	Negative
	No growth
	CNNN
	CNNN

	216
	MG/RID/ 234
	Blood
	Negative
	No growth
	CNNN
	CNNN

	217
	MG/RID/ 235
	Blood
	Negative
	No growth
	CNNN
	CNNN

	218
	MG/RID/ 236
	Body fluid
	Klebsiella pneumoniae, Enterococcus faecium, Escherichia coli 
	Escherichia coli , Klebsiella pneumoniae
	CPNP
	CNNN

	219
	MG/RID/ 237
	Blood
	Negative
	No growth
	CNNN
	CNNN

	220
	MG/RID/ 238
	Blood
	Proteus mirabilis 
	Proteus mirabilis
	CPNP
	CNNN

	221
	MG/RID/ 239
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	222
	MG/RID/ 240
	Blood
	Burkholderia cenocepacia
	Burkholderia cenocepacia
	CPNP
	CNNN

	223
	MG/RID/ 241
	Blood
	Negative
	No growth
	CNNN
	CNNN

	224
	MG/RID/ 242
	Blood
	Negative
	No growth
	CNNN
	CNNN

	225
	MG/RID/ 243
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	226
	MG/RID/ 244
	Body fluid
	Negative
	No growth
	CNNN
	CNNN

	227
	MG/RID/ 245
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	228
	MG/RID/ 246
	Tissue
	Negative
	No growth
	CNNN
	CNNN

	229
	MG/RID/ 247
	Tissue
	Klebsiella pneumoniae
	Klebsiella pneumoniae
	CPNP
	CNNN

	230
	MG/RID/ 248
	Tissue
	Escherichia coli 
	Escherichia coli 
	CPNP
	CNNN

	231
	MG/RID/ 249
	Tissue
	Streptococcus dysgalactiae, Staphylococcus aureus
	Staphylococcus aureus
	CPNP
	CNNN

	232
	MG/RID/ 250
	Tissue
	Escherichia coli, Klebsiella pneumoniae
	Escherichia coli 
	CPNP
	CNNN

	233
	MG/RID/ 251
	Blood
	Acinetobacter baumannii
	Acinetobacter baumannii
	CPNP
	CNNN

	234
	MG/RID/ 252
	Tissue
	Staphylococcus epidermidis
	Staphylococcus epidermidis
	CPNP
	CNNN

	235
	MG/RID/ 253
	Body fluid
	Klebsiella pneumoniae
	Klebsiella pneumoniae
	CPNP
	CNNN

	236
	MG/RID/ 254
	Tissue
	Staphylococcus epidermidis
	Staphylococcus epidermidis
	CPNP
	CNNN

	237
	MG/RID/ 255
	Tissue
	Staphylococcus aureus
	Staphylococcus aureus
	CPNP
	CNNN

	238
	MG/RID/ 256
	Tissue
	Stenotrophomonas maltophilia
	Stenotrophomonas maltophilia
	CPNP
	CNNN

	239
	MG/RID/ 257
	Tissue
	Escherichia coli ,  Enterococcus faecalis
	Escherichia coli ,  Enterococcus faecalis
	CPNP
	CNNN

	240
	MG/RID/ 258
	Tissue
	Pseudomonas aeruginosa,  Klebsiella pneumoniae
	Pseudomonas aeruginosa,  Klebsiella pneumoniae
	CPNP
	CNNN

	241
	MG/RID/ 259
	Tissue
	Micrococcus luteus
	Micrococcus spp
	CPNP
	CNNN

	242
	MG/RID/ 260
	Tissue
	Staphylococcus aureus - Candida albicans
	Staphylococcus aureus - Candida albicans
	CPNP
	CPNP

	243
	MG/RID/ 261
	Tissue
	Klebsiella pneumoniae,Streptococcus pyogenes, Acinetobacter baumanii
	Acinetobacter baumanii, Klebsiella pneumoniae
	CPNP
	CNNN

	244
	MG/RID/ 262
	Tissue
	Pseudomonas aeruginosa
	Pseudomonas aeruginosa
	CPNP
	CNNN

	245
	MG/RID/ 263
	Body fluid
	Enterococcus faecium, Streptococcus anginosus
	Streptococcus anginosus
	CPNP
	CNNN

	246
	MG/RID/ 264
	Tissue
	Streptococcus pyogenes, Stenotrophomonas maltophila, Acinetobacter baumanii  - Candida  tropicalis
	Stenotrophomonas maltophila,  Acinetobacter baumanii  -  Candida tropicalis
	CPNP
	CPNP

	247
	MG/RID/ 265
	Tissue
	Stenotrophomonas maltophila, Acinetobacter baumanii  
	Stenotrophomonas maltophila, Acinetobacter baumanii  
	CPNP
	CNNN

	248
	MG/RID/ 266
	Body fluid
	Escherichia coli 
	Escherichia coli 
	CPNP
	CNNN

	249
	MG/RID/ 267
	Tissue
	Staphylococcus aureus, Serratia marcesans
	Serratia marcescens
	CPNP
	CNNN

	250
	MG/RID/ 268
	Body fluid
	Escherichia coli 
	Escherichia coli 
	CPNP
	CNNN

	251
	MG/RID/ 269
	Tissue
	Streptococcus salivarius,Escherichia coli 
	Streptococcus salivarius,Escherichia coli 
	CPNP
	CNNN

	252
	MG/RID/ 270
	Blood
	 Enterococcus faecalis
	 Enterococcus faecalis
	CPNP
	CNNN

	253
	MG/RID/ 271
	Blood
	Staphylococcus epidermidis,Staphylococcus capitis,  Staphylococcus aureus 
	No growth
	CNCC
	CNNN

	254
	MG/RID/ 272
	Blood
	Staphylococcus haemolyticus
	No growth
	CNCC
	CNNN

	255
	MG/RID/ 273
	Blood
	Staphylococcus epidermidis, Corynebacterium jeikium
	No growth
	CNCC
	CNNN

	256
	MG/RID/ 274
	Blood
	Negative
	Neg
	CNNN
	CNNN

	257
	MG/RID/ 275
	Blood
	Negative
	Neg
	CNNN
	CNNN

	258
	MG/RID/ 276
	Blood
	Negative
	Neg
	CNNN
	CNNN

	259
	MG/RID/ 277
	Blood
	Negative
	neg
	CNNN
	CNNN

	260
	MG/RID/ 278
	Blood
	Negative
	Neg
	CNNN
	CNNN

	261
	MG/RID/ 279
	Blood
	Negative
	Neg
	CNNN
	CNNN

	262
	MG/RID/ 280
	Body fluid
	Mycobacterium tuberculosis
	Mycobacterium tuberculosis
	CPNP
	CNNN

	263
	MG/RID/ 282
	Blood
	Cutibacterium acnes
	No growth
	CNCC
	CNNN

	264
	MG/RID/ 283
	Blood
	Staphylococcus epidermidis, Staphylococcus capitis
	No growth
	CNCC
	CNNN

	265
	MG/RID/ 284
	Blood
	Staphylococcus epidermidis, Staphylococcus capitis
	No growth
	CNCC
	CNNN

	266
	MG/RID/ 285
	Blood
	Negative
	Neg
	CNNN
	CNNN

	267
	MG/RID/ 286
	Blood
	Negative
	Neg
	CNNN
	CNNN

	268
	MG/RID/ 287
	Blood
	Negative
	Neg
	CNNN
	CNNN

	269
	MG/RID/ 288
	Blood
	Negative
	Neg
	CNNN
	CNNN

	270
	MG/RID/ 289
	Blood
	Staphylococcus hemolyticus, Cutibacterium acnes
	Enterobacter cloacae
	CPNA
	CNNN

	271
	MG/RID/ 290
	Blood
	Stenotrophomonas maltophila
	Acinetobacter spp
	CPNA
	CNNN

	272
	MG/RID/ 291
	Blood
	Negative
	Neg
	CNNN
	CNNN

	273
	MG/RID/ 292
	Blood
	Negative
	Neg
	CNNN
	CNNN

	274
	MG/RID/ 293
	Blood
	Negative
	Neg
	CNNN
	CNNN

	275
	MG/RID/ 294
	Blood
	Negative
	Neg
	CNNN
	CNNN

	276
	MG/RID/ 295
	Blood
	Klebsiella Pneumoniae - Candida albicans 
	Enterobacter cloacae - C.albicans
	CPNP
	CPNP

	277
	MG/RID/ 296
	Blood
	Negative
	 C.albicans
	CNNN
	CPNP

	278
	MG/RID/ 297
	Blood
	Klebsiella Pneumoniae
	Klebsiella Pneumoniae
	CPNP
	CNNN

	279
	MG/RID/ 298
	Blood
	Negative
	Neg
	CNNN
	CNNN

	280
	MG/RID/ 299
	Blood
	Negative
	Neg
	CNNN
	CNNN

	281
	MG/RID/ 300
	Blood
	Negative
	Neg
	CNNN
	CNNN

	282
	MG/RID/ 301
	Blood
	Negative
	Neg
	CNNN
	CNNN

	283
	MG/RID/ 302
	Blood
	Negative
	Neg
	CNNN
	CNNN

	284
	MG/RID/ 303
	Blood
	Negative
	Neg
	CNNN
	CNNN

	285
	MG/RID/ 304
	Blood
	Aerococcus viridans
	NG
	CNCC
	CNNN

	286
	MG/RID/ 305
	Blood
	Negative
	NG
	CNNN
	CNNN

	287
	MG/RID/ 306
	Blood
	Negative
	Neg
	CNNN
	CNNN

	288
	MG/RID/ 307
	Blood
	Negative
	Neg
	CNNN
	CNNN

	289
	MG/RID/ 308
	Blood
	Pseudomonas stutzeri
	NG
	CNCC
	CNNN

	290
	MG/RID/ 309
	Blood
	Negative
	Neg
	CNNN
	CNNN

	291
	MG/RID/ 310
	Blood
	Klebsiella Pneumoniae
	Klebsiella spp
	CPNP
	CNNN

	292
	MG/RID/ 311
	Body fluid
	Escherichia coli
	No growth
	CNCC
	CNNN

	293
	MG/RID/ 312
	Blood
	Acinetobacter baumanii
	Acinetobacter baumanii
	CPNP
	CNNN

	294
	MG/RID/ 313
	Body fluid
	Streptococcus pneumoniae 
	No growth
	CNCC
	CNNN

	295
	MG/RID/ 314
	Body fluid
	Escherichia coli, Enterococcus faecium
	Escherichia coli, Enterococcus faecium
	CPNP
	CNNN

	296
	MG/RID/ 315
	Blood
	Aeromonas salmonicida
	No growth
	CNCC
	CNNN

	297
	MG/RID/ 316
	Blood
	Negative
	No growth
	CNNN
	CNNN

	298
	MG/RID/ 317
	Blood
	Clostridium spp
	Candida auris
	CNCI
	CPNN

	299
	MG/RID/ 318
	Blood
	Negative
	C.auris
	CNNN
	CPNN

	300
	MG/RID/ 319
	Blood
	Elizabethkingia anophelis, Stenotrohomonas mailtophila 
	Enterobacter spp
	CPNA
	CNNN

	301
	MG/RID/ 320
	Blood
	Stenotrophomonas maltophilia
	Enterobacter spp
	CPNA
	CNNN

	302
	MG/RID/ 321
	Blood
	Negative
	NG
	CNNN
	CNNN

	303
	MG/RID/ 322
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	304
	MG/RID/ 323
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	305
	MG/RID/ 324
	Body fluid
	Prevotella melaninogenica,Streptococcus pneumoniae,Escherichia coli - Candida albicans, Candida africana
	Escherichia coli - Candida albicans
	CPNA
	CPNP

	306
	MG/RID/ 325
	Body fluid
	Escherichia coli, Streptococcus anginosus
	No growth
	CNCC
	CNNN

	307
	MG/RID/ 326
	Body fluid
	Klebsiella penumoniae
	Klebsiella penumoniae
	CPNP
	CNNN

	308
	MG/RID/ 327
	Blood
	Negative
	NG
	CNNN
	CNNN

	309
	MG/RID/ 328
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	310
	MG/RID/ 329
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	311
	MG/RID/ 330
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	312
	MG/RID/ 331
	Blood
	Negative
	NG
	CNNN
	CNNN

	313
	MG/RID/ 332
	Blood
	Negative
	NG
	CNNN
	CNNN

	314
	MG/RID/ 333
	Blood
	Negative
	NG
	CNNN
	CNNN

	315
	MG/RID/ 334
	Blood
	Negative
	NG
	CNNN
	CNNN

	316
	MG/RID/ 335
	Blood
	Negative
	NG
	CNNN
	CNNN

	317
	MG/RID/ 336
	Body fluid
	Streptococcus pneumonia 
	Streptococcus pneumoniae
	CPNP
	CNNN

	318
	MG/RID/ 337
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	319
	MG/RID/ 338
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	320
	MG/RID/ 339
	Body fluid
	Staphylococcus saprophyticus
	No growth
	CNCC
	CNNN

	321
	MG/RID/ 340
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	322
	MG/RID/ 341
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	323
	MG/RID/ 342
	Blood
	Negative
	Negative
	CNNN
	CNNN

	324
	MG/RID/ 343
	Blood
	Negative
	Pesudoxanthomonas mexicana
	CNNN
	CNNN

	325
	MG/RID/ 344
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	326
	MG/RID/ 345
	Blood
	Negative
	Neg
	CNNN
	CNNN

	327
	MG/RID/ 346
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	328
	MG/RID/ 347
	Blood
	Pseudomonas spp
	No growth
	CNCC
	CNNN

	329
	MG/RID/ 348
	Blood
	Negative
	Neg
	CNNN
	CNNN

	330
	MG/RID/ 349
	Blood
	Pseudomonas putida 
	Burkholderia cepacia
	CPNA
	CNNN

	331
	MG/RID/ 350
	Blood
	Negative
	Neg
	CNNN
	CNNN

	332
	MG/RID/ 351
	Blood
	Negative
	Neg
	CNNN
	CNNN

	333
	MG/RID/ 352
	Body fluid
	Acinetobacter baumanii
	No growth
	CNCC
	CNNN

	334
	MG/RID/ 353
	Body fluid
	Negative
	C.albicans
	CNNN
	CPNP

	335
	MG/RID/ 354
	Blood
	Negative
	S.cohini
	CNNN
	CNNN

	336
	MG/RID/ 355
	Blood
	Klebsiella pneumonia, Klebsiella varicola 
	Klebsiella penumoniae
	CPNP
	CNNN

	337
	MG/RID/ 356
	Blood
	Klebsiella penumoniae
	Klebsiella penumoniae
	CPNP
	CNNN

	338
	MG/RID/ 357
	Blood
	Stenotrophomonas maltophila  
	No growth
	CNCC
	CNNN

	339
	MG/RID/ 358
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	340
	MG/RID/ 359
	Tissue
	Negative
	NG
	CNNN
	CNNN

	341
	MG/RID/ 360
	Body fluid
	Enterococcus faecium, Bacteriodes vulgatus -Candida albicans
	Enterococcus faecalis
	CPNP
	CNCC

	342
	MG/RID/ 361
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	343
	MG/RID/ 362
	Tissue
	Negative
	NG
	CNNN
	CNNN

	344
	MG/RID/ 363
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	345
	MG/RID/ 364
	Blood
	Negative
	Candida sp
	CNNN
	CPNN

	346
	MG/RID/ 365
	Blood
	Pseudomonas aeruginosa
	Candida spp
	CNCI
	CPNN

	347
	MG/RID/ 366
	Body fluid
	Streptococcus spp, Stenotrophomonas maltophila
	No growth
	CNCC
	CNNN

	348
	MG/RID/ 367
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	349
	MG/RID/ 368
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	350
	MG/RID/ 369
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	351
	MG/RID/ 370
	Blood
	Klebsiella penumoniae
	No growth
	CNCC
	CNNN

	352
	MG/RID/ 371
	Body fluid
	Staphylococcus spp, Cutibacterium acnes, Staphylococcus aureus
	Staphylococcus aureus
	CPNP
	CNNN

	353
	MG/RID/ 372
	Body fluid
	Mycobacterium tuberculosis
	No growth
	CNCC
	CNNN

	354
	MG/RID/ 373
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	355
	MG/RID/ 374
	Body fluid
	Negative
	S.epidermidis
	CNNN
	CNNN

	356
	MG/RID/ 375
	Body fluid
	Pseudomonas spp
	No growth
	CNCC
	CNNN

	357
	MG/RID/ 376
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	358
	MG/RID/ 377
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	359
	MG/RID/ 378
	Body fluid
	Staphylococcus haemolyticus - Candida tropicalis
	No growth
	CNCC
	CNCC

	360
	MG/RID/ 379
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	361
	MG/RID/ 380
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	362
	MG/RID/ 381
	Body fluid
	Bacteriodes vulgatus, Enterococcus faecium 
	Enterococcus faecium 
	CPNP
	CNNN

	363
	MG/RID/ 382
	Body fluid
	Acinetobacter baumanii, Elizabethkingia anophelis
	Saccharomyces cerevicae
	CNCI
	CPNN

	364
	MG/RID/ 383
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	365
	MG/RID/ 384
	Body fluid
	Burkholderia pseudomallei
	Burkholderia pseudomallei
	CPNP
	CNNN

	366
	MG/RID/ 385
	Body fluid
	Cutibacterium acnes
	Staphylococcus epidermidis
	CPNP
	CNNN

	367
	MG/RID/ 386
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	368
	MG/RID/ 387
	Body fluid
	Bacteriodes vulgatus, Bacteriodes fragilis, Streptococcus spp, Escherichia coli
	Escherichia coli
	CPNP
	CNNN

	369
	MG/RID/ 388
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	370
	MG/RID/ 389
	Body fluid
	Bacteriodes fragilis, Escherichia coli
	Escherichia coli
	CPNP
	CNNN

	371
	MG/RID/ 390
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	372
	MG/RID/ 391
	Blood
	Negative
	NG
	CNNN
	CNNN

	373
	MG/RID/ 392
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	374
	MG/RID/ 393
	Body fluid
	Stenotrophomonas maltophilia
	No growth
	CNCC
	CNNN

	375
	MG/RID/ 394
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	376
	MG/RID/ 395
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	377
	MG/RID/ 396
	Body fluid
	Streptococcus spp
	No growth
	CNCC
	CNNN

	378
	MG/RID/ 397
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	379
	MG/RID/ 398
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	380
	MG/RID/ 399
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	381
	MG/RID/ 400
	Tissue
	Negative
	NG
	CNNN
	CNNN

	382
	MG/RID/ 401
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	383
	MG/RID/ 402
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	384
	MG/RID/ 403
	Blood
	Negative
	NG
	CNNN
	CNNN

	385
	MG/RID/ 405
	Blood
	Bacteriodes fragilis,  Klebsiella pneumoniae
	Klebsiella pneumoniae
	CPNP
	CNNN

	386
	MG/RID/ 406
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	387
	MG/RID/ 407
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	388
	MG/RID/ 408
	Body fluid
	C.tropicalis
	C.kafyr
	CNNN
	CPNP

	389
	MG/RID/ 409
	Body fluid
	  Pseudomonas stutzeri
	No growth
	CNCC
	CNNN

	390
	MG/RID/ 410
	Body fluid
	Acinetobacter baumanii
	No growth
	CNCC
	CNNN

	391
	MG/RID/ 411
	Body fluid
	Streptococcus pneumoniae
	Streptococcus pneumoniae
	CPNP
	CNNN

	392
	MG/RID/ 412
	Body fluid
	Escherichia coli
	No growth
	CNCC
	CNNN

	393
	MG/RID/ 413
	Body fluid
	Acinetobacter baumanii
	Acinetobacter baumanii
	CPNP
	CNNN

	394
	MG/RID/ 414
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	395
	MG/RID/ 415
	Body fluid
	Streptococcus pneumoniae, Streptococcus spp, Gemella morbillorum 
	Gemella morbollorum
	CPNP
	CNNN

	396
	MG/RID/ 416
	Body fluid
	Bacteriodes vulgatus,   Pseudomonas aeruginosa, Klebsiella pneumoniae, Escherichia coli
	Escherichia coli
	CPNP
	CNNN

	397
	MG/RID/ 417
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	398
	MG/RID/ 418
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	399
	MG/RID/ 419
	Body fluid
	Staphylococcus aureus 
	No growth
	CNCC
	CNNN

	400
	MG/RID/ 420
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	401
	MG/RID/ 421
	Blood
	Klebsiella pneumoniae
	Klebsiella pneumoniae
	CPNP
	CNNN

	402
	MG/RID/ 422
	Blood
	Negative
	NG
	CNNN
	CNNN

	403
	MG/RID/ 423
	Blood
	Negative
	NG
	CNNN
	CNNN

	404
	MG/RID/ 424
	Body fluid
	Acinetobacter pittii
	No growth
	CNCC
	CNNN

	405
	MG/RID/ 425
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	406
	MG/RID/ 426
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	407
	MG/RID/ 427
	Body fluid
	Staphylococcus aureus 
	No growth
	CNCC
	CNNN

	408
	MG/RID/ 428
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	409
	MG/RID/ 429
	Blood
	Aerococcus viridans
	No growth
	CNCC
	CNNN

	410
	MG/RID/ 430
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	411
	MG/RID/ 431
	Body fluid
	Acinetobacter baumanii
	Acinetobacter baumanii 
	CPNP
	CNNN

	412
	MG/RID/ 432
	Body fluid
	Escherichia coli
	Escherichia coli
	CPNP
	CNNN

	413
	MG/RID/ 433
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	414
	MG/RID/ 434
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	415
	MG/RID/ 435
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	416
	MG/RID/ 436
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	417
	MG/RID/ 437
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	418
	MG/RID/ 438
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	419
	MG/RID/ 439
	Body fluid
	Streptocccus anginosus 
	No growth
	CNCC
	CNNN

	420
	MG/RID/ 440
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	421
	MG/RID/ 441
	Body fluid
	Escherichia coli, Pseudomonas aeruginosa
	Escherichia coli
	CPNP
	CNNN

	422
	MG/RID/ 442
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	423
	MG/RID/ 443
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	424
	MG/RID/ 444
	Blood
	Negative
	NG
	CNNN
	CNNN

	425
	MG/RID/ 445
	Body fluid
	Elizabethkingia anophelis , Elizabethkingia meningoseptica
	Elizabethkingia meningoseptica
	CPNP
	CNNN

	426
	MG/RID/ 446
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	427
	MG/RID/ 447
	Body fluid
	Pseudomonas stutzeri
	No growth
	CNCC
	CNNN

	428
	MG/RID/ 448
	Body fluid
	Enterobacter ludwigi , Klebsiella oxytoca 
	No growth
	CNCC
	CNNN

	429
	MG/RID/ 449
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	430
	MG/RID/ 450
	Body fluid
	Enterococcus casseliflavus, Enterococcus gallinarum 
	Enterococcus gallinarum
	CPNP
	CNNN

	431
	MG/RID/ 451
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	432
	MG/RID/ 452
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	433
	MG/RID/ 453
	Blood
	Negative
	NG
	CNNN
	CNNN

	434
	MG/RID/ 454
	Body fluid
	Klebsiella pneumoniae
	Klebsiella pneumoniae
	CPNP
	CNNN

	435
	MG/RID/ 455
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	436
	MG/RID/ 456
	Blood
	Escherichia coli
	Escherichia coli
	CPNP
	CNNN

	437
	MG/RID/ 457
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	438
	MG/RID/ 458
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	439
	MG/RID/ 459
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	440
	MG/RID/ 460
	Body fluid
	Streptococcus pneumniae
	No growth
	CNCC
	CNNN

	441
	MG/RID/ 461
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	442
	MG/RID/ 462
	Blood
	Negative
	NG
	CNNN
	CNNN

	443
	MG/RID/ 463
	Blood
	Burkholderia cenocepacia(cepacia complex)
	Burkholderia cepacia complex
	CPNP
	CNNN

	444
	MG/RID/ 464
	Blood
	Negative
	NG
	CNNN
	CNNN

	445
	MG/RID/ 465
	Blood
	Negative
	NG
	CNNN
	CNNN

	446
	MG/RID/ 466
	Body fluid
	Klebsiella pneumoniae
	No growth
	CNCC
	CNNN

	447
	MG/RID/ 467
	Body fluid
	Streptococcus pneumniae
	No growth
	CNCC
	CNNN

	448
	MG/RID/ 468
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	449
	MG/RID/ 469
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	450
	MG/RID/ 470
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	451
	MG/RID/ 471
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	452
	MG/RID/ 472
	Tissue
	Negative
	NG
	CNNN
	CNNN

	453
	MG/RID/ 473
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	454
	MG/RID/ 474
	Body fluid
	Klebsiella oxytoca, Enterobacter ludwigi, Enterobacter cloacea
	Enterobacter cloacea
	CPNP
	CNNN

	455
	MG/RID/ 475
	Body fluid
	Enterococcus faecium
	Enterococcus faecium
	CPNP
	CNNN

	456
	MG/RID/ 476
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	457
	MG/RID/ 477
	Body fluid
	Klebsiella pneumoniae
	Klebsiella pneumoniae
	CPNP
	CNNN

	458
	MG/RID/ 478
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	459
	MG/RID/ 479
	Body fluid
	Acinetobacter baumanni 
	No growth
	CNCC
	CNNN

	460
	MG/RID/ 480
	Body fluid
	Prevotella intermedia
	Prevotella buccae
	CPNP
	CNNN

	461
	MG/RID/ 481
	Body fluid
	Enterococcus faecium, Escherichia coli
	No growth
	CNCC
	CNNN

	462
	MG/RID/ 482
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	463
	MG/RID/ 483
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	464
	MG/RID/ 484
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	465
	MG/RID/ 485
	Body fluid
	Acinetobacter pitti 
	No growth
	CNCC
	CNNN

	466
	MG/RID/ 486
	Body fluid
	Escherichia coli
	No growth
	CNCC
	CNNN

	467
	MG/RID/ 487
	Body fluid
	Staphylococcus hominis 
	No growth
	CNCC
	CNNN

	468
	MG/RID/ 488
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	469
	MG/RID/ 489
	Tissue
	Staphylococcus epidermidis
	No growth
	CNCC
	CNNN

	470
	MG/RID/ 490
	Tissue
	Negative
	NG
	CNNN
	CNNN

	471
	MG/RID/ 491
	Body fluid
	Acinetobacter spp
	E.faecalis
	CPNA
	CNNN

	472
	MG/RID/ 492
	Body fluid
	Acinetobacter pitti, Klebsiella pneumoniae
	No growth
	CNCC
	CNNN

	473
	MG/RID/ 493
	Body fluid
	Streptococcus pneumniae
	No growth
	CNCC
	CNNN

	474
	MG/RID/ 494
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	475
	MG/RID/ 495
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	476
	MG/RID/ 496
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	477
	MG/RID/ 497
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	478
	MG/RID/ 498
	Blood
	Escherichia coli
	Escherichia coli
	CPNP
	CNNN

	479
	MG/RID/ 499
	Blood
	Negative
	NG
	CNNN
	CNNN

	480
	MG/RID/ 500
	Body fluid
	Candida spp
	NG
	CNNN
	CNCI

	481
	MG/RID/ 501
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	482
	MG/RID/ 502
	Body fluid
	Stenotrophomonas maltophilia
	No growth
	CNCC
	CNNN

	483
	MG/RID/ 503
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	484
	MG/RID/ 504
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	485
	MG/RID/ 505
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	486
	MG/RID/ 506
	Body fluid
	Negative
	NG
	CNNN
	CNNN

	487
	MG/RID/ 507
	Body fluid
	Burkholderia pseudomallei 
	Burkholderia pseudomallei
	CPNP
	CNNN

	488
	MG/RID/ 508
	Body fluid
	Staphylococcus haemolyticus 
	No growth
	CNCC
	CNNN

	489
	MG/RID/ 509
	Blood
	Negative
	NG
	CNNN
	CNNN

	490
	MG/RID/ 510
	Body fluid
	Staphylococcus aureus
	No growth
	CNCC
	CNNN



