| Description | PTE 1: Died due to causes other than deep brain stimulation after the last follow-up. PTE 3: After two months, aggressiveness returned to baseline. | 1 patient with basal ganglia hemorrhage | None | None | During follow-up, patients 1, 2, and 5 experienced GPI issues and increased aggression, which improved after generator replacement and resumption of hypothalamic stimulation. PTE 10: Device replacement required due to surgical site infection. PTE 11: As the stimulation parameters were increased, conjugate lateral gaze deviation occurred. The family requested explantation. | None | None | PTE 1: He received the first DBS (Naac) with some improvement, he underwent a second intervention in the posteromedial thalamus, he suffered infection, and the device was removed. PTE 2: Malfunction of the Impulse Pulse Generator (IPG). | No clinical follow-up occurred due to missed follow-up appointments. | None | Parameters were adjusted several times to improve treatment efficacy because of persistent insomnia and agitation and to minimize the mild side effects associated with higher-voltage stimulation. | Several stimulation adjustments were necessary because of the aggression and other pathologies observed until 12 months of age; after changing the parameters, aggressiveness decreased. | PTE 1: Battery site infection. PTE 2: Transient dystonia of the left upper extremity improves with changes in stimulation. | None | PTE 2: stereotypes back to their original condition | The battery discharged in the 10th month, leading to the return of aggression. Aggressiveness diminished after battery change. | 2013: None | 2020: Increase in blood pressure, heart rate, and headache. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Patients | 2/3 | 1/19 | - | - | 5/8 | - | - | 2/2 | 1/1 | - | 1/1 | 1/1 | 2/4 | - | 1/2 | 1/1 | 1/1 |  |
| First autor, year | Benedetti‐Isaac et al., 2015 | Benedetti‐Isaac et al., 2021 | Benedetti‐Isaac, et al., 2023a | Benedetti‐Isaac, et al., 2023b | Escobar Vidarte et al., 2022 | Franzini et al., 2013 | Giordano et al., 2016 | Harat et al., 2021 | Heiden et al., 2022 | Kakko et al., 2019 | López Ríos et al., 2022 | Maley et al., 2010 | Micieli et al., 2017 | Park et al., 2017 | Stocco, et al., 2014 | Sturm et al., 2013 | Torres et al., 2013, 2020 |  |