
	Paramentes
	PTE1: 2,7V, 185Hz; 90μs; Pt2: 2,4 V, 185Hz; 90μs; PTE3: 2,8V, 185Hz, 90μs 
	N/A
	 2V, 180Hz, 90μs, 180/s. With settings 3-5V per patient
	2V, 180Hz, 90μs
	 1-3V, 180Hz, 60μs; With progressive settings 3V
	1-3V, 185Hz, 60-90μs
	2.5 V, 130 Hz, 210μs
	N/A
	6,5V, 130Hz, 90μs
	N/A
	0.9–3.3V, 180Hz, 100μs                                           1–3.3V, 180Hz, 100μs 
	DBS initial: 4V, 130Hz, 120μs. 1Week: 2.8V, 55Hz, 270μs. 5 months: 2.8V, 40Hz, 360μs. 12 months: 2.5V, 20Hz, 360μs
	100 μA, 200Hz, 150μs
	3-5V, 130Hz, 90μs.
	PTE1: Gpi bipolar: 3.3V, 80Hz, 120μs. PTE2: Monopolar GPi: 2.5-50Vr/2.0-5Vl; 40-120Hz, 120-210μs; Bipolar adjustment ALIC PTE2: 2.0-2.5V; 80-200Hz; 100-210μs.
	2-6.5V, 130Hz, 120μs.
	2013: 1 Year: 0.5-0.7V; 15Hz; 330-350μs. Adjustments of 1.8V, 130Hz, 210μs
	2020: 15Hz, 450μs, with gradual increase.

	Implantation
	Preop image MRI + CT. Method Franzini et al., 2008. Medtronic 3389
	Pre/postop image MRI + CT. Method Franzini et al., 2005, 2008.  Medtronic 3389
	Intraop Image MRI + CT. Method Franzini et al., 2005, 2013. Medtronic 3389
	Preop image MRI + CT. Method Franzini et al., 2005, 2010, 2013. Medtronic 3389
	Preop image MRI + CT. Method Franzini et al., 2013. Medtronic 3389
	Pre/post-op image. Method: 3 mm behind the MCP, 5 mm below this point, and 2 mm lateral from the midline. Medtronic 3389
	Pre/post-op image MRI + Method: 10.56 (left VC/VS) and 10.15 (right VC/VS) anterior, 1.10 dorsal to the midcommissural line, and 7 mm (left VC/VS) and 10 mm (right VC/VS) lateral to the sagittal plane. 2 precoronal 14-mm diameter burr holes located 10 mm anterior to the coronal suture, and 30 mm lateral to the midline following an oblique trajectory. Medtronic 3391.
	Preop image MRI + CT. Method: 7 mm lateral to the intercommissural line and 4–5 mm ventral/2–3 mm anterior AC. N/A electrode type.
	Preop image MRI + CT + Rx. N/A coordinates of Implantation. Medtronic 3389/3387
	Preop imag MRI. Medtronic N/A reference and coordinates of Implantation.
	Pre/post-op image MRI + CT. Method: 3 mm posterior, 2 mm above the superior margin of the red nucleus, and 2 mm lateral to the lateral wall of the third ventricle, with reference to the MCP. Medtronic 3387
	Pre/post-op image MRI + CT. Method: 15 mm AMCP, 5 mm lateral to the MSP, and with contacts level to the plane connecting the AC-PC and traversing up to 3 mm ventral to AC-PC. Medtronic. N/A reference.
	Pre/post-op image MRI + CT. Method: 1 mm behind the MCD and 5 mm below the AC-PC and 2 mm lateral to the lateral wall of the third ventricle. N/A electrode
	Pre/post-op image MRI + CT. Method: 2.5 mm rostral to the anterior border of AC, 6.5 mm lateral from the midline, and 4.5 mm ventral to AC.
	N/A
	Pre/post-op image MRI + CT. N/A coordinates of Implantation. Medtronic 3387
	Intraop Image MRI + CT. Method Franzini et al., 2005, 2008. Medtronic 3389

	Target
	PHypN
	PHypN
	PHypN
	PHypN
	PHypN
	PHypN
	VC/VS
	Nacc
	Amigdala 
	GPi, ALIC
	PHypN
	PH, OFB
	PH, VT, RN
	Nacc
	GPi, ALIC
	BA
	PHypN
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