| Paramentes | PTE1: 2,7V, 185Hz; 90μs; Pt2: 2,4 V, 185Hz; 90μs; PTE3: 2,8V, 185Hz, 90μs | N/A | 2V, 180Hz, 90μs, 180/s. With settings 3-5V per patient | 2V, 180Hz, 90μs | 1-3V, 180Hz, 60μs; With progressive settings 3V | 1-3V, 185Hz, 60-90μs | 2.5 V, 130 Hz, 210μs | N/A | 6,5V, 130Hz, 90μs | N/A | 0.9–3.3V, 180Hz, 100μs 1–3.3V, 180Hz, 100μs | DBS initial: 4V, 130Hz, 120μs. 1Week: 2.8V, 55Hz, 270μs. 5 months: 2.8V, 40Hz, 360μs. 12 months: 2.5V, 20Hz, 360μs | 100 μA, 200Hz, 150μs | 3-5V, 130Hz, 90μs. | PTE1: Gpi bipolar: 3.3V, 80Hz, 120μs. PTE2: Monopolar GPi: 2.5-50Vr/2.0-5Vl; 40-120Hz, 120-210μs; Bipolar adjustment ALIC PTE2: 2.0-2.5V; 80-200Hz; 100-210μs. | 2-6.5V, 130Hz, 120μs. | 2013: 1 Year: 0.5-0.7V; 15Hz; 330-350μs. Adjustments of 1.8V, 130Hz, 210μs | 2020: 15Hz, 450μs, with gradual increase. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Implantation | Preop image MRI + CT. Method Franzini et al., 2008. Medtronic 3389 | Pre/postop image MRI + CT. Method Franzini et al., 2005, 2008. Medtronic 3389 | Intraop Image MRI + CT. Method Franzini et al., 2005, 2013. Medtronic 3389 | Preop image MRI + CT. Method Franzini et al., 2005, 2010, 2013. Medtronic 3389 | Preop image MRI + CT. Method Franzini et al., 2013. Medtronic 3389 | Pre/post-op image. Method: 3 mm behind the MCP, 5 mm below this point, and 2 mm lateral from the midline. Medtronic 3389 | Pre/post-op image MRI + Method: 10.56 (left VC/VS) and 10.15 (right VC/VS) anterior, 1.10 dorsal to the midcommissural line, and 7 mm (left VC/VS) and 10 mm (right VC/VS) lateral to the sagittal plane. 2 precoronal 14-mm diameter burr holes located 10 mm anterior to the coronal suture, and 30 mm lateral to the midline following an oblique trajectory. Medtronic 3391. | Preop image MRI + CT. Method: 7 mm lateral to the intercommissural line and 4–5 mm ventral/2–3 mm anterior AC. N/A electrode type. | Preop image MRI + CT + Rx. N/A coordinates of Implantation. Medtronic 3389/3387 | Preop imag MRI. Medtronic N/A reference and coordinates of Implantation. | Pre/post-op image MRI + CT. Method: 3 mm posterior, 2 mm above the superior margin of the red nucleus, and 2 mm lateral to the lateral wall of the third ventricle, with reference to the MCP. Medtronic 3387 | Pre/post-op image MRI + CT. Method: 15 mm AMCP, 5 mm lateral to the MSP, and with contacts level to the plane connecting the AC-PC and traversing up to 3 mm ventral to AC-PC. Medtronic. N/A reference. | Pre/post-op image MRI + CT. Method: 1 mm behind the MCD and 5 mm below the AC-PC and 2 mm lateral to the lateral wall of the third ventricle. N/A electrode | Pre/post-op image MRI + CT. Method: 2.5 mm rostral to the anterior border of AC, 6.5 mm lateral from the midline, and 4.5 mm ventral to AC. | N/A | Pre/post-op image MRI + CT. N/A coordinates of Implantation. Medtronic 3387 | Intraop Image MRI + CT. Method Franzini et al., 2005, 2008. Medtronic 3389 |  |
| Target | PHypN | PHypN | PHypN | PHypN | PHypN | PHypN | VC/VS | Nacc | Amigdala | GPi, ALIC | PHypN | PH, OFB | PH, VT, RN | Nacc | GPi, ALIC | BA | PHypN |  |
| First autor, Year | Benedetti-Isaac, 2015 | Benedetti-Isaac, 2021 | Benedetti-Isaac, 2023a | Benedetti-Isaac, 2023b | Escobar-Vidarte, 2022 | Franzini, 2013 | Giordano, 2016 | Harat, 2021 | Heiden, 2022 | Kakko, 2019 | López Rios, 2022 | Maley, 2010 | Micieli, 2017 | Park, 2017 | Stocco, 2014 | Sturm, 2013 | Torres, 2013/2020 |  |